PRELIMINARY FOUNDATION INVESTIGATION

AND DESIGN REPORT
 HIGHWAY 407 EAST EXTENSION – WESTERN SECTION

Region of DURHAM

Ministry of transportation, ontario

w.O. 07-20015

Submitted to:

URS Canada Inc.

75 Commerce Valley Drive East

Thornhill, Ontario
L3T 7N9

GEOCRES NO: 30M14-316

TABLE OF CONTENTS

SECTION	PAGE

PREFACE

PART A - PRELIMINARY FOUNDATION INVESTIGATION REPORT

Executive Summary	1

1.0	INTRODUCTION	2

2.0	project Description	2

3.0	INVESTIGATION PROCEDURES	3

4.0	Site Geology and stratigraphy	4

4.1	Regional Geology	4

4.2	Site-Specific Descriptions and Subsurface Conditions	4

4.3	General Groundwater Conditions	9

5.0	CLOSURE	10

PART B - PRELIMINARY FOUNDATION DESIGN REPORT

6.0	Engineering RECOMMENDATIONS FOR PRELIMINARY DESIGN	11

6.1	General	11

6.2	Structure Foundation Recommendations	11

6.2.1	Spread Footings	11

6.2.2	Steel H-Piles	12

6.2.3	Caissons	12

6.3	Bridge Retaining/Wing Walls	13

6.4	Lateral Earth Pressures for Design	14

6.5	Structure Approaches	14

6.5.1	Subgrade Preparation and Embankment Construction	14

6.5.2	Approach Embankment Stability	15

6.5.3	Approach Embankment Settlement	15

6.6	Seismic Considerations	15

6.7	Construction Considerations	16

6.7.1	Excavation and Backfill	16

6.7.2	Protection Systems	16

6.7.3	Groundwater and Surface Water Control	16

6.7.4	Obstructions During Pile Driving / Caisson Installation	16

6.7.5	Construction Access	16

7.0	CULVERTS	17

8.0	DEEP Cuts and HIGH fills	17

8.1	General	17

8.2	Deep Cuts	17

8.2.1	Stability and Drainage	17

8.2.2	Construction Considerations	18

8.3	High Fills	18

8.3.1	Slope Stability	18

8.3.2	Settlement	18

8.3.3	Construction Considerations	19

9.0	CLOSURE	19

In Order

Following

Page 19

References

Lists of Symbols and Abbreviations

Lithological and Geotechnical Rock Description Terminology

Phase II Preliminary Foundation Investigation and Design Report (FIDR) and Phase I Anticipated Foundation Conditions (AFC) for Structures

Preliminary Foundation Investigation Report - High Fills and Deep Cuts

Drawings

Figures

Appendices

List of DRAWINGS

Drawing 1 		Project Location

Drawing 2		Structure Location Index Plan

Drawing 3		Borehole Location - Mainline (West of Brock Rd to East of Sideline 16)

Drawing 4		Borehole Location - Mainline (East of Sideline 16 to Salem Rd)

Drawing 5		Borehole Location - Mainline (Salem Road to East of Coronation Rd)

Drawing 6		Borehole Location - Mainline (East of Coronation Rd to Ashburn Rd)

Drawing 7		Borehole Location - West Durham Link (Winchester Rd West to Taunton Rd)

Drawing 8		Borehole Location - West Durham Link (Taunton Rd to South of Rossland Rd)

Drawing 9		Borehole Location - West Durham Link (South of Rossland Rd to Highway 401)

LIST OF FIGURES

Figure 1		Typical Abutment on Compacted Fill Showing Granular ‘A’ Core

List of appendices

Appendix A	Record of Borehole Sheets

Appendix B	Laboratory Test Results

Appendix C	Record of Borehole Sheets from Previous Investigations

PART A

preliminary FOUNDATION INVESTIGATION REPORT

HIGHWAY 407 EAST EXTENSION – WESTERN SECTION

Region of DURHAM

ministry of transportation, ontario

w.O. 07-20015

PART B

preliminary FOUNDATION DESIGN report
HIGHWAY 407 EAST EXTENSION – WESTERN SECTION

Region of DURHAM

ministry of transportation, ontario

w.O. 07-20015

PHASE II PRELIMINARY Foundation investigation and design Report (FIDR)

AND

PHASE I Anticipated Foundation Conditions (AFC)

FOR STRUCTURES

PRELIMIINARY Foundation INVESTIGATION ReporT – HiGH FILLS AND DEEP CUTS

APPENDIX A

record of borehole sheets

APPENDIX B

Laboratory Test Results

APPENDIX c

record of borehole sheets from PREVIOUS INVESTIGATIONS

DRAWINGS

FIGURES

# Executive Summary

The proposed Highway 407 East Extension extends from the current terminus of Highway 407 at Brock Road in the City of Pickering to Highway 35/115 in the Municipality of Clarington.  For the purposes of preliminary design, the project route has been divided into three (3) sections (the Western Section, the Central Section and the Eastern Section) as shown on Drawing 1.

The planning component and preliminary design of foundations component for the proposed Highway 407 East Extension project were carried out in two (2) separate phases.  A Phase I desktop study for this project was completed in 2008 for each section of the proposed highway extension for planning and feasibility study purposes by Thurber Engineering Ltd. and is presented in three (3) separate reports for each section titled “Foundation Desktop Study, Highway 407 East Extension - Western Section; Central Section; Eastern Section, W.O. 07-20015”, dated November 2008.  The Phase I Desktop Study was based on assessment of site geology using air-photo interpretation and hydrogeologic information, as well as borehole data obtained from previous investigations including the preliminary investigation conducted by MTO in 1994 for planning purposes.

This Preliminary Foundation Investigation and Design Report (FIDR) presents the results of the Phase II foundation investigation and provides recommendations for the planning (including environmental assessment) and preliminary design of the proposed Highway 407 East Extension - Western Section, which extends from Brock Road in the City of Pickering to Ashburn Road in the Town of Whitby, including the proposed West Durham Link to Highway 401 (as shown on Drawing 2).  The purpose of this Phase II study is to provide “as near as possible” preliminary design level foundation investigation and design information for environmental assessment purposes given the constraints at the time of the investigation.  The preliminary FIDR supercedes all previous reports for the purpose of preliminary foundation design and EA submission.

As stipulated in the Request for Proposal, this Phase II investigation includes characterizing each highway crossing site (i.e. bridge, culvert, etc.) as requiring low, medium, or high level investigative effort.  The definitions of the target effort levels are defined in the RFP and summarized in Section 3.0 of this report.  After each site was characterized, an attempt was made to achieve the desired investigative effort; however, due to restricted access to private properties (Permission to Enter (PTE) not granted) and other project constraints, many sites were not able to be investigated to the desired target level.  As a result, the highest achievable level of planning and/or preliminary field investigation and design was performed at each site and the results are included in this FIDR.

Preliminary Foundation Investigation and Design Reports for the Central and Eastern sections of the proposed Highway 407 East Extension from Ashburn Road to Highway 35/115, including the East Durham Link, are addressed by others in separate reports.  This report is presented in two (2) parts:

1 – Part A:  Preliminary Foundation Investigation Report (FIR), presents an overall description of the project, description of the regional geology/geomorphology and general groundwater conditions within the project limits, as well as site-specific subsurface and groundwater conditions at each of the proposed highway bridge crossings and interchanges, based on the results of limited borehole investigation and laboratory testing carried out at bridge sites for which PTE was granted, or on the desktop study information where no PTE was granted.  Individual Preliminary Foundation Investigation Report sheets summarizing the results of the field investigation and geotechnical laboratory testing for each structure site are presented following the text of the report.

2 – Part B: Preliminary Foundation Design Report (FDR), provides project-wide engineering recommendations for preliminary design for each proposed structure, culvert, deep cut and high fill site.  Individual site-specific recommendations are provided on the Preliminary Foundation Design Report sheets presented following the text of this report and are appended to their respective Preliminary Foundation Investigation Report sheets (refer to Part A above).

For structure sites to which PTE was not granted, the Phase I Anticipated Foundation Conditions sheets prepared by Thurber Engineering Ltd. as part of the Phase I desktop study have been included in this Phase II report for planning and preliminary design of those structures.  This report also includes copies of the Phase I Anticipated Foundation Conditions sheets for the proposed culvert structure sites, prepared by Thurber Engineering Ltd. as part of the Phase I desktop study for this project.  All culvert structure sites were classified as low-complexity sites during the Phase I study, thus requiring no borehole investigation for the purposes of planning and preliminary design.  Some culvert sites were recently re-classified from requiring low level investigative effort to requiring medium level investigative effort due to increased span lengths and open footing design based on hydrological/geomorphology requirements as determined by the Project Team.  However, due to lacks of permission to enter, project constraints and schedule restrictions, the re-classified medium level culvert structure sites were not assessed to the same level of investigative effort as bridge structures (refer to Section 7.0 for more details).  For deep cut and high fill sections (depth/height greater than 4.5 m), summary tables have been included that summarize the deep cut and high fill locations, depths/heights, the anticipated subsurface conditions, and preliminary geotechnical recommendations based on any nearby structure boreholes and available terrain/drainage maps.

While the information presented in this report may be used for planning and preliminary design purposes, it is not sufficient nor intended for detail design purposes.  The preliminary subsurface investigation was limited to borehole drilling within accessible parts of sites where permission to enter was granted, or to desktop study level information.  Investigation was not possible at a number of sites due to lack of permission to enter.  Accordingly, further investigation at the final locations of the foundation elements, approaches, deep cut and high fill sections will be required during detail design to establish or confirm/reassess the preliminary recommendations provided herein.

# INTRODUCTION

Golder Associates Ltd. (Golder) has been retained by URS Canada Inc. (URS) on behalf of the Ministry of Transportation, Ontario (MTO) to provide foundation engineering services associated with the project planning including environmental assessment and preliminary design of the proposed Highway 407 East Extension - Western Section.  The project limits extend from the present terminus of the existing Highway 407 at Brock Road in the City of Pickering to Ashburn Road in the Town of Whitby (approximately 15 km), including the West Durham Link (WDL) extending southerly from the proposed Highway 407, just east of Halls Road North, to Highway 401 in the Region of Durham, Ontario (approximately 10 km) as shown on Drawing 2.

This report provides sufficient information for planning and preliminary foundation investigation and design (at sites where sufficient subsurface investigation was performed) for a total of seventy-two (72) structure sites of which fifty-four (54) sites are bridges and eighteen (18) sites are culverts.  There are a total of ten (10) interchanges along the proposed Highway 407 Western Section mainline and WDL alignments.  Each bridge site typically includes two (2) structures depending on the proposed configuration for the highway crossing, and up to four (4) structures at the interchanges.  As the investigation and design progressed, structures were deleted, added and locations revised according to the revised Highway 407 and WDL alignments and profiles.  In addition, eleven (11) deep cut areas and fifteen (15) high fill areas were included in the study for the Western Section.

The original terms of reference and scope of work for the foundation investigation and design are outlined in MTO’s Request for Proposal for Assignment No. 2007-E-0042, Work Order No. 07-20015, issued in October 2007 and in Section 5.8 of URS’s Technical Proposal for this project.

# project Description

The Technically Recommended Route for the proposed Highway 407 East Extension starts at the current terminus at Brock Road in the City of Pickering and ends at Highway 35/115 in Clarington.  The route includes two north-south links connecting the proposed Highway 407 extension to Highway 401; the West Durham Link (WDL) in Whitby and the East Durham Link (EDL) in Clarington.  The proposed highway extension is divided into three main sections: a Western Section which extends from Brock Road to Ashburn Road and includes the WDL, a Central Section which extends from Ashburn Road to Courtice Road, and an Eastern Section which extends from Courtice Road to Highway 35/115 in Clarington and includes the EDL.  Drawing 1 shows the proposed alignment for the above described overall route.

The Western Section, which is addressed in this report, consists of two (2) roadway sections referred to as the Highway 407 West Mainline and the West Durham Link.

The West Mainline is an approximately 15 km long highway section, extending from Brock Road to Ashburn Road through the City of Pickering and Town of Whitby with a total of forty-one (41) structure sites consisting of thirty-two (32) bridge sites and nine (9) culvert sites.  There are five (5) interchanges located along the West Mainline at the realigned Brock Road, Westney Road, Salem Road, Lake Ridge Road and the WDL.

The West Durham Link is an approximately 10 km long highway section, extending from Highway 407 southerly to Highway 401 with a total of thirty-one (31) structure sites consisting of twenty-two (22) bridge sites and nine (9) culvert sites.  There are five (5) interchanges on the WDL, located at Winchester Road West (Highway 7), Taunton Road, Rossland Road West, Dundas Street West and Highway 401.

Structures were originally designated as ‘WM’ (West Mainline) or ‘WL’ (West Durham Link) with a sequential number.  However, for structures that were added to the project or modified after the destkop study was completed, an alternate designation (such as WM-EDC-9 for West Mainline East Duffins Creek) was used.  New structure designations for the West Mainline (designated ‘M-‘) and West Durham Link (designated ‘W-‘) with sequential numbering system were provided by URS on October 2009.  The cross-referenced structure designation, category, location and site ranking complexity is summarized in Section 4.2.

The configuration for the proposed WDL – Highway 401 interchange includes the re-alignment to the north of an approximately 5 km long section of the existing Highway 401, and the re-construction of the Lake Ridge Road bridge over Highway 401 and CN/GO Rail.  It is understood that future plans involve the extension of the WDL north of the proposed Highway 407.

The proposed Highway 407 West Mainline and WDL routes run mainly through farmland, crossing a number of creek valleys, tributaries, as well as municipal and regional roads.  Several wide low-lying valleys are present where the mainline crosses East Duffins Creek (east of Paddock Road) and where the mainline crosses several tributaries to Lynde Creek (between Coronation Road and Winchester Road).  The WDL also crosses the CP rail line north of Rossland Road.  The overall surface topography along the proposed routes is gently sloping downward to the east and to the south towards Lake Ontario, and is incised by various creeks and associated tributaries, such as Urfe Creek, Brougham Creek, Spring Creek, East Duffins Creeks, Carruthers Creek and Lynde Creek.  There are no identified wetland areas crossed by the West Mainline nor by the WDL, but wetlands are present at various distances from the proposed highway, such as the South of Claremont Wetland Complex and Brock Road Wetland Complex to the north of the West Mainline and the Heber Down Wetland Complex and Lynde Creek Coastal Wetland Complex to the east and south of the WDL, respectively.

# INVESTIGATION PROCEDURES

Where permission to enter (PTE) was granted, subsurface investigations were carried out at or adjacent to the locations of the proposed bridge sites.  The fieldwork was performed between December 2007 and June 2009, during which time a total of eighty-four (84) boreholes were advanced as part of the Phase II preliminary foundation investigation for the proposed highway crossings.  The borehole locations are shown on Drawings 3 to 9 relative to the proposed preliminary bridge structure locations provided by URS Canada Inc.  The complexity of each site (i.e. target investigative effort level) was defined by Golder based on existing geological information, available borehole information from previous investigations and seventy-five (75) site photographs provided by URS.  The corresponding number of boreholes required to be advanced at each bridge/interchange site were determined by the site complexity designation as specified in the RFP and as summarized below.

- Low complexity sites: no borehole investigation required;

- Medium complexity sites: two (2) boreholes required; one (1) at or as close as possible to each of the proposed abutment locations; and

- High complexity sites: four (4) boreholes required; two boreholes at or near the proposed bridge abutment locations and two (2) boreholes at the locations of the approaches.

As previously mentioned, some of the proposed bridge sites located on private property for which PTE could not be obtained were not investigated to the target effort level (i.e. complexity rating).  Where considered practical, alternative borehole locations were drilled as close as possible to these proposed bridge sites, taking into consideration local access constraints such as railway lines, underground services, property lines and  right-of-way, fences, difficult terrain, and environmental considerations.

The field investigations were carried out using truck-mounted and track-mounted drill rigs, or portable drilling equipment, supplied and operated by Eastern Soil Drilling of Oshawa, Ontario.  The boreholes were advanced using 108 mm outer diameter solid stem augers and 210 mm outer diameter hollow stem augers or wash boring methods with ‘NW’-size casing (92 mm outer diameter), to competent strata and generally penetrated 3 m into ‘100-blow’ materials or terminated upon practical refusal (i.e. typically on shale bedrock).  Five (5) boreholes drilled with portable equipment were terminated on competent material.  In three (3) boreholes, refusal on bedrock was verified by coring a minimum of 3 m into the rock using an ‘HQ’-size (96 mm outside diameter) core barrel.  The depths of the boreholes range from 5.5 m to 41.5 m below the existing ground surface.

Soil samples were obtained at 0.75 m to 1.5 m intervals of depth, using 50 mm outside diameter split-spoon samplers driven by an automatic hammer (hammer lifted manually in the case of portable equipment), in accordance with the Standard Penetration Test (SPT) procedures (ASTM D1586 Standard Test Method for Standard Penetration Test).  In-situ vane tests using an MTO ‘N’-size vane (ASTM D2573 Standard Test Method for Field Vane Shear Test) were carried out at selected depths where soft to stiff cohesive soils were encountered, and relatively undisturbed, 76 mm outer diameter thin-walled Shelby tube (ASTM D1587 Standard Practice for Thin-Walled Tube Sampling) samples of these materials were obtained at selected locations.

The groundwater conditions in the open boreholes were observed throughout the drilling operations, and whenever possible, one piezometer was installed in a selected borehole at each bridge site.  A total of thirty-seven (37) piezometers were installed as part of the subsurface investigation for this project.  The piezometers consist of 19 mm or 50 mm outside diameter rigid PVC pipe with a 1.5 m long screen that is surrounded by a sand pack and sealed at a selected depth within the boreholes.  The annulus between the borehole wall and the piezometer pipe above the filter pack was backfilled to ground surface using bentonite pellets.  All other boreholes were backfilled to ground surface using bentonite pellets on completion of drilling in accordance with Ontario Regulation 903 Wells (as amended by Ontario Regulation 372).

Where artesian groundwater conditions were encountered in the boreholes, the artesian condition was sealed at the source.  Details of the artesian condition and the sealing operations are included on the Record of Borehole sheets, where applicable.

The field work was supervised on a full-time basis by members of Golder’s engineering or technical staff who located the boreholes in the field, arranged for the clearance of underground service locations, directed the drilling, sampling, and in situ testing operations, and logged the boreholes.  The soil samples were identified in the field, placed in labelled containers and transported to Golder’s laboratory in Mississauga for further examination and testing.  Various combinations of index and classification tests consisting of water content determinations, Atterberg limits, grain size distribution, laboratory organic content, as well as oedometer (consolidation) testing, were carried out on selected soil samples.  Laboratory Point Load tests were carried out on selected samples of the rock core.

The borehole locations in plan were measured on-site by Golder personnel using a Trimble Pathfinder ProXH GPS unit with an accuracy of +/- 1 m.  Because the GPS unit does not provide a suitable accuracy for ground surface elevation, the elevation of the ground surface at the borehole locations was subsequently determined based on the Digital Terrain Model and topographical mapping provided by URS.  The borehole locations (MTM NAD83 northing and easting coordinates) and the ground surface elevations (in m, referenced to Geodetic datum) at the borehole locations are presented on the Record of Borehole sheets, provided in Appendix A.

# Site Geology and stratigraphy

## Regional Geology

The alignment of the proposed Highway 407 East Extension – Western Section, including the West Durham Link, is situated within the Regional Municipality of Durham which encompasses three major physiographic regions – the Oak Ridges Moraine, the South Slope and the Iroquois Plain, as delineated in The Physiography of Southern Ontario and described below.

The Oak Ridges Moraine region: forms the northern boundary of the western section alignment, and is comprised predominantly of sand and gravel deposits.  The Oak Ridges Moraine is a major regional aquifer and groundwater recharge area.

The South Slope region: the majority of the Highway 407 mainline section lies within the South Slope region and is comprised of calcareous clay till with lacustrine clay and silt reworked by glaciers, with numerous scattered drumlins and deep valley cuts caused by flowing streams towards Lake Ontario.

The Iroquois Plain region: encompasses the area of the proposed West Durham Link and extends south to Lake Ontario.  The area across the Regional Municipality of Durham is a complex mix of till plains, drumlins and areas of glaciolacustrine sediments deposited in Lake Iroquois – primarily sands, silts and gravels.

The bedrock within the project area is described as being comprised of blue-grey shales of the Blue Mountain Formation and limestones of the Lindsay Formation.  The bedrock in the area is described as providing a deep aquifer unit, where groundwater flow occurs through the bedding plane fractures.

## Site-Specific Descriptions and Subsurface Conditions

The structure designation, structure category (i.e. overpass, underpass, culvert), location, designated site complexity/ranking (desired level of investigative effort), boreholes advanced at or adjacent to the site as part of the current and/or previous investigations, and current status of investigation for each structure are summarized below.

The structure locations and designations were provided by URS on February 20, 2009 and are shown on Drawings 3 to 9.  The bridge structures located along the proposed Highway 407 West Mainline and WDL are designated as ‘WM’ structures and ‘WL’ structures, respectively.  The water crossing structures are designated with a revised structure number (i.e. Watershed Number).  A new numbering system (designated ‘M-‘ for the West Mainline and ‘W-‘ for the West Durham Link) was provided by URS on October 2009 and is cross-referenced with the original and revised structure numbering system as shown below.

It should be noted that some bridge/culvert structure locations were added and others deleted as the project progressed, due to changes in alignment and profile and re-classification of through roads to cul-de-sacs.  The new and deleted bridge/culvert sites are also identified below.  FIDR sheets or AFC sheets were not developed for the new sites.  At some locations, the bridge/culvert structures were deleted after the boreholes had been drilled and as a result, FIR (Part A) only sheets were developed for information purposes and are included in this report.

It should also be noted that all culvert sites were originally designated as low-complexity sites in the Phase I study report.  Thus, no borehole investigation was carried out at the culvert sites as part of the current Phase II foundation investigation.  Subsequent to completion of the field investigation at sites for which PTE had been granted the structural designer indicated that the designation of some culverts in the Phase I study had been changed to medium complexity bridge structures (span length greater than 6 m with open footing foundations as agreed upon by the Foundations Team for the project).  In addition, new culvert and bridge structures have been identified for the project that were not included in the Phase I study.  As a result, the target investigative effort initially identified for all new structures and culverts that have been re-classified as medium complexity was not achieved and additional investigations will be required at a later stage as new permission to enter are granted or during detailed design.

| New Structure No. | Original Structure No. (Original Site Ranking) | Watercourse No. | Revised Category (Original Category) | Revised Location (Original Location) | Revised Site Ranking | Borehole Nos. | Remarks6 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| WEST MAINLINE STRUCTURES |  |  |  |  |  |  |  |
| M-1 | WM-A (Medium) | WM-UC-2 | Bridge | EBL-Urfe Creek South Widening | Medium | WMA-1, WMA-2 | Refer to Phase II FIDR sheets |
| M-2 | WM-1/2 (Medium) | WM-BC-3 | Bridge | WBL and EBL Widening over Brougham Creek | Medium | WM1-1, WM2-1 | Refer to Phase II FIDR sheets |
| M-3 | WM-2A/2B (Low) | WM-TABC-4 | Culverts | 407 WBL/EBL over Brougham Creek at Site #4 | Medium | - | Revised Ranking – new structure and Phase I or II sheets to be developed |
| M-4 | n/a | WM-BC-3A | Bridge | Sideline 16 over Brougham Creek at Site#3A | Medium | - | New Structure – Phase I or II sheets to be developed |
| M-5 | n/a | WM-TABC-5 | Culvert | Realigned Brock Road over Brougham Creek tributary at Site #5 | Low | - | New Structure – Phase I AFC sheet to be developed |
| M-6 | n/a | WM-TABC-101 | Culvert | Realigned Hwy 7 over Brougham Creek tributary at Site #101 | Medium | - | New Structure - Phase I or II sheets to be developed |
| M-7 | n/a | WM-TABC-102 | Culvert | Realigned Brock Road over Brougham Creek tributary at Site #102 | Medium | - | New Structure – Phase I or II sheets to be developed |
| M-8 | WM-3 (Medium) | n/a | Underpass | Realigned Brock Road over Hwy 407 | Medium | WM3-1, WM3-2 | Refer to Phase II FIDR sheets |
| - | WM-4 (Medium) | n/a | (Overpass) | (Realigned Highway 7) | n/a | - | Structure Deleted |
| M-9 | WM-7 (Medium) | n/a | Overpass | Realigned Hwy 7 | Medium | WM7-1, WM7-2, WM7-1A | Refer to Phase II FIDR sheets |
| M-10 | WM-5/6 (Medium) | WM-TBBC-7 (WM-SC-7) | Bridge | WBL and EBL over Spring Creek | Medium | WMSC7-1 | Refer to Phase II FIDR sheet |
| M-11 | WM-8 (Medium) | n/a | Underpass | Realigned Sideline 14 (Sideline 14) | Medium | WM8-1, P61 | Refer to Phase II FIDR sheets |
| M-12 | WM-9/10 (Medium) | WM-SC-8 | Bridge | EBL and WBL over Spring Creek | Medium | WMSC8-14 | Refer to Phase II FIDR sheets |
| - | WM-11 / 11A (High) | n/a | (Underpass) | (Realigned Paddock Road over 407) | n/a | WM11-1, WM11-2, WM11A-1, P71 | Structure Deleted – (FIDR sheet included for information purposes only) |
| M-13 | WM-12 / 13 (Medium) | WM-EDC-9 | Bridge | EBL and WBL over East Duffins Creek | High | WM11A-1 WM12-1, WM13-1 | Refer to Phase II FIDR sheets |
| M-14 | WM-14/15/16 (Low) | WM-TBEDC-10 | Culverts | WBL and EBL over realigned East Duffins Creek tributary at Site#10 | Low | - | Refer to copy of Phase I AFC sheets for each structure |
| M-15 | n/a | WM-TBEDC-10A | Culvert | Westney Road over East Duffins Creek tributary at Site #10 | Low | - | New Structure – Phase I sheet to be developed |
| M-16 | WM-17 (Medium) | n/a | Underpass | Westney Rd. over 407 | Medium | WM17-1, WM17-2 | Refer to Phase II FIDR sheets |
| M-17 | WM-18/19 (Medium) | WM-TACC-11 | Bridge | EBL&WBL over Carruthers Creek West tributary | Medium | - | No PTE - Refer to copy of Phase I AFC sheet |
| M-18 | WM-20/21 (Medium) | WM-TBCC-12 | Bridge | EBL&WBL over Carruthers Creek West tributary | Medium | - | No PTE – Refer to copy of Phase I AFC sheet |
| M-19 | WM-22 (Medium) | n/a | Underpass | Salem Road over 407 | Medium | WM22-1, P81 | Refer to Phase II FIDR sheets |
| - | WM-23A (Low) | n/a | (Culvert) | (EBL&WBL over watercourse at Site #13) | n/a | - | Structure Deleted |
| M-20 | WM-23 (Low) | WM-TDCC-14 | Bridge (Culvert) | EBL&WBL over tributary to Carruthers Creek at Site#14 | Medium | - | Revised Ranking – Refer to Phase I AFC sheet (Phase II sheets to be developed) |
| M-21 | WM-24 (Low) | WM-TECC-15 | Bridge (Culvert) | EBL&WBL over Carruthers Creek at Site#15 | Medium | WM25-1, P91 | Refer to Phase II FIDR sheets |
| - | WM-25 (Medium) | n/a | (Overpass) | (Sideline 4) | n/a | WM25-1, P91 | Structure Deleted – (FIDR sheet included for information purposes only) |
| M-22 | WM-26 (Low) | WM-TALC-16 | Bridge (Culvert) | EBL&WBL over Lynde Creek tributary at Site#16 | Medium | - | Revised Ranking – Refer to Phase I AFC sheet (Phase II sheets to be developed) |
| M-23 | WM-27 (Medium) | n/a | Overpass | EBL&WBL over Kinsale Rd. | Medium | WM27-1, WM27-2 | Refer to Phase II FIDR sheets |
| M-24 | WM-28 (Medium) | n/a | Underpass | Lake Ridge Road over 407 | Medium | WM28-1, P101 | Refer to Phase II FIDR sheets |
| - | WM-29 (Medium) | n/a | (Underpass) | (Halls Rd. N. over 407) | n/a | (WM29-1, WM29-2) | Structure Deleted – (FIDR sheet included for information purposes only) |
| M-25 | n/a | WM-TDLC-17A/17B/17C | Culvert(s) | Lake Ridge Rd/407 IC – E-NS Ramp / S-W Ramp / N/S-E Ramp over realigned watercourse at Site#17 | Low | WM29-1, WM29-2, WL31-1 | New Structure(s) – Phase I level sheet to be developed |
| M-26 |  |  |  |  |  |  |  |
| M-27 |  |  |  |  |  |  |  |
| - | WM-30/31 (Medium) | n/a | (Overpass) | (EBL&WBL over West Lynde Creek) | n/a | - | Structure Deleted |
| M-28 | WL-31 (Medium) | n/a | Overpass | 407-WDL IC – S-W Ramp over Lake Ridge Road IC – E/N-S Ramp | Medium | WL31-1, WL31-2, WM29-1 | Refer to Phase II FIDR sheets |
| M-29 | WL-35 (Medium) | n/a | Underpass | Lake Ridge Rd/407 IC – S- E Ramp over 407-WDL IC – W-S Ramp | Medium | WM35-1A, WM35-2A | Refer to Phase II FIDR sheets |
| M-30 | WL-29 (High) | n/a | Underpass | 407-WDL IC – S-W Ramp over 407 and over E-S Ramp | High | WL28-3 WL28-4 WL29-1, WL29-2, WL29-3, WL29-4, WL29-5 | Refer to Phase II FIDR sheets |
| M-31 | WL-28 (High) | n/a | Overpass-Tunnel (Underpass) | 407-WDL IC – 407 over E-S Ramp | High | WL28-1, WL28-2, WL28-3, WL28-4 | Refer to Phase II FIDR sheets |
| M-32 | WM-32 (Medium) | WM-32A/32B/32C | Underpass | Coronation Rd. over 407/over 407-WDL IC –E-S Ramp/ over 407-WDL IC-S-E Ramp (Realigned Coronation Rd.) | Medium | P111 | Revised Structure Location – Refer to Phase I AFC sheet for general site conditions but actual location of structure has shifted 250 m West (Phase II sheets to be developed) |
| M-33 |  |  |  |  |  |  |  |
| M-34 |  |  |  |  |  |  |  |
| M-35 | WM-33 / 34 (High) | WM-TGLC-19 | Bridge | EBL&WBL over West Lynde Creek | High | - | No PTE – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| M-36 | WL-32 (Medium) | WM-TGLC-19A | Bridge | 407-WDL IC – E-S Ramp over Lynde Creek at Site #19 | High | - | No PTE – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| - | WM-35 (Medium) | n/a | (Underpass) | (Country Lane over Hwy 407) | n/a | (WM35-1, WM35-2)5 | Structure Deleted - (FIDR sheet at original location included for information purposes only)5 |
| M-37 | WM-36/37 (Medium) | WM-THLC-20 | Bridge | EBL&WBL over Lynde Creek tributary | Medium | WM36-1, WM37-1 | Refer to Phase II FIDR sheets |
| M-38 | WM-38 (Medium) | n/a | Underpass | Cochrane St. over 407 | Medium | WM38-1, WM38-2 | Refer to Phase II FIDR sheets |
| M-39 | WM-39/40 (Medium) | WM-TILC-21 | Bridge | EBL&WBL over East Lynde Creek tributary | Medium | WM39-1, WM40-1, WM41-1, WM41-2 | Refer to Phase II FIDR sheets |
| - | WM-41 (Medium) | n/a | (Overpass) | (Cochrane St./407 IC - E-NS Ramp over watercourse at Site#21) | n/a | (WM41-1, WM41-2) | Structure Deleted |
| M-40 | WM-42 (Medium) | WM-TILC-21A | Underpass | Winchester Rd. West (Hwy 7) over 407 and Lynde Creek tributary at Site#21 | Medium | WM39-1, WM42-1, WM40-1, P121 | Refer to Phase II FIDR sheets |
| M-41 | WM-43 (Medium) | n/a | Underpass | Ashburn Rd. over 407 | Medium | WM43-1, WM43-2 | Refer to Phase II FIDR sheets |
| WEST DURHAM LINK STRUCTURES |  |  |  |  |  |  |  |
| W-1 | WL-1 (Low) | WL-TTLC-99 | Culvert | EBL&WBL and Realigned Hwy 401 and associated Ramps over Lynde Creek Tributary at Site#99 | Medium | 9-13, 9-23 | Revised Ranking – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| W-2 | n/a | WL-TTLC-99A | Culvert | Realigned Lake Ridge Rd. over Lynde Creek Tributary at Site #99A | Low | - | New Structure – Phase I sheet to be developed |
| W-3 | WL-2 / 3 (High) | n/a | Overpass | Realigned Lake Ridge Road over Realigned Hwy 401 N-W Ramp/CNR and GO Transit Tracks | High | WL2-1, WL2-2, WL3-1, WL3-2, WL3-3, 9-23 | Refer to Phase II FIDR sheets |
| - | WL-4 (Medium) | n/a | (Overpass) | (WDL/Hwy 401 IC- EB On-Ramp over W-N Ramp) | n/a | WL4-1, 9-33 | Structure Deleted -(FIDR sheet included for information purposes only) |
| W-4 | n/a | WL-TALC-51B | Bridge | Hwy 401/Lake Ridge Road E-NS Ramp over West Lynde Creek at Site #51 | High | WL5-2 | New Structure – Phase I or II sheets to be developed |
| W-5 | WL-5 (Medium) | WL-TALC-51A | Overpass | WDL/Hwy 401 IC- N-W ramp over Lake Ridge Road/401 IC-E-NS Ramp and over West Lynde Creek at Site #51 | High | WL5-2 | Refer to Phase II FIDR sheets |
| W-6 | WL-6 (Low) | WL-TALC-51 | Bridge (Culvert) | Realigned Hwy 401 over West Lynde Creek at Site#51 | Medium | WL5-2 | Revised Ranking – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| W-7 | WL-7 (High) | WL-TALC-51C/WL7 | Underpass & Overpass | WDL/Hwy 401 IC- W-N Ramp over Realigned Hwy 401 and West Lynde Creek and under N-E Ramp | High | WL7-1, WL7-2, WL4-1, WL8-1, WL8-3, 9-33 | Refer to Phase II FIDR sheets |
| W-8 | n/a | WL-TALC-51D | Bridge | Lake Ridge Road/401 IC – NS-E Ramp over West Lynde Creek at Site#51 | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-9 | WL-8 / 9 (High) | n/a | Overpass | WDL/Hwy 401 IC- N-E Ramp over realigned Hwy 401 and W-N Ramp | High | WL8-2, WL8-3, WL9-1, 92 | Refer to Phase II FIDR sheets |
| W-10 | WL-11 (Medium) | WL-LC-100 | Bridge | Realigned Hwy 401 over Lynde Creek | Medium | WL10-1, WL11-1 | Refer to Phase II FIDR sheets |
| W-11 | WL-10 (Medium) | WL-LC-100A | Bridge | Hwy 401-WDL IC – N-E Ramp over Lynde Creek |  |  |  |
| W-12 | WL-12 (Medium) | n/a | Underpass | WDL under Dundas Street West | Medium | WL12-1, 12 | Refer to Phase II FIDR sheets |
| W-13 | n/a | WL-TALC-49 | Culvert | Dundas St. over West Lynde Creek at Site#49 | Medium | - | New Structure – Phase I or II sheets to be developed |
| - | WL-13/14 (Low) | n/a | (Culverts) | (WDL over creek at Stn 11+100 and realigned Halls Rd. over site #48) | n/a | - | Structures Deleted |
| - | WL-15 (Medium) | n/a | (Underpass) | (Realigned Halls Rd. North over WDL) | n/a | - | Structure Deleted |
| W-14 | n/a | WL-TBLC-47 | Bridge | WDL over West Lynde Creek tributary at Site #47 | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-15 | WL-17 (Low) | WL-TBLC-47A | Culvert | Rossland Rd & E-N Ramp over realigned watercourse at Site #47A | Medium | 32 | Revised Ranking – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| W-16 | WL-16 (Medium) | WL-16 | Underpass | Rossland Road West over WDL | Medium | WL16-1 | Refer to Phase II FIDR sheets |
| W-17 | n/a | WL-TALC-97 | Culvert | Rossland Rd. over West Lynde Creek tributary at Site #97 | Medium | - | New Structure – Phase I or II sheets to be developed |
| - | WL-17A (Low) | n/a | (Culvert) | (Realigned Halls Rd. over watercourse at Site #46) | n/a | - | Structure Deleted |
| - | WL-18 (High) | n/a | (Overpass) | (Realigned Halls Rd. over CPR) | n/a | - | Structure Deleted |
| W-18 | n/a | CPR Culvert (Site #46A) | Culvert | CPR over existing watercourse east of WDL | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-19 | WL-19/19A (High) | n/a | Underpass | CPR over WDL | High | WL19-2A, WL19-3A, WL19A-1A, WL19A-2A | Refer to Phase II FIDR sheets |
| - | WL-19B (Low) | n/a | (Culvert) | Taunton Rd. over existing watercourse | n/a | - | Structure Deleted |
| W-20 | n/a | WL-TBLC-45 | Culvert | Taunton Rd & E-N Ramp over realigned watercourse at Site#45 | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-21 | WL-20 (Medium) | n/a | Underpass | Taunton Rd. over WDL | Medium | WL20-1, WL20-2 | Refer to Phase II FIDR sheets |
| W-22 | WL-21 (Low) | WL-TBLC-44 | Bridge (Culvert) | WDL over existing watercourse at Site #44 | Medium | - | Revised Ranking – Refer to copy of Phase I AFC sheet (Phase II sheets to be developed) |
| - | WL-22 (Medium) | n/a | (Underpass) | (Realigned Halls Rd. N. over WDL) | n/a | - | Structure Deleted |
| W-23 | n/a | WL-AC-2 | Culvert | Wildlife crossing over Stn. 15+850 | Low | - | New Structure – Phase I level sheet to be developed |
| W-24 | n/a | WL-AC-1 | Culvert | Wildlife crossing over Stn. 16+790 | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-25 | n/a | WL-TMLC-43 | Bridge | WDL over watercourse at Site #43 | Medium | - | New Structure – Phase I or II sheets to be developed |
| W-26 | WL-23 (Medium) | n/a | Overpass | WDL E-S Ramp over Winchester Rd. W. (Hwy 7) | Medium | WL23-1, 72 | Refer to Phase II FIDR sheets |
| W-27 | WL-23A (Medium) | n/a | Overpass | WDL S-W/S-E Ramp over Winchester Rd. W. (Hwy 7) | Medium |  |  |
| - | WL-24 (Medium) | n/a | (Bridge) | (Realigned Coronation Rd. over Lynde Creek) | n/a | (WL24-1, WL24-2) | Structure Deleted (refer to FIR sheet for information purposes only) |
| - | WL-24A (Low) | n/a | (Culvert) | (realigned Coronation Road over tributary of Lynde Creek) | n/a | - | Structure Deleted |
| W-28 | WL-26 (Medium) | WL-TDLC-41A | Bridge | 407-WDL IC – W-S and E-S Ramps over Lynde Creek tributary at Site #41A | Medium | WL26-1, WL26-2 | Refer to Phase II FIDR sheets |
| W-29 |  |  |  |  |  |  |  |
| W-30 | WL-25 (Medium) | WL-TDLC-41B | Bridge | 407-WDL IC – S-W & S-E Ramps over Lynde Creek tributary at Site#41B | Medium | WL25-1, WL25-2 | Refer to Phase II FIDR sheets |
| W-31 |  |  |  |  |  |  |  |
| - | WL-27 (Medium) | n/a | (Overpass) | (407-WDL IC – W-S Ramp over Lynde Creek tributary at Site #17) | n/a | (WL27-1, WL27-2) | Structure Deleted (refer to FIR sheet for information purposes only) |
| - | WL-30 (Medium) | n/a | (Overpass) | (407-WDL IC – S-W Ramp over watercourse at Site #17) | n/a | - | Structure Deleted |
| - | WL-33 (Medium) | n/a | (Underpass) | (Realigned Coronation Rd. over 407/WDL IC – E-S Ramp) | n/a | - | Structure Deleted |
| - | WL-33A/B (Low) | n/a | (Culverts) | (407 over Lynde Creek tributary) | n/a | - | Structures Deleted |

Notes:

1 MTO Geocres No. 30M14-227

2 MTO Geocres No. 30M15-84

3 MTO Geocres No. 30M15-80

4 Borehole WMSC8-1 is located approximately 125 m east of the nearest abutment of Structure M-12.

5 Structure WM-35 has changed significantly since the borehole investigation for the original underpass structure and has now been

deleted altogether.

6 When referring to Phase I AFC sheets, it is noted that the Hwy 407 Stationing provided in the Phase I AFC sheets is different  from the

current Hwy 407 Phase II Stationing.

The subsurface soil and groundwater conditions as encountered in the boreholes advanced during this investigation, and the results of geotechnical laboratory tests carried out on selected soil and rock samples, are given on the  Record of Borehole sheets included in Appendix A and on the laboratory test result figures included in Appendix B.  A copy of the referenced borehole logs from previous MTO investigations located along the Highway 407 and WDL alignments in this section are provided in Appendix C and approximate locations (converted to MTM NAD83 co-ordinates) are shown on Drawings 3 to 9.

It should be noted that the stratigraphic boundaries shown on the Record of Borehole sheets are inferred from non-continuous sampling, observations of drilling progress and the results of Standard Penetration Tests (SPTs).  These boundaries, therefore, represent transitions between soil types rather than exact planes of geological change.  Subsurface conditions will vary between and beyond the borehole locations.  It should also be noted that the water levels which were observed in the open boreholes or measured in the piezometers are expected to fluctuate seasonally and should be expected to rise during the spring and other wet periods of the year.

A summary of the subsoil and groundwater conditions encountered at each proposed bridge site, together with site-specific drawings showing the proposed structure, the borehole location and a stratigraphic profile, are presented in the individual Preliminary Foundation Investigation Report sheets, following the text of this report.

The sections where the proposed highway is to be constructed in a deep cut or as a high fill are summarized below.  The summary shows the deep cut area (designated ‘DC-’) or high fill area (designated ‘HF-’) number, location (station to station), maximum depth and height of the proposed cut or fill, and existing boreholes in the area.  At the deep cut and high fill areas, specific boreholes have not yet been drilled as “Authorization to Proceed” with the work has not been granted.  Therefore, wherever possible, subsurface information from boreholes at adjacent structure sites has been used to develop the preliminary subsurface conditions and recommendations provided in the Preliminary Foundation Investigation Report sheets.  Where relevant borehole information was not available within reasonable distance (about 150 m) from the cut/fill section, the Terrain/Drainage Maps (prepared by AECOM based on air-photo interpretation) provided in the Foundation Desktop Study and the Geologic Cross-Sections provided in the Foundation Investigation Report For Environmental Assessment (Hydrogeology Specialty) prepared by AECOM were used to interpret anticipated subsurface conditions.  The subsurface conditions at the deep cut and high fill sections are summarized in the Preliminary Foundation Investigation Report sheets for Deep Cuts and High Fills following the FIDR and AFC sheets for the structures.

| Deep Cut or High Fill Section1 |  |  | Approximate Station Limits2 |  | Length (m) | Approximate Maximum Depth of Cut2 (m) | Approximate Maximum Height of Fill2 (m) | Existing Borehole(s) in Area |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| West Mainline |  |  |  |  |  |  |  |  |
| HF-W1 |  |  | 11+725 | 11+800 | 75 | - | 5.5 | WM1-1, WM2-1 |
| HF-W2 |  |  | 11+925 | 11+975 | 50 | - | 5.0 | - |
| HF-W3 |  |  | 12+475 | 12+930 | 455 | - | 17 | WM7-1A, WM7-1, WM7-2, WMSC7-1 |
| DC-W1 |  |  | 13+225 | 13+500 | 355 | 18.0 | - | WM8-1, P6 |
| HF-W4 |  |  | 13+625 | 13+900 | 275 | - | 10.0 | WMSC8-1 |
| HF-W5 |  |  | 14+400 | 14+975 | 575 | - | 14.5 | WM12-1,WM13-1, P7, WM11A-1, WM11-2 |
| DC-W2 |  |  | 15+500 | 15+885 | 385 | 6.5 | - | - |
| HF-W6 |  |  | 16+150 | 16+275 | 125 | - | 6.5 | - |
| HF-W7 |  |  | 16+525 | 16+735 | 210 | - | 6.5 | - |
| HF-W8 |  |  | 17+240 | 17+625 | 385 | - | 6.5 | - |
| DC-W3 |  |  | 18+060 | 18+300 | 240 | 12.0 | - | - |
| HF-W9 |  |  | 18+450 | 18+550 | 100 | - | 5.5 | WM27-1, WM27-2 |
| DC-W4 |  |  | 18+700 | 19+200 | 500 | 7.0 | - | WM27-1, WM27-2 |
| DC-W5 |  |  | 19+560 | 19+700 | 140 | 8.0 | - | WM28-1, P10 |
| DC-W6 |  |  | 20+275 | 20+450 | 175 | 8.0 | - | WL28-2, WL28-3, WL28-4, WL29-1, WL29-2 |
| DC-W7 |  |  | 20+615 | 20+700 | 85 | 5.5 | - | WL28-1,WL28-2, P11 |
| HF-W10 |  |  | 20+885 | 21+225 | 340 | - | 11.5 | - |
| DC-W8 |  |  | 21+450 | 21+590 | 140 | 11.5 | - | WM35-1, WM35-2 |
| HF-W11 |  |  | 21+675 | 22+075 | 400 | - | 7.0 | WM36-1, WM37-1 |
| DC-W9 |  |  | 22+325 | 22+625 | 300 | 7.5 | - | WM38-1, WM38-2 |
| HF-W12 |  |  | 22+930 | 23+000 | 70 | - | 6.5 | WM40-1 |
| DC-W10 |  |  | 23+275 | 23+725 | 450 | 7.0 | - | WM43-1, WM43-2 |
| West Durham Link |  |  |  |  |  |  |  |  |
| HF-W13 |  |  | 18+050 | 18+490 | 440 | - | 10.0 | WL23-1, 7 |
| HF-W14 |  |  | 17+325 | 17+700 | 375 | - | 7.5 | - |
| HF-W15 |  |  | 14+350 | 15+075 | 725 | - | 8.0 | - |
| DC-W11 |  |  | 12+400 | 12+890 | 490 | 6.5 | - | WL-19A-1A, WL-19A-2A, WL19-2A, WL-19-3A |
| Notes: |  |  |  |  |  |  |  |
| 1. |  |  | Deep cuts/high fills are defined as areas which are deeper/higher than 4.5 m; |  |  |  |  |  |  |  |
| 2. |  |  | The extent and depth/height of deep cuts and high fills were estimated from base plans and profiles provided in digital format by URS, K;' |  |  |  |  |  |  |  |
|  |  |  | drawing file titled, “407E Western Section Plan & Profile (Ver 4.2).dwg”,received November 6, 2008. |  |  |  |  |  |  |  |

It should be noted that the subsurface conditions presented in the Preliminary Foundation Investigation Report sheets for High Fills and Deep Cuts are inferred from limited borehole information and interpreted from terrain/digital maps, as noted above.  The subsurface conditions described are therefore approximate and may differ from the actual subsurface conditions that exist along the proposed deep cut and high fill sections.

## General Groundwater Conditions

The water level was observed in open boreholes at the time of drilling, and standpipe piezometers were installed at thirty-seven (37) borehole locations as part of the current investigation for the project.  The remaining boreholes were backfilled immediately after the completion of drilling and before the local water level had stabilized.

Details of the piezometer installations and history of water levels measured in the boreholes are shown on the Record of Borehole sheets in Appendix A.

The most recent water levels measured in the piezometers are summarized below and represent the stabilized groundwater levels (except where noted).  The water level(s) in open boreholes at completion of drilling are presented on the Record of Borehole sheets but are not considered stabilized and are in fact affected by water introduced during drilling operations, or depressed due to advancement of the boreholes.

| Borehole Number / Piezometer | Ground Surface Elevation (m) | Depth to Water Level Below Ground Surface (m) | Water Level Elevation (m) | Date |
| --- | --- | --- | --- | --- |
| WMA-21 | 196.0 | 5.4 | 190.6 | April 4, 2008 |
| WM2-1 | 187.6 | 4.5 | 183.1 | April 4, 2008 |
| WM3-2 | 181.0 | 3.9 | 177.1 | April 4, 2008 |
| WM7-12 | 169.0 | -(0.4) | 169.4 | April 29, 2009 |
| WM7-2 | 166.4 | 2.1 | 164.3 | April 4, 2008 |
| WMSC7-1 | 169.2 | 4.9 | 164.3 | April 29, 2009 |
| WM8-1 | 168.1 | 0.7 | 167.4 | April 4, 2008 |
| WM11-22,3 | 152.4 | -(2.4) | 154.8 | March 24, 2008 |
| WM17-1 | 155.0 | 2.5 | 152.5 | April 4, 2008 |
| WM22-1 | 169.0 | 4.8 | 164.2 | April 4, 2008 |
| WM25-1 | 180.1 | 2.2 | 177.9 | April 4, 2008 |
| WM27-2 | 191.8 | 0.3 | 191.5 | April 5, 2008 |
| WM28-1 | 194.0 | 3.4 | 190.6 | April 4, 2008 |
| WM29-2 | 190.0 | 7.8 | 182.2 | April 4, 2008 |
| WM35-1 | 165.0 | 2.5 | 162.5 | April 4, 2008 |
| WM35-2A | 185.0 | 0.4 | 184.6 | June 2, 2009 |
| WM37-1 | 153.2 | 1.6 | 151.6 | April 4, 2008 |
| WM38-1 | 170.1 | 3.9 | 166.2 | April 4, 2008 |
| WM39-1 | 159.0 | 1.6 | 157.4 | April 4, 2008 |
| WM41-2 | 161.2 | 1.7 | 159.5 | April 4, 2008 |
| WM43-1 | 164.0 | 1.2 | 162.8 | April 4, 2008 |
| WL3-3 | 88.0 | 3.1 | 84.9 | April 5, 2008 |
| WL5-2 | 80.0 | 0.7 | 79.3 | April 5, 2008 |
| WL8-3 | 82.0 | 0.7 | 81.3 | April 5, 2008 |
| WL11-1 | 79.0 | 0.0 | 79.0 | April 5, 2008 |
| WL12-1 | 87.0 | 0.6 | 86.4 | August 15, 2008 |
| WL19-2A | 105.8 | 2.5 | 103.3 | March 23, 2009 |
| WL20-2 | 115.0 | 7.4 | 107.6 | April 5, 2008 |
| WL23-1 | 166.3 | 1.3 | 165.0 | April 4, 2008 |
| WL24-2 | 150.0 | 0.3 | 149.7 | April 14, 2008 |
| WL25-2 | 169.0 | 0.6 | 168.4 | June 2, 2009 |
| WL27-2 | 174.0 | 0.3 | 173.7 | April 4, 2008 |
| WL28-2 | 176.3 | 0.3 | 176.0 | April 4, 2008 |
| WL28-3 | 177.5 | 6.6 | 170.9 | June 12, 2009 |
| WL29-1 | 188.1 | 0.7 | 187.4 | June 2, 2009 |
| WL29-5 | 171.6 | 0.6 | 171.0 | June 2, 2009 |
| WL31-1 | 188.4 | 0.2 | 188.2 | April 5, 2008 |

1  Piezometer decommissioned on September 30, 2009 in accordance with Ontario Regulation 903;
2  Artesian conditions encountered;
3  Piezometer decommissioned on March 24, 2008 in accordance with Ontario Regulation 903.

The measured groundwater levels in the piezometers range from 2.4 m above the ground surface to 7.8 m below ground surface but typically were measured within about 5 m below ground surface.  It should be noted that artesian water conditions were measured at two (2) piezometer locations (WM7-1 and WM11-2) and observed during drilling at four (4) other deep borehole locations (WMSC8-1, WM12-1, WM13-1, and WM41-1).  The boreholes which encountered artesian conditions are located within  low-lying creek or valley areas, specifically near Brougham Creek, Spring Creek, East Duffins Creek, and Lynde Creek tributaries.  The artesian water pressures were measured to be up to about 2.4 m above existing ground surface and were encountered within  granular layers (typically greater than 10 m thick) present about 2.5 m to 32 m below ground surface which are overlain by cohesive deposits.  Details of the site-specific groundwater conditions at each bridge site are provided on the Preliminary Foundation Investigation (FIR) sheets, following the text of this report.

It should be noted that the groundwater levels at the site are anticipated to fluctuate as a result of seasonal variations in precipitation and runoff at the site.

# CLOSURE

This Preliminary Foundation Investigation Report was prepared by Ms. Beng Lay Teh and Mr. Tomasz Zalucki, E.I.T., and reviewed by Mr. Kevin Bentley, P.Eng., an Associate and Geotechnical Engineer with Golder, with technical input from Mr. Murty Devata, P.Eng., a Specialist Foundations Consultant to Golder.  Mr. Jorge M.A. Costa, P.Eng., a Principal of Golder and a Designated MTO Contact provided quality control review of this report for conformance with the project Terms of Reference.

GOLDER ASSOCIATES LTD.

Tomasz Zalucki, E.I.T.

Geotechnical Group

Kevin J. Bentley, P.Eng.			      Jorge M.A. Costa, P.Eng.

Geotechnical Engineer, Associate			      Designated MTO Contact, Principal

BLT/TZ/HJ/KJB/MD/JMAC/jl

N:\Active\2007\1111\07-1111-0053-URS-Highway 407 Extension\9 - Reporting\9 FINAL Foundation Report\07-1111-0053 RPT 10Jun07 Hwy 407 East Extension-Western Section.docx

# Engineering RECOMMENDATIONS FOR PRELIMINARY DESIGN

## General

This section of the report provides foundation design recommendations for the preliminary design of the proposed bridge structures along the Highway 407 East Extension-Western Section Mainline and West Durham Link (WDL) routes. The preliminary foundation design recommendations provided herein are based on interpretation of the factual data obtained from limited current borehole investigations and previous borehole data obtained by MTO, at or near the site of the proposed structures, but not necessarily at or within the footprint of the foundation elements.  The interpretation and recommendations are intended to provide the designers with adequate information to assess the feasible foundation alternatives for the preliminary design of the proposed structure foundations.  Where comments are made on construction they are provided in order to highlight those aspects which could affect the current preliminary design of the project, and for which special provisions or operational constraints could potentially be required.

## Structure Foundation Recommendations

As discussed in Section 2.0, seventy-two (72) structures consisting of fifty-four (54) bridges and eighteen (18) culverts are currently proposed for the crossing of the Highway 407 West Mainline and WDL at the locations of creeks, municipal or regional roads, railways and associated new ramps/bridges.  Preliminary foundation recommendations for each bridge site where boreholes were advanced, including a description of the proposed bridge structure(s) configuration assumed at the time of preparation of this report, are provided in the individual Preliminary Foundation Investigation and Design Report (FIDR) sheets, following the text of this report.  At structure sites where no borehole information was obtained to meet the Phase II level of investigative effort, copies of the Phase I Anticipated Foundation Conditions Sheets (prepared by Thurber) have been included in lieu of the Preliminary FIDR sheets.  Any new structure sites that were identified late in the Phase II investigation and design process are identified in Section 4.2 and on Drawings 3 to 9, but no Phase I or II foundation sheets were currently prepared

For deep cut / high fill areas, a site-specific foundation investigation was not performed.  As a result, the borehole information obtained from relevant adjacent structure sites (where available) has been used to develop preliminary recommendations provided in the Preliminary Foundation Investigation Report sheets.

It is noted that the current subsurface investigation is generally limited to drilling boreholes near the locations of the bridge abutments to obtain subsurface information representative of the general site.  No boreholes were advanced specifically within the foundation footprint of the bridge abutments, potential pier locations, nor at the approach embankment locations for any medium or high complexity sites.  The boreholes were advanced to obtain subsurface information representative of the general site.  Therefore, further investigations at the final locations of the bridge abutments and piers are required during detail design  to obtain subsurface information specific to the foundation locations and to confirm that the subsurface conditions and the geotechnical parameters and resistance values provided in this preliminary design phase are appropriate for the detail design of the foundations.

The foundation design for all highway structures must be carried out in accordance with the latest Canadian Highway Bridge Design Code (CHBDC) requirements.  Design of railway grade separations must also be carried out in conformance with the local railway authority requirements and American Railway Engineering and Maintenance-of-Way Association (AREMA) manual.

The following subsections provide project-wide recommendations generally applicable to all bridge sites, including design assumptions and limitations associated with the recommendations provided in the Preliminary Foundation Design Report sheets.

### Spread Footings

Preliminary foundation recommendations for spread footings on native undisturbed soil or on a compacted Granular ‘A’ pad ‘perched’ within the bridge approaches are provided where subsoil conditions are considered to be suitable for shallow foundations, as indicated on the individual Preliminary FIDR sheets for each bridge site.

For spread footings placed (or perched) within the approach embankments on a compacted Granular ‘A’ core, the geotechnical resistance values provided in the FDR sheets assume a minimum 2 m thick Granular ‘A’ pad placed below the base of the footing.  The Granular ‘A’ pad should extend at least 1 m beyond the plan limits of the footing and be sloped no steeper than 1 Horizontal : 1 Vertical (1H:1V) in general accordance with MTO guidelines (see Figure 1).  The Granular ‘A’ pad should be constructed in accordance with MTO Special Provision 105S10, Compaction.

Preliminary geotechnical resistance values for spread footings are provided for factored Ultimate Limit States (ULS) and at Serviceability Limit States (SLS) for 25 mm of settlement assuming a 3 m wide footing.  These preliminary values are given under the assumption that the loads are applied perpendicular to the surface of the footings.  Where the load is not applied perpendicular to the surface of the footing, inclination of the load should be taken into account in accordance with Section 6.7.4 of the CHBDC (2006) and its Commentary.  The geotechnical resistance values will have to be re-evaluated and modified if necessary during detail design based on future additional subsurface investigation at the locations of the foundation elements.

Resistance to lateral forces/sliding resistance between the concrete footings and the subgrade should be calculated in accordance with Section 6.7.5 of the CHBDC (2006).

All footings should be provided with a minimum of 1.2 m of soil cover or equivalent thickness of insulation for frost protection (OPSD 3090.101, Foundation Frost Depths for Southern Ontario).

### Steel H-Piles

Preliminary recommendations for steel H-piles, assuming an HP 310 x 110 pile section, are provided where considered practical for foundation design of abutments and piers as indicated on the individual Preliminary FIDR sheets for each bridge site.  The factored geotechnical axial resistance at Ultimate Limit States (ULS) and the geotechnical axial reaction at Serviceability Limit States (SLS) for 25 mm of displacement for the steel H-pile foundations founded at the anticipated pile depth/pile tip elevation are provided, based on the subsurface conditions encountered in the boreholes, respective to each bridge site.

The factored ULS resistance and SLS reaction values provided will have to be re-evaluated and modified, if necessary, during detail design in consideration of the additional subsurface investigations at the locations of each bridge foundation element.  The factored geotechnical axial resistance at ULS should then be verified in the field by the use of the Hiley formula (MTO Structural Standard Drawing SS103-11 Pile Driving Control) during the final stages of driving.  The ultimate geotechnical axial resistance predicted from the Hiley formula should then be multiplied by a geotechnical resistance factor equal to 0.4 in accordance with Table 6.6.2.1 in the CHBDC (2006) to verify the factored ULS design value.  Based on MTO experience with the Hiley formula in the Southern Ontario region, a resistance factor equal to 0.5 may be used for this project.  For complex bridge sites, if warranted during the detail design stage, the ultimate load capacity and/or load-settlement behaviour (serviceability) should be verified by full-scale pile load tests.

Pile installation should be in accordance with OPSS 903, Deep Foundations.  The pile termination or set criteria will be dependent on the pile driving hammer type, helmet, selected pile size and length of pile.

The structural design of the piles should be based on full downdrag load where applicable and as indicated on the FDR sheets, unless measures to significantly reduce anticipated post-construction settlements are undertaken.  In this case the downdrag loads can be eliminated.  For preliminary design, downdrag is not considered to be a concern if the differential movement between the settlement of the soil and the compression of the pile at the pile-soil interface is less than 10 mm (NCHRP, 1997).

Resistance to lateral loading can be derived using vertical piles, with enhanced support offered by battered piles, if required.  For vertical piles, the resistance to lateral loading will be derived solely from the soil in front of the piles, whereas battered piles derive lateral resistance from the soil in front of the piles as well as the horizontal component of the axial load present in the inclined pile.  The resistance to lateral loading in front of the pile and pile group action for lateral loading if the pile spacing in the direction of loading is less than six to eight pile diameters, should be accounted for and assessed during the detail design phase of the project.  For preliminary design, lateral resistance values at factored ULS and at SLS for a lateral displacement of 10 mm at the pile head for a single vertical steel H-pile embedded in typical soil profiles are provided in Table C6.4 of the Commentary of the CHBDC (2006).

All pile caps should be provided with a minimum of 1.2 m of soil cover or equivalent thickness of insulation for frost protection (OPSD 3090.101, Foundation Frost Depths for Southern Ontario).

The soils at many structure locations are very dense or hard glacial tills (SPT ‘N’-values exceeding 100 blows) at depths of less than 5 m from the ground surface.  To provide an adequate length of pile at these locations, pre-augering may be required to penetrate the very dense or hard glacial till soils.

For the installation of steel H-piles, consideration will have to be given to the possible presence of cobbles and/or boulders within the till deposits and bedrock encountered at the locations of a number of bridge sites as indicated on the FIDR sheets.  Where applicable, the piles should be reinforced with driving shoes such as Titus Standard “H” Bearing Pile Point design or flange plates as per OPSD 3000.100, Foundation Piles – Steel H-Pile Driving Shoe, for protection during driving.  For piles to be driven into bedrock, the following note should also be included in the Contract Drawings: “Piles to be driven to bedrock”.  Pile installation and driving shoes should be in accordance with OPSS 903, Deep Foundations.

Where artesian groundwater conditions are present, specialized construction techniques will be required to mitigate the possible upward flow of water along the pile shaft.  Such measures may include driving the piles within a large diameter liner filled with water to counteract artesian head, and provision for an impermeable plug and granular drainage layer.

In the case of bridge widening (e.g. Structure WM-A, west of Brock Road), vibration monitoring should be carried out during pile installation to ensure that the vibration levels at the existing bridge structure are maintained within tolerable levels.  The tolerable limit will depend on the type and condition of the existing structure and foundation system, proximity to pile driving, etc. and will need to be determined during detail design.  For preliminary assessment, a maximum peak particle velocity (PPM) of 50 mm/s at the existing bridge structure can be assumed.  However, this value will need to be re-evaluated and adjusted as necessary as more information is made available during detail design.

### Caissons

Preliminary foundation recommendations for caissons founded within “100-blow” deposits or within shale bedrock as applicable, were provided where caissons were considered to be practical for foundation design as indicated on the individual Preliminary FDR sheets for each bridge site.  The factored geotechnical axial resistance at Ultimate Limit States (ULS) and the geotechnical axial resistance at Serviceability Limit States (SLS) for 25 mm of displacement are provided for caisson diameters equal to 1.2 m and 1.5 m.  The geotechnical resistance values are associated with a recommended caisson base elevation and/or embedment depth into the “100-blow” materials or into shale bedrock as the caisson will typically derive the majority of its capacity from base resistance, although shaft resistance has also been taken into account assuming permanent steel liners are required.

The factored ULS and SLS resistance values provided will have to be re-evaluated and modified, if necessary, during detail design in consideration of the additional subsurface investigations at the locations of each bridge foundation element.  For complex bridge sites, if warranted during the detail design stage, the ultimate load capacity and/or load-settlement behaviour (serviceability) should be verified by full-scale caisson load tests.

The structural design of the caissons should be based on full downdrag load where applicable and as indicated on the FDR sheets, unless measures to significantly reduce anticipated post-construction settlements are undertaken in which case the downdrag loads can be eliminated.  For preliminary design, downdrag is not a concern if the differential movement between the settlement of the soil and the compression of the caisson at the caisson-soil interface is less than 10 mm (NCHRP, 1997).

The resistance to lateral loading developed by the soils in front of the caissons (assuming vertical caissons)  and the reductions due to group effects should be accounted for and assessed during the detail design phase of the project.

It should be noted that “running” or “flowing” of water-bearing cohesionless strata, where encountered, could occur during or after drilling of caisson foundations.  Therefore, where caisson foundations are considered, temporary or permanent caisson liners may be required to support these type of soils during construction and permit cleaning and inspection of the caisson base (possibly with a downhole camera).  At some locations (as indicated on the FDR sheets), it is recommended caissons be drilled while maintaining a constant head of water inside the caisson liners to counterbalance high groundwater or artesian conditions followed by tremied concrete placement (see Section 6.7.3).  Where the caissons are relatively long, temporary liners may be difficult to withdraw due to the length of the liners and the typically hard/very dense nature of the “100-blow” material in which the caissons are installed can result in “necking” of the caissons.  In such cases, permanent liners would be preferred for the construction of the caissons and the reduced shaft resistance (i.e. due to the smooth liner/soil interface) has been considered in the preliminary geotechnical resistance values provided in the FDR sheets for the full length of the caissons.  The use of permanent liners should be re-assessed and geotechnical resistance values revised, if necessary, when the caisson installation method has been determined during detail design.

Consideration will have to be given to the possible presence of cobbles and/or boulders within the till deposits encountered at the locations of a number of bridge sites as indicated in the FDR sheets.  Caisson drilling equipment must be capable of penetrating such obstacles, where applicable (refer to Section 6.7.4).

Pile caps for caissons, as applicable, should be provided with a minimum of 1.2 m of soil cover or equivalent thickness of insulation for frost protection (OPSD 3090.101, Foundation Frost Depths for Southern Ontario), unless the caissons are extended above ground surface to the underside of the deck with a pile cap.

## Bridge Retaining/Wing Walls

Most of the proposed bridge structures may require the construction of retaining walls and/or wing walls depending on the proposed bridge crossing configuration, available space and surrounding ground elevations.  Feasible bridge retaining wall/wing wall options may include:

- Concrete retaining walls supported on spread footings or on deep foundations (often cantilevered beyond the abutment foundation) depending on the site-specific subsoil conditions as discussed on the respective Foundation Design Report sheets following the text of this report.  The preliminary foundation recommendations for this type of retaining wall can be considered to be similar to the recommendations provided for the preliminary design of the bridge foundations elements.

- Retained Soil System (RSS) walls:  RSS walls are considered to be the most feasible wall option for most of the bridge abutment / approach locations provided differential settlements are within tolerable limits and an adequate Factor of Safety against global instability is achieved.  The performance of an RSS wall during foundation settlement depends primarily on the characteristics of its front facing system.  Total settlements up to about 75 mm can be tolerated and a typical precast concrete panel facing can tolerate up to about 1 % differential settlement (RECo, 2000).  Specialized slip joints can be incorporated into the design if differential settlements exceed 1 %.  Sub-excavation of surficial soft/loose materials, where encountered, and replacing with compacted granular material, will be required to construct the reinforced soil mass.  The front facing is typically supported on a strip footing placed at shallow depth below the ground surface.  The footing must be founded on competent native soils or approved engineered fill, after sub-excavation and backfilling the areas where topsoil, loose/soft fill or unsuitable native soils exist.  The factored geotechnical axial resistance at Ultimate Limit States (ULS) and the geotechnical axial resistance at Serviceability Limit States (SLS) for up to 75 mm of displacement should be provided for the footings of the wall facing and reinforced earth mass during detail design.  It should be noted that the limiting displacement value for SLS design should be re-assessed and confirmed during detail design and will be dependent on the actual facing type or possibly the serviceability limit of the supporting roadway or foundation (typically less than 25 mm), if applicable.  The internal stability of a reinforced earth wall  should be assessed by the proprietary product supplier/designer.  The external stability of the RSS wall has been provided in the FDR sheets, where indicated, and should be confirmed by the geotechnical consultant at the detail design stage taking into account the final geometry and configuration.

For settlement sensitive sites (i.e. where soft cohesive deposits were encountered), retaining walls will be affected by the post-construction settlement of the wall backfill materials, depending on the height/thickness of the backfill.  The selection of the wall option for such sites will thus be dependent on the predicted settlement and should be assessed during detail design.  Measures to reduce settlement could be achieved by incorporating site improvement techniques such as using light weight fill materials  (i.e. slag or expanded polystyrene (EPS)), installing wick drains, preloading or surcharging, and staged construction as discussed in the individual FDR sheets, where applicable.  The preferred settlement mitigation option is site specific and should be confirmed when additional soil information and project scheduling is known during detail design.

## Lateral Earth Pressures for Design

The lateral earth pressures acting on the bridge abutment stems and any associated retaining walls/wing walls will depend on the type and method of placement of the backfill materials, on the nature of the soils behind the backfill, on the magnitude of surcharge including construction loadings, on the freedom of lateral movement of the structure, as well as on the drainage conditions behind the walls.

The following general recommendations are made concerning the design of the stems/walls.  It should be noted that these recommendations and parameters assume level backfill and ground surface behind the walls.  Where there is sloping ground behind the walls, the coefficient of lateral earth pressure must be adjusted to account for the slope in accordance with Section C6.9.2.2 of the CHBDC (2006).

- Select free-draining granular material meeting the specifications of MTO’s Special Provision 110S13 Material Specifications for Aggregates, Granular ‘A’ or Granular ‘B’ Type II but with less than 5 per cent passing the 200 sieve should be used as backfill behind the walls.  This material should be compacted in accordance with MTO’s Special Provision 105S10, Compaction.  Transverse drains and weep holes should be installed to provide positive drainage of the granular backfill.  Other aspects of the granular backfill requirements with respect to sub-drains and frost taper should be in accordance with OPSD 3101.150, Walls Abutment, Backfill Minimum Granular Requirement and OPSD 3121.150, Walls Retaining, Backfill Minimum Granular Requirement.

- A minimum compaction surcharge of 12 kPa should be included in the lateral earth pressures for the structural design of the wall stem, in accordance with Section 6.9.3 and Figure 6.6 of the CHBDC (2006).  Compaction equipment should be used in accordance with MTO’s Special Provision 105S10, Compaction.  Other surcharge loadings should be accounted for in the design, as required.

- The granular fill may be placed either in a zone with width equal to at least 1.2 m behind the back of the wall stem (Case I on Figure C6.20(a) of the Commentary to the CHBDC (2006)) or within the wedge-shaped zone defined by a line drawn at 1.5 horizontal to 1 vertical (1.5H:1V) extending up and back from the rear face of the footing (Case II on Figure C6.20(b) of the Commentary to the CHBDC (2006)).

- For the case where the pressures are based on granular fill behind the wall, the following parameters  may be assumed.

|  | Granular ‘A’ | Granular ‘B’ Type II |
| --- | --- | --- |
| Soil Unit Weight: | 22 kN/m3 | 21 kN/m3 |
| Coefficients of Static Lateral Earth Pressure: Active, Ka At Rest, Ko | 0.27 0.43 | 0.27 0.43 |

- For the case where the pressures are based on existing materials behind the wall,  the required parameters for design should be assessed on a site-by site basis during detail design.

- If the wall support and superstructure allow lateral yielding of the abutment stem and retaining walls, active earth pressures may be used in the geotechnical design of the structure.  If the abutment support does not allow lateral yielding, at-rest earth pressures should be assumed for geotechnical design.  The movement to allow active pressures to develop within the backfill, and thereby assume an unrestrained structure, may be taken as presented in Section C6.9 and Table C6.6 of the Commentary to the CHBDC (2006).

## Structure Approaches

The configuration of the structure approaches varies from site to site and includes approach embankment construction with fills and/or cuts depending on the design grades and ground elevations for each bridge crossing.  Based on the available information provided at each bridge site, recommendations associated with the approaches stability and settlement are provided on the individual Preliminary FDR sheets following the text of this report.  The following subsections provide additional project-wide recommendations associated with the preliminary design and construction of the bridge approaches.

### Subgrade Preparation and Embankment Construction

For all proposed bridge sites, it is recommended that all topsoil and organic material be stripped from the proposed embankment footprint.  The depth and extent of stripped material should be determined during detail design when additional subsurface information is available.  Particular attention will be required in low valley areas where thicker layers of organic/alluvial soils may be present.

After stripping of organics, the exposed subgrade should be proofrolled to identify any loose/softened areas requiring sub-excavation or additional compaction prior to fill placement.

Embankment fill should be placed and compacted in accordance with MTO’s Special Provision 206S03, Earth Excavation, Grading and Special Provision 105S10, Construction Specification for Compaction.  In the case of approach cuts with a shallow water table condition, it is expected that measures will need to be undertaken to stabilize the embankment slope face due to possible groundwater seepage (refer to Section 8.0 on Deep Cuts and High Fills).

In the case of bridge/embankment widening (e.g. Structure WM-A), in order to minimize differential settlement between the widened portions of the approach embankments due to settlement of the fill itself, the use of granular fill is preferred over the use of cohesive fill, since the majority of settlement of granular fills will occur during construction whereas some settlement of cohesive fills, if used, would occur post-construction.  The new embankment fill should be benched into the existing embankment in accordance with OPSD 208.010, Benching of Earth Slopes.

To reduce erosion of the embankment side slopes due to surface water runoff, placement of topsoil and seeding or pegged sod is recommended as soon as practicable after construction of the embankments.  The erosion protection must be in accordance with OPSS 572, Seed and Cover.

### Approach Embankment Stability

The preliminary assessment for the stability of the approaches at each bridge site was calculated based on limit equilibrium analyses using the commercially available program Slide, 2005 (Version 5.018) produced by Rocscience Inc. employing the Morgenstern-Price method of analyses and is provided on the respective Preliminary Foundation Design Report sheets for each proposed bridge/interchange site.  The analyses assume approach cut/embankment side slopes no steeper than 2H:1V associated with a maximum approach height as indicated on the Preliminary General Arrangement drawings provided at the time of this report (including a minimum 2 m wide bench at mid-height for embankment heights greater than 8 m).  Where designated as safe or adequate against deep-seated slope instability, a target Factor of Safety of 1.3 under static conditions is implied, assuming appropriate subgrade preparation and proper placement and compaction of embankment fill materials.  Assessment of the overall stability of the embankment side slopes under seismic conditions is discussed in Section 6.6.

Approaches higher than 8 m, where deemed feasible, should be constructed with a 2 m wide mid-height bench in order to control surficial erosion and to improve stability.

The preliminary assessment of stability of the approach slopes should be reviewed and confirmed based on the actual subsoil conditions encountered within the proposed approach/embankment footprint during detail design.  Mitigation measures to improve slope stability for greater embankment heights can be achieved by utilizing light weight fill materials, wick drains, and staged construction, or a combination of these options, which will also help to reduce settlements.

### Approach Embankment Settlement

Settlement of the approach embankments will occur at bridge sites due to compression of the embankment fill itself, as well as compression and consolidation of the foundation soils.  The total settlement within the founding soils has been estimated based on the existing site-specific subsoil conditions for preliminary design using the commercially available program Settle 3D, 2008 (Version 1.010) produced by Rocscience Inc. and the results are reported on the individual Preliminary Foundation Design Report sheets for each bridge/interchange site.  These preliminary estimates do not include compression of the fill itself, which would occur during and after the construction of embankment depending on the type of materials used. The magnitude of fill compression usually ranges from 1% to 2% of the height of embankment.  In the case where granular fill is used for embankment construction, settlement of the fill itself is expected to occur during or shortly after completion of embankment construction whereas non-granular earth fill or rock fill materials will exhibit additional consolidation settlement over time.

Embankment and platform width design should allow for the anticipated settlements and future padding of the pavement structure.

Where estimated post-construction (i.e. consolidation) settlement within the foundation soils exceeds acceptable limits, measures to reduce such settlement to acceptable values have been proposed.  For preliminary design, acceptable settlement values are assumed to be less than 25 mm at or near structure locations. However, the highway design criteria will be site specific for each site and will likely be based on maintenance considerations at the detail design stage.  Comprehensive analyses should be carried out during detail design to further estimate the anticipated amount and time rate of post-construction settlements and to develop the final design and construction requirements of the approach embankments in such site conditions, as well as develop mitigation measures to reduce anticipated settlements to acceptable levels.

## Seismic Considerations

The peak zonal acceleration ratio for the project site is 0.05 g for The Town of Whitby/Ajax, Ontario, (CHBDC Table A3.1.1).  The Site Coefficient, S, will be based on the type of soils encountered at the founding level at each site (to be determined during detailed design) in accordance with Section 4.4.6 and Table 4.4 of the CHBDC (2006).

Abutment Stem and Retaining Wall/Wing Wall design: seismic (earthquake) loading must be considered in the design of the foundations in accordance with Sections 4 and 6 of CHBDC (2006) as significant seismic loading will result, for example, in increased lateral earth pressures acting on the abutment stem and retaining walls.  The walls should be designed to withstand the combined lateral loading for the appropriate static pressure conditions plus the applicable earthquake-induced dynamic earth pressure conditions (see Section 24.9 of CFEM (2006)).  The static and seismic active earth pressure coefficients can be determined in accordance with Sections 6.9 and 4.6.4 of the CHBDC (2006) and its Commentary.

Approach Embankment design:  liquefaction susceptibility of the soil deposits underlying the proposed embankments (and foundations) and the consequent stability of the embankments under seismic loading conditions should be assessed during the detail design stage in accordance with Section C.4.6.2 and C.4.6.3, respectively, of the Commentary of the CHBDC (2006).

## Construction Considerations

### Excavation and Backfill

Preliminary recommendations for open-cut excavations are provided on a site-specific basis on the Preliminary Foundation Design sheets for each bridge site and include the type of soils anticipated to be within the foundation excavations according to the Occupational Health and Safety Act (OHSA), as well as the recommended maximum side slope inclination for temporary excavations.  All backfill is to be placed and compacted in accordance with MTO’s Special Provision 105S10, Compaction.

### Protection Systems

Excavation support systems may be required at the proposed bridge sites for temporary roadway protection. Where required, the temporary excavation support system should be designed and constructed in accordance with OPSS 539, Temporary Protection Systems.  In general, the lateral movement of the temporary shoring system should meet Performance Level 2 as specified in OPSS 539.  Performance Level 1 may be required adjacent to railways.

### Groundwater and Surface Water Control

Anticipated groundwater levels within the foundation excavations at each proposed bridge site and anticipated groundwater and surface water control measures are reported on the individual Preliminary Foundation Design Report sheets.  Groundwater levels were typically measured at ground surface down to a depth of about 5 m below ground surface.  However, artesian conditions were recorded at some sites.

At locations where near surface granular (cohesionless) soils are present with a high water table, groundwater infiltration should be anticipated during excavation in such deposits, particularly during wet periods of the year.  Dewatering at these sites will be required to allow for construction of foundation elements in a dry condition.  For footing or pile cap construction in floodplains with a high groundwater table, no excavation should be undertaken without prior dewatering.  Alternatively, the excavation should be carried out within the confines of a properly designed sheet pile cofferdam.  For these sites, a Non-Standard Special Provision (NSSP) will be required for inclusion in the Contract Documents during detail design.

Caissons constructed with temporary or permanent liners in granular subsoils subjected to unbalanced hydrostatic head will require special measures to prevent ‘boiling’ or basal heave of the base materials.  If caisson foundations are adopted for a site, it is recommended that a constant head of water be maintained inside the caisson liners to counterbalance the natural groundwater or artesian conditions.  Concrete placement by tremie methods may be considered.  For deep foundations at locations where artesian conditions are expected within the lower granular deposits, it is recommended that a sand filter, possibly in combination with a geotextile, be placed beneath the pile caps to prevent the migration of fines that may be transported along the piles or caisson  liner during and after construction.  Preliminary recommendations for such conditions (where considered practical) are given on the site-specific Preliminary Foundation Design report sheets and these aspects  should be re-assessed during detail design.

General site drainage should be by gravity towards an outlet at a lower elevation and/or pumping.

The need for a Permit to Take Water (PTTW) should be assessed at each specific site during detail design.

### Obstructions During Pile Driving / Caisson Installation

Till deposits have been encountered at a number of  bridge sites along the proposed Highway 407 East Extension-Western Section route.  It is anticipated that cobbles and/or boulders will be encountered within the till deposits, as noted in several boreholes, and may affect the installation of steel H-piles or drilled caissons.  As such, an NSSP will need to be included in the Contract Documents during the detail design to identify to the contractor the possible presence of cobbles and/or boulders within the overburden soils on a site-by-site basis.  Preliminary recommendations regarding potential obstructions during pile driving and caisson installation have been provided on the site-specific Preliminary Foundation Design Report sheets.  An estimate of the range in size and quantity of cobbles / boulders for applicable sites should be incorporated into the detail design when additional borehole information is obtained.

### Construction Access

Several creek valley crossings (i.e. environmentally sensitive areas) have been identified during the environmental assessment of the project.  Potential environmental impacts will need to be minimized during construction access in the sensitive valleys such as near Lynde Creek and East Duffins Creek.  Specific access preparation procedures such as the use of temporary work bridges, winter construction and/or gravel roadways underlain by geosythetics should be considered to accommodate foundation construction at these locations.

# CULVERTS

As noted in the previous sections of this report,  culvert sites along the proposed route for the Highway 407 East Extension - Western Section Mainline and WDL were ranked  as “low complexity” sites during the Phase I desktop study for this project.  As such, no site specific borehole investigations have been carried out at the proposed culvert sites during the current Phase II foundation investigation for the planning and preliminary design.  Anticipated Foundation Conditions (AFC) sheets were prepared by Thurber Engineering for each culvert site and were included in the Phase I desktop study.  Copies of the Anticipated Foundation Conditions sheets for culvert sites are provided following the text of this report.

During the Phase II study, the project team has identified new water crossing locations and  many of the water crossings (i.e. culverts) identified during the Phase I study now require larger span lengths to satisfy hydrology / geomorphology requirements.  Based on the recent General Arrangement drawings provided by the structural designer, many of the culverts now require single span structures (longer than 6 m) with open footings and have been re-classified as  ‘medium complexity’ investigative effort sites.

A list of all culvert structures are provided in Section 4.2 and the locations are shown on Drawings 3 to 9.  Copies of the Phase I AFC sheets for culverts identified in the Phase I study are provided following the text of this report.  Appropriate level site investigations to establish and/or confirm subsoil and groundwater conditions and design assumptions will be required during detail design for all culvert sites.

# DEEP Cuts and HIGH fills

Deep cut and high fill areas have been identified along the Highway 407 East Extension – Western Section Mainline alignment.  Due to project scheduling constraints, no confirmation of authorization to proceed and lack of permissions to enter at private properties, specific boreholes have not been advanced for the purpose of assessing the preliminary foundation design requirements along deep cut/high fill sections.

## General

This section of the report provides geotechnical recommendations for preliminary design of deep cuts and high fill sections where the depth/height exceeds 4.5 m.  Based on the roadway profiles available at the time of the assessment (January 2009), deep cuts have been identified at eleven (11) locations and high fills have been identified at fifteen (15) locations.  The location, extent and depth/height of the identified deep cut/high fill areas are summarized in Section 4.2.  The maximum depth of cut is in the order of 18 m and the maximum fill height is about 14.5 m.

Boreholes specific to the identified deep cut/high fill sections have not been drilled at this time.  The preliminary design recommendations provided herein are based on interpretation of the factual data obtained during limited borehole investigations conducted at structure locations near the cut/fill sections as well as existing information obtained from previous investigations near the sites.  Where relevant borehole information was not available within a reasonable distance (i.e. 150 m) from the cut/fill section, the Terrain/Drainage Maps (prepared by AECOM based on air-photo interpretation) provided in the Foundation Desktop Study and the Geologic Cross-Sections provided in the Foundation Investigation Report For Environmental Assessment (Hydrogeology Specialty) prepared by AECOM were used to interpret anticipated subsurface conditions.

The anticipated subsurface conditions at the deep cut/high fill locations and preliminary recommendations for design are summarized on the “Preliminary Foundation Investigation Report - Deep Cuts” sheets and “Preliminary Foundation Investigation Report – High Fills” sheets presented following the FIDR and AFC sheets for the structures at the end of the text of this report.

The interpretation and recommendations are intended to provide the designers with preliminary information to assess design slope inclination, drainage requirements, and mitigation options for addressing potential stability or settlement issues.  Where provided, comments regarding construction are presented to highlight aspects which could affect the preliminary design, and for which special provisions or operational constraints could potentially be required.

Geotechnical investigations will be required during detail design to confirm the subsurface conditions that were assumed throughout the cut/fill sections and confirm/re-assess the preliminary design recommendations.

## Deep Cuts

### Stability and Drainage

Preliminary assessment of the stability of the cut slopes was carried out at a typical cut section based on limit equilibrium analysis using the commercially available program Slide, 2005 (Version 5.018) produced by Rocscience Inc. employing the Morgenstern-Price method of analyses.  Cut slopes no steeper than 2H:1V, with a minimum 2 m wide mid-slope bench for cut depths greater than 8 m, were assumed.

For preliminary design, the target factors of safety were assumed to be 1.3 for short term stability, and 1.3 and 1.5 for long term stability in cohesionless and cohesive soils, respectively.

For cut slopes deeper than 8 m, the minimum requirement is to provide a 2 m wide mid-height bench in order to control surficial erosion and improve stability.  Earth cut slopes must be provided with erosion protection in accordance with OPSS 572, Seed and Cover.

Permanent drainage of the cut slope is required. Roadside ditches are expected to provide an adequate level of permanent drainage in most areas.  An interceptor ditch should be provided at the top of the cut as per OPSD 200.020 Earth/Shale Grading – Rural Divided.

Where cut excavation extends below the measured groundwater levels in cohesionless soils, more positive measures to provide permanent slope drainage and mitigate surficial instability may be required.  Measures may include provision of subdrains positioned along the toe of slope and/or along the rear of the mid-slope bench, as well as gravel sheeting or rip-rap lined channels down the slope.

Seepage and surficial instability may also be experienced from localized permeable zones/sand layers within the less permeable soils.  Determination of the frequency, extent and locations of the seepage zones from the limited borehole data is not possible.  Therefore, consideration should be given to the observational approach involving examination of the cut slopes during and following construction to identify any areas of surficial instability, and provide mitigative measures such as a gravel sheeting or subdrains where required.  All subdrains should be sloped on a positive grade to an outlet or pumping chamber.

The preliminary assessment of stability and drainage of the cut slopes should be reviewed and confirmed during the detail design investigation based on the subsoil conditions encountered in additional boreholes drilled within the cut sections.

### Construction Considerations

Excavation for cut slope construction should be carried out in accordance with OPSS 206 as amended by MTO’s most recent Special Provision 206S03, Earth Excavation, Grading.

The soil deposits in many of the cut sections, and notably till deposits, will typically be very dense/hard and often contain cobbles and boulders.  Excavation in these deposits may be arduous and will require use of heavy duty excavators or dozers.  The contract documents should include a NSSP to emphasize these conditions to the contractor.  Selection of the method of excavation must remain the responsibility of the contractor however, and be based on their equipment, experience and interpretation of the site conditions.

Temporary drainage of the cuts should be provided to maintain a relatively dry, stable excavation.  Measures may include temporary drainage ditches or gravel sheeting to maintain surficial stability before permanent drainage measures are in effect and should be implemented in accordance with OPSS 577, Temporar Erosion and Sediment Control Measures.

## High Fills

### Slope Stability

Preliminary assessment of the stability of the fill embankment slopes was carried out for a typical high fill embankment based on limit equilibrium analysis using the commercially available program Slide, 2005 (Version 5.018) produced by Rocscience Inc. employing the Morgenstern-Price method of analyses.  Embankment slopes no steeper than 2H:1V, with a minimum 2 m wide mid-slope bench for embankment heights greater than 8 m, were assumed.

For preliminary design, the target factors of safety were assumed to be 1.3 for short term stability, and 1.3 and 1.5 for long term stability of embankments founded on cohesionless and cohesive soils, respectively.

For embankment slopes higher than 8 m, the minimum requirement is to provide a 2 m wide mid-height bench in order to control surficial erosion and improve stability.  Earth fill slopes must be provided with erosion protection in accordance with OPSS 572, Seed and Cover.

Assessment of the stability of the embankment side slopes under seismic conditions should be carried out during detail design.

The preliminary assessment of stability of the embankment slopes should be reviewed and confirmed based on the actual subsoil conditions encountered within the proposed embankment footprint during the detail design investigation.  Mitigation measures to improve slope stability if required may include slope flattening, utilizing light weight fill materials, staged construction, or a combination of these options.

### Settlement

Settlement of the fill embankments will occur due to compression and consolidation of the foundation soils under the weight of the overlying fill material as well as from compression of the embankment fill itself.  The total settlement within the founding soils has been estimated using elastic analysis and Terzaghi one-dimensional consolidation theory, based on the subsoil conditions deduced from the existing borehole data and the maximum embankment heights indicated by profile and general arrangement drawings available at the time of the analysis.

Where the estimated embankment settlement exceeds 25 mm, the computed value is indicated on the Preliminary Foundation Investigation Report sheet for the particular section.  The settlement tolerance for embankments may range from 25 mm to 100 mm depending on the distance from a structure.  The highway design criteria will be site specific and based on maintenance considerations at the detail design stage.

The preliminary estimates do not include compression of the embankment fill itself, which would occur during and after the construction of embankment depending on the type of materials used.  The magnitude of fill compression usually ranges from 1% to 2% of the height of embankment.  Where granular fill is used for embankment construction, settlement of the fill itself is expected to occur during or shortly after completion of embankment construction.  Non-granular earth fill or rock fill materials may exhibit additional consolidation settlement over time.

Embankment and platform width design should allow for the anticipated settlements and future padding of the pavement structure.

Further analyses should be carried out during detail design to confirm the anticipated magnitude of settlement, assess the time rate of post-construction settlement, and where required develop mitigation measures such as preloading, surcharging, wick drains or light weight fill to reduce anticipated settlements to acceptable levels.

### Construction Considerations

It is recommended that all topsoil and organic material be stripped from the proposed embankment footprint.  The depth and extent of stripped material shall be determined during detail design when additional subsurface information is available.  Particular attention will be required in low valley areas where thicker layers of organic/alluvial soils may be present.

After stripping of organics, the exposed subgrade should be proofrolled to identify any loose/softened areas requiring sub-excavation or additional compaction prior to fill placement.

Embankment fill should be placed and compacted in accordance with MTO’s Special Provision 206S03, Earth Excavation, Grading and Special Provision 105S10, Compaction.  New embankment fill placed against existing embankment slopes or on a sloping ground surface should be benched into the existing slope in accordance with OPSD 208.010, Benching of Earth Slopes.

Trafficability of construction equipment may be problematic in low floodplain areas where soft/loose and organic alluvial material may be encountered and where environmental constraints may be imposed on site access.  Further, drainage in these areas is likely to be poor, with groundwater levels varying subject to seasonal fluctuations.  The contractor must be prepared to supply equipment capable of working on this terrain and/or provide alternative measures to improve trafficability such as placement of granular pads in working areas.

Potential environmental impacts will need to be minimized during construction access into sensitive floodplain or valley areas.  Specific access preparation procedures such as the use of temporary work bridges, winter construction and/or gravel roadways underlain by geosynthetics should be considered.  Further, sediment control measures such as silt fences, straw bales and/or granular check-dams will need to be installed downgradient of the works to reduce sediments impacts to surface water bodies, consistent with OPSS 577, Temporary Erosion and Sediment Control Measures.

# CLOSURE

This Preliminary Foundation Design Report was prepared by Ms. Beng Lay Teh, Mr. Tomasz Zalucki and Ms. Houda Jadi, P.Eng., and reviewed by Mr. Kevin Bentley, P.Eng., an Associate and Geotechnical Engineer with Golder, with technical input and review by Mr. Murty Devata, P.Eng., a Specialist Foundations Consultant to Golder.  Mr. Jorge M.A. Costa, P.Eng., a Principal of Golder and a Designated MTO Contact provided quality control review of this report for conformance with the project Terms of Reference.

GOLDER ASSOCIATES LTD.

Kevin J. Bentley, P.Eng.					Murty Devata, P. Eng.

Geotechnical Engineer, Associate				Specialist Consultant

Jorge M.A. Costa, P.Eng.

Designated MTO Contact, Principal

BLT/TZ/HJ/KJB/MD/JMAC/jl

N:\Active\2007\1111\07-1111-0053-URS-Highway 407 Extension\9 - Reporting\9 FINAL Foundation Report\07-1111-0053 RPT 10Jun07 Hwy 407 East Extension-Western Section.docx

# REFERENCES

Canadian Geotechnical Society.  2006.  “Canadian Foundation Engineering Manual (CFEM), 4th Edition”, The Canadian Geotechnical Society c/o BiTech Publishers Ltd., Richmond, British Columbia.

Canadian Standards Association CAN/CSA-S6-06, 2006.  “Canadian Highway Bridge Design Code (CHBDC) and Commentary”, CSA Special Publication, S6.1-06.

Chapman, L.J. and Putnam, D.F.  1984.  “The Physiography of Southern Ontario, 3rd Edition”, Ontario Geological Survey, Special Volume 2, Ontario Ministry of Natural Resources.

Gartner Lee Limited operating as AECOM.  2009.  “Foundation Investigation Report for Environmental Assessment (Hydrogeology Specialty), Highway 407 East Extension – Western Section”, Project No. 107905/50613, February.

Ministry of Transportation, Ontario.  1988.  “Feasibility Study of Highway 401 Widening Brock Road to Courtice Road, WP 242-86-00”, Geocres No. 30M15-80, March 28.

Ministry of Transportation, Ontario.  1994.  “Preliminary Design Study for Proposed Hwy. 407 from Hwy 48 to Whitby / Oshawa Boundary”, WP 282-86-01”, Geocres No. 30M14-227, August.

Ministry of Transportation, Ontario.  1994.  “Feasibility Study of Freeway Link from Hwy 401 to Hwy 407, Pickering / Ajax / Whitby Freeway Link”, WP 662-89-00, Geocres No. 30M15-84, August 17.

Ministry of Transportation Ontario.  2003.  “Standard Drawing SS103-11 – Pile Driving Control”, Structural Manual, Policy, Planning and Standards Branch, Bridge Office, December, 2003.

Reinforced Earth Company (RECo).  2000.  “ Design Manual for Reinforced Earth Walls”, July.

Rocscience Inc.  2008.  Settle3D v 1.010 (Software Program and Technical Manual).

Rocscience Inc.  2005.  Slide v 5.018 (Software Program and Technical Manual).

Thurber Engineering Ltd.  2008.  “Foundation Desktop Study, Hwy 407 East Extension – Western Section”, W.O. 07–20015, November.

Transportation Research Board.  1997.  “Design and Construction Guidelines for Downdrag on Uncoated and Bitumen-Coated Piles”, NCHRP Report 393, National Academy Press, Washington D.C.

STANDARDS:

ASTM International:

ASTM D1586	Standard Test Method for Standard Penetration Test (SPT) and Split-Barrel Sampling of Soils

ASTM D1587	Standard Practice for Thin-Walled Tube Sampling of Soils for Geotechnical Purposes

ASTM D2573	Standard Test Method for Field Vane Shear Test in Cohesive Soil

Contract Design Estimating and Documentation (CDED):

Special Provision 105S10	Amendment to OPSS 501 – Construction Specification for Compaction.  November 2004.

Special Provision 206S03	Amendment to OPSS 206 – Earth Excavation, Grading.  July 2007.

Special Provision 110S13	Amendment to OPSS 1010 – Material Specification for Aggregates.  August 2007.

Ontario Occupational Health and Safety Act:

Ontario Regulation 213/91	Construction Projects

Ontario Regulation 443/09	Amendment to Ontario Regulation 213

Ontario Provincial Standard Drawing:

OPSD 200.020	Earth/Shale Grading – Divided Rural.  November 2009.

OPSD 208.010	Benching of Earth Slopes.  November 2008.

OPSD 3000.100	Foundation Piles – Steel H-Pile Driving Shoe.  November 2005.

OPSD 3090.101	Foundation Frost Depths for Southern Ontario.  November 2005.

OPSD 3101.150	Walls – Abutment, Backfill Minimum Granular Requirement.  November 2005.

OPSD 3121.150	Walls – Retaining, Backfill Minimum Granular Requirement.  November 2005.

Ontario Provincial Standard Specification:

OPSS 539	Construction Specification for Temporary Protection Systems.  November 2009.

OPSS 572	Construction Specification for Seed and Cover.  November 2003.

OPSS 577	Construction Specification for Temporary Erosion And Sediment Control Measures.  November 2006.

OPSS 903	Construction Specification for Deep Foundations.  November 2009.

Ontario Water Resources Act:

Ontario Regulation 372/07	Amendment to Ontario Regulation 903

Ontario Regulation 903/90	Wells

Chapman, L.J. and Putnam, D.F. The Physiography of Southern Ontario, Ontario Geological Survey Special Volume 2, Third Edition, 1984. Accompanied by Map P.2715, Scale 1:600,00