[image: image1.jpg]



PRELIMINARY HYDROGEOLOGICAL INVESTIGATION AND 

DESIGN REPORT FOR NEW PATROL YARDS

HIGHWAY 69, from parry sound to sudbury

GWP NO. 5094-06-00

P.O. NO. 5000-E-0034

for

STANTEC CONSULTING LTD.

PETO MacCALLUM LTD.

165 CARTWRIGHT AVENUE

TORONTO, ONTARIO

M6A 1V5

Phone:  (416) 785-5110

Fax:  (416) 785-5120

Email:  Toronto@petomaccallum.com

TABLE OF CONTENTS
1PART A:  PRELIMINARY HYDROGEOLOGICAL INVESTIGATION REPORT


11.
INTRODUCTION


11.1
Project Description


21.2
Purpose of Work


21.3
Scope of Work


51.4
Site Location and Description


51.4.1
North Site N2


51.4.2
Central Site C2


61.4.3
South Site S1


62.
REGULATORY REGIME


62.1
Relevant Regulatory Policy and Guideline Requirements


102.2
MTO Environmental Guide for Patrol Yard Design


102.3
Applicable Environmental Site Condition Standards


113.
SUMMARIZED FINDINGS OF HYDROGEOLOGICAL SITE SCREENING


113.1
Physiographic and Geologic Settings


123.1.1
North Site N2


123.1.2
Central Site C2


133.1.3
South Site S1


133.2
Hydrogeologic Setting


143.2.1
North Site N2


143.2.2
Central Site C2


153.2.3
South Site S1


153.3
Water Well Conditions


153.3.1
North Site N2


163.3.2
Central Site C2


163.3.3
South Site S1


163.4
Hydrogeological Vulnerability Factors


173.4.1
North Site N2


173.4.2
Central Site C2


173.4.3
South Site S1


184.     SITE INVESTIGATION PROCEDURES


194.1
Borehole Drilling


194.1.1
North Site N2


194.1.2
Central Site C2


204.1.3
South Site S1


214.2
Monitoring Well Installation and Abandonment


224.3
Borehole Permeability Testing


224.4     Laboratory Chemical Analyses


235.     SUBSURFACE CONDITIONS


235.1     Stratigraphy


235.1.1
North Site N2


245.1.2
Central Site C2


255.1.3
South Site S1


265.2
Groundwater Conditions


265.2.1
North Site N2


275.2.2
Central Site C2


285.2.3
South Site S1


285.3
Estimated Hydraulic Conductivity K-Values


295.3.1
North Site N2


305.3.2
Central Site C2


315.3.3
South Site S1


325.4
Groundwater Sample Chemical Test Results


325.4.1
North Site N2


325.4.2
Central Site C2


335.4.3
South Site S1


34PART B:  PRELIMINARY  hYDROGEOLOGICAL DESIGN REPORT


346.
INTRODUCTION


367.
PRINCIPLES AND GOALS


368.
POTENTIAL ENVIRONMENTAL IMPACTS


379.
GROUNDWATER AND SURFACE WATER VULNERABILITY FROM PATROL YARDS


3810.
COMPLIANCE WITH MINISTRY OF THE ENVIRONMENT'S GUIDELINE B-7  
(THE REASONABLE USE POLICY)


4011.
HYDROGEOLOGICAL DESIGN CONSIDERATIONS


41PART B1:  NORTH SITE N2


4112.
SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS


4112.1
Subsurface Conditions


4112.2
Hydrogeologic Setting and Groundwater Flow Conditions


4212.3
Aquifer Systems


4312.4
Pathway Analysis


4412.5
Existing Groundwater Environmental Quality


4513.
POTENTIAL IMPACTS ON WATER AND SOIL QUALITY


4513.1
Seasonal Variations of Potential Adverse Effects


4613.2
Groundwater Quality Compliance with Reasonable Use Policy


47PART B2:  CENTRAL SITE C2


4714.    SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS


4714.1
Subsurface Conditions


4714.2
Hydrogeological Setting and Groundwater Flow Conditions


4814.3
Aquifer Systems


4814.4
Pathway Analysis


4914.5
Existing Groundwater Environmental Quality


5015.   POTENTIAL IMPACTS ON WATER AND SOIL QUALITY


5115.1
Seasonal Variations of Potential Adverse Effects


5115.2
Groundwater Quality Compliance with Reasonable Use Policy


52PART B3:  SOUTH SITE S1


5216.   SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS


5216.1
Subsurface Conditions


5216.2
Hydrogeologic Setting and Groundwater Flow Conditions


5316.3
Aquifer Systems


5416.4
Pathway Analysis


5516.5
Existing Groundwater Environmental Quality


5517.
POTENTIAL IMPACTS ON WATER AND SOIL QUALITY


5617.1
Seasonal Variations of Potential Adverse Effects


5717.2
Groundwater Quality Compliance with Reasonable Use Policy


57PART B4:  PRELIMINARY HDYDROGEOLOGICAL DESIGN RECOMMENDATIONS FOR  REMEDIAL, MONITORING AND CONTINGENCY MEASURES


5718.
REMEDIAL MEASURES


5919.
MONITORING AND CONTINGENCY MEASURES


6019.1
Finalization of Reasonable Use Criteria


6019.2
Monitoring Wells and Surface Water Sampling Points


6119.3
Contingency Measures


6120.
APPROVALS, PERMITS, AUTHORIZATIONS AND/OR CLEARANCES


6221.
STATEMENT OF LIMITATIONS


6222.
REFERENCES




ATTACHMENTS:
Table 1N:
Groundwater Sample Chemical Test Results as Compared with the Site Condition Standard Values, North Site N2

Table 1C:
Groundwater Sample Chemical Test Results as Compared with the Site Condition Standard Values, Central Site C2

Table 1S:
Groundwater Sample Chemical Test Results as Compared with the Site Condition Standard Values, South Site S1
Table 2:
Summarized Environmental/Aquatic Issues, Proposed Mitigative/Risk Management Measures and Advantages and Disadvantages
Explanation of Terms Used in Report

Record of Borehole Sheets, Rock Core Description and Rock Core Photographs: North Site N2

· Boreholes N1 through N5D, N5M and N5S

· Rock Core Photographs (Photographs 1 through 18)

Record of Borehole Sheets, Rock Core Description and Rock Core Photographs: Central Site C2

· Boreholes C1 through C4D, C4M and C4S and C5

· Rock Core Photographs (Photographs 1through 14)

Record of Borehole Sheets, Rock Core Description and Rock Core Photographs: South Site S1

· Boreholes S1 through S4D, S4M and S4S and S5

· Rock Core Photographs (Photographs 1 through 13)

DRAWINGS:

· Drawing 1: Key Plan

· Drawings 2N through 5N, North Site N2

· Drawing 2N – Location Plan, North Alternative Sites and Site Features Observed in May 2008

· Drawing 3N – Borehole Location Plan

· Drawing 4N – Soil Strata

· Drawing 5N – Groundwater Level Contour Map
· Drawings 2C through 5C, Central Site C2

· Drawing 2C – Location Plan, Central Alternative Sites and Site Features Observed in May 2008

· Drawing 3C – Borehole Location Plan

· Drawing 4C –  Soil Strata

· Drawing 5C –  Groundwater Level Contour Plan

· Drawings 2S through 5S,  South Site S1

· Drawing 2S – Location Plan, South Alternative Sites and Site Features Observed in May 2008

· Drawing 3S – Borehole Location Plan
· Drawing 4S – Soil Strata
· Drawing 5S – Groundwater Level Contour Plan

Appendix A – Borehole Permeability Testing Plots

· Figures 1N to 7N, North Site

· Figures 1C to 7C, Central Site

· Figures 1S to 7S, South Site

Appendix B – Laboratory Certificates of Chemical Analyses and Chain-of-Custody Records

Appendix C – Statement of Limitations

[image: image2.png](/ CONSULTING ENGINEERS




PRELIMINARY HYDROGEOLOGICAL INVESTIGATION AND DESIGN REPORT
For New Patrol Yards
Highway 69, from Parry Sound to Sudbury

GWP NO. 5094-06-00

P.O. NO. 5000-E-0034

PART A:  PRELIMINARY HYDROGEOLOGICAL INVESTIGATION REPORT

1.
INTRODUCTION

Peto MacCallum Ltd. is pleased to present the Draft Hydrogeological Investigation Report for New Patrol Yards prepared as part of the Hydrogeological Site Assessment for the Highway 69 Patrol Yard Site Selection Study, from Parry Sound to Sudbury, Ontario, for preliminary design services.  The Draft Hydrogeological Design Report is presented in Part B of this submission.
1.1 Project Description

It is proposed to upgrade the existing 2-lane Highway 69 to a fully controlled access four-lane freeway facility under the jurisdiction of the Ontario Ministry of Transportation (MTO).

MTO has initiated the preliminary design and site selection studies for three (3) new Patrol Yards in the vicinity of the following three intersections along Highway 69 from Parry Sound to Sudbury, Ontario (see Drawing 1): 

1) Highway 69 and Highway 637 or North Alternative Sites (N Sites);

2) Highway 69 and Highway 522 or Central Sites Alternative (C Sites); and 

3) Highway 69 and Highway 529 Extension or South Alternative Sites (S Sites).

The project was undertaken by Stantec Consulting Ltd. (Stantec) in three stages; the Project Initiation, the Site Selection Review and the Evaluation and Preliminary Design.  For these stages of the project, hydrogeological site assessment services were provided by Peto MacCallum Ltd. (PML) in the following major two steps:

Step 1:  
Hydrogeological Screening, and

Step 2:
Preliminary Hydrogeological Investigation and Design Report

The tasks undertaken by PML under the Step 1 review included project initiation, site history review, site reconnaissance and a door-to-door water well survey which culminated to the Draft Hydrogeological Site Screening Report submitted on September 16, 2008.

Based on the findings of the site screening and consideration of the hydrogeological vulnerability factors, three sites were selected for preliminary hydrogeological investigation and design purposes. The selected sites were Site N2 (North Site), Site C2 (Central Site) and Site S1 (South Site). 

1.2 Purpose of Work

The Hydrogeological Screening provides an assessment of the vulnerability of local surface and groundwater resources with respect to potential impacts from the proposed Patrol Yard facility.

The Preliminary Hydrogeological Investigation and Design Report provides more specific information on the selected sites, including an assessment of the potential impacts of the sites on local groundwater and surface water as well as the requirements for appropriate mitigating measures and monitoring. 

1.3 Scope of Work

The Preliminary Hydrogeological Investigation and Design Report (Step 2 of our assignment) that was undertaken for the selected sites involved the following major tasks:

· Hydrogeological Subsurface Investigation and Borehole Permeability Testing

· Groundwater Sampling and Analyses, and

· Preparation of Preliminary Hydrogeological Investigation and Design Report (this report)

The detailed tasks that were undertaken by PML to complete the Step 2 of our assignment are outlined as follows.  Tasks 1 through 7 were completed during the course of conducting the Hydrogeological Screening (Step 1).

Task 8:
Finalize the number, depth and locations of boreholes, monitoring wells and multi‑level (nested) monitoring wells based on the Hydrogeological Screening findings (Tasks 1 through 7), 

Task 9:
Locate, clear, survey, drill, sample and log five boreholes to depths up to 9.3 m and one set of multi-level monitoring wells in separate boreholes and four single monitoring well in the shallow bedrock for each selected site, 

Task 10:
Conduct borehole permeability testing in seven monitoring wells installed in each selected site to estimate the hydraulic conductivity K-values,

Task 11:
Obtain and conduct chemical analyses on three representative groundwater samples for each selected site (N2, C2 and S1) to establish the baseline data on the groundwater quality. The groundwater samples were analysed for the following parameters:

· Metals

· Anions (chloride, fluoride, bromide, sulphate and cyanide)

· Major nutrients and nitrogen cycle(phosphorous, nitrate, nitrite and TKN ammonia)

· Petroleum hydrocarbon fractions F1 through F4, representing gas/diesel and heavy oils

· Benzene, toluene, ethylbenzene and xylene

· Hardness (pH, total organic carbon and total dissolved solids)

It is important to note that the original analytical program included laboratory testing of representative soil samples for grain size distribution and chemical/environmental characterization. As the boreholes were drilled mostly in the bedrock (rock coring), no soil samples were available for laboratory analyses.

Task 12:
Prepare record of borehole sheets, borehole location plan, hydrogeological profiles and groundwater level contour maps for each selected site in accordance with the Ministry’s standards, and

Task 13:
Prepare a Draft Hydrogeological Investigation and Design Report for each selected site consisting of the following two parts.


Part A: The Preliminary Hydrogeological Investigation Report Including:
· Site description,

· Description of regional groundwater conditions including aquifer systems within 2 km of the site,

· Investigation procedures including site investigation and laboratory testing procedures,

· Description of subsurface conditions including soil, rock and groundwater, 

· A summary of the groundwater chemical test results,

· Description of groundwater flow direction, gradients and velocity in each major aquifer system encountered at the site, and

· Description of the observed groundwater/surface water interaction including zones of groundwater seepage or discharge, if any.


Part B:  Preliminary Hydrogeological Design Report Including: 
· The hydrogeological regime at the site including static groundwater levels, vertical flow gradients, and horizontal flow gradients and flow patterns in each major aquifer system encountered at the site, 

· Estimated hydraulic conductivity K-values,

· The interpreted groundwater/surface interaction including zones of groundwater seepage or discharge,

· The extent of elevated levels of soil and groundwater environmental quality standards, if any,

· The vulnerability of local groundwater and surface water systems to impact as a result of the Patrol Yard operations,

· The conceptual design of remedial or contingency measures to ensure protection of groundwater and surface water resources,

· Provision of monitoring program to include on-site monitoring wells and where appropriate, off-site water supply wells, and

· The ability of the site to comply with the appropriate Provincial policies (including the Reasonable Use Policy for Protection of Groundwater) and the appropriate control measures needed to ensure compliance.

1.4
Site Location and Description

1.4.1
North Site N2

The selected site N2 is located in the northeast quadrant of the existing Highway 69 and Highway 637 intersection in the Township of Servos, Municipality of Archipelago within the District of Sudbury (Drawings 1 and 2N).

The subject site is currently vacant and sparsely wooded. During our site reconnaissance, exposed bedrock outcrops were noted all over the site. The neighbouring properties are mostly vacant, sparsely wooded rural lands.

The subject site is located on the well-drained tablelands with approximate elevations of about 233 to 245 m with no significant drainage features. The central part of the site is relatively flat and slopes towards east/southeast. 

A drainage ditch runs along the western boundary of the site, along Highway 69, and a low-lying swamp area is located along the northwestern part of the site. The site forms part of the Rock Bay drainage area, which is located in the headwaters of the Murdock River (Lovering Lake) watershed. 

1.4.2
Central Site C2

The selected site C2 is located on the east side of the existing Highway 69, approximately 500 m south of the existing Highway 69 and Highway 522 intersection, in the Township of Mowat, Municipality of Archipelago within the District of Parry Sound (Drawings 1 and 2C).

Exposed bedrock was noted all over the site. A relatively thin veneer of overburden, most likely less than 2 m thick is expected. The neighbouring properties are mixed rural residential and commercial land uses. 

The Grundy Lake Supply Post, with fuel oil underground storage tanks (USTs), propane tanks, water wells, septic tanks and a tile bed, is located approximately 200 m north of the site. The Key River Waste Disposal Facility, with fill materials overlying bedrock, is located approximately 100 m west of the site across Highway 69.

1.4.3
South Site S1

The selected site S1 is located on the west side of Highway 69, approximately 4 km south of the Highway 69 and Highway 529 Extension intersection in the Township of Archipelago, within the District of Parry Sound (Drawings 1 and 2S).

Surrounding land uses include mostly vacant rural lands. The CPR tracks are located approximately 250 m southwest of the site.

Exposed bedrock was noted all over the site. A relatively thin veneer of overburden, most likely less than 2 m thick, is expected.

2.
REGULATORY REGIME

2.1
Relevant Regulatory Policy and Guideline Requirements

Snow and ice control by application of rock salt (sodium chloride) creates a potential for increasing the chloride concentration in groundwater, rivers and lakes. 

In relation to the environmental impact of road salting and the snow disposal and de-icing operations on ecological and aquatic resources, the following regulatory policy, procedures, guidelines and legislation were considered:

i)
MOE Procedure B0401, PIBS 412-01, Guidelines for Snow Disposal and De-icing Operations in Ontario, August 1975.

ii)
MOE Guideline 13-3 (formerly 15-04), Resolution of Well Water Quality Problems Resulting from Winter Road Maintenance, April 1994.

iii)
MOE Guideline 13-4 (formerly 15-05), Snow Disposal and De-icing Operations in Ontario, April 1994.

iv)
MTO RR237, Environmental Impact of Road Salting - State of the Art, July 1986.

i) Code of Practice for the Environmental Management of Road Salts (Environmental Canada, 2004).

A cursory review of the above documents indicated the following pre-requisites for establishing de-icing salt storage facilities:   

· Road salt or sand/salt stockpiles should always be protected from precipitation or surface runoff. 

· The storage facility should be underlain with an impervious apron (liner) and dyked to prevent the seepage of salt leachate from the storage area to a nearby watercourse or to groundwater aquifers. 

· Considering the noise and general aesthetic conditions, salt storage areas should be located away from residential zones.

The environment, including aquatic and terrestrial systems and selected aspects of the built environment can be adversely impacted by road salt pollution in the following manners:

· Higher human health risks through increased sodium levels in the drinking water supplies and damage to vegetation in areas where there is high water table.

· Increased concentration of chloride in water bodies could cause reduction in dissolved oxygen which is required to ensure the ecological health.

· Aquatic biotas are adversely affected by osmotic stress induced by increased salinity.

· Salt ions, through ion exchange processes, may liberate mercury and other heavy metals from benthic sediments.

· Saline runoff into soils can deteriorate soil characteristics, such as reducing aeration and water availability in soils through structural changes caused as sodium replaces calcium in the anion exchange process.

· The attraction of salt-hungry animals could be a traffic hazard and nuisance in the neighbourhood.

· Corrosion (namely an electrochemical process where metal becomes the anode and undergoes oxidation) affects vehicles and structures which come into contact with the de-icing salt.

The Canadian Environmental Protection Act (CEPA), dated 1999, lists road salts as a Priority Substance. The scientific assessment conducted on this substance has concluded that road salts containing inorganic chloride (with or without ferrocyanide salts) have an immediate and/or long term harmful effect on the environment and its biological diversity and constitute a danger to the environment. 

As road salts have been defined to be ‘toxic’ pursuant to the CEPA, a Code of Practice for the Environmental Management of Road Salts was prepared by Environment Canada in 2004 to comply with the requirements of the Act. The Code of Practice applies to inorganic chloride salts with or without ferrocyanide salts. It is proposed that five years after the publication of the Code of Practice, it will be re‑evaluated and updated to reflect information gained on the results of practices set out under the Code.

The Code of Practice applies to the organizations that use more than 500 tonnes of road salts per year (five-year rolling average); and the organizations that have vulnerable areas in their territory.

The Code of Practice does not apply to road salt for domestic, private or institutional uses. A vulnerable area is to be defined in accordance with Annex B to the Code of Practice. Annex B sets out various considerations including areas that are draining into bodies of water, significant wetlands adjacent to roadways or in the vicinity of roadways, potential impacts to local fish or fish habitat and areas adjacent to plants or agricultural crops that are salt-sensitive, sensitive wildlife habitats or areas where water is used as a source of drinking water. 

Any entity that is required to comply with the Code of Practice must establish a salt management plan that uses best management practices to protect the environment from the impacts of road salt application. Specific requirements for the management plan are provided, including best management practices related to storage, disposal and application. Once a management plan has been prepared, reporting on the status of various monitoring and measuring programs must be provided to the Minister of Environment by June 30 of the year after the year in which the plan was implemented. Record keeping requirements are also imposed on parties that are subject to the Code of Practice and include the need to maintain training records, yearly review reports and revisions to the management plan. 

In addition, the following guidelines and acts are considered to be relevant for the construction of a patrol yard facility.

· Clean water Act, 2006, S.O. 2006, Bill 43, Source Protection Act and the relevant regulations to protect existing and future sources of drinking water 

· MTO Environmental Reference for Highway Design (ERHD), Version: October 2006, Section 3.3: Groundwater, Technical Requirements for Environmental Impact Study and Environmental Protection/Mitigation.

· MTO Environmental Guide for Patrol yard Design, Part of the Environmental Standards and Practices Version: October 2006

· Ontario regulation 153/04; Soil, Groundwater and Sediment Standards for Use under Part XV.1 of the Environmental Protection Act for Full Depth Background (Table 1) and Generic Site Condition Standards in a Potable Groundwater Condition (Table 2) dated March 9, 2004.

· MOE “Watershed Based Source Protection Planning" dated March 2004 (provisional)

· MOE "Drinking Water Standards" dated April 2001

· Ontario Water Resources Act, dated 1990, Section 30

· Environmental Protection Act of Ontario, dated 1990, Section 6

· Environmental Assessment Act of Ontario, dated 1990, Section 5

· Canadian Environmental Protection Act, dated 1999

2.2
MTO Environmental Guide for Patrol Yard Design
The MTO Environmental Guide for Patrol Yard Design (October 2006, the Guide) is intended to outline the typical environmental concerns to be considered during the design of a new patrol yard so that the potential environmental impacts can be avoided, controlled, minimized or mitigated during siting, construction and operation. 

The Guide describes the environmental impacts and provides environmental principles, goal and required permits, authorization and clearances, as well as environmental impact assessment, design and construction considerations.

In Preliminary Hydrogeological Design Report, the Guide is used to identify the potential environmental impacts and salt vulnerable areas, and provide hydrogeological design recommendations in relation to mitigating measures for proper facility management, hydrogeological issues in construction and future monitoring needs. 

2.3
Applicable Environmental Site Condition Standards

In general, the applicable environmental soil and groundwater quality standards depend on the site location, land use, and source of potable water at the investigation sites.  For the subject site, the Generic Criteria of the Ontario Regulation 153/04, Soil, Groundwater and Sediment Standards for Use under Part XV.1 of the Environmental Protection Act dated March 9, 2004 (Soil/Groundwater Site Condition Standards) were selected and deemed applicable.

The subject sites are located in a rural setting. It is understood that the near future land use of subject sites will be Patrol Yards suggesting industrial/commercial land uses. Potable water for the subject sites and vicinity is to be obtained either from drilled wells or from surface water sources; thus the groundwater is considered to be a source of drinking water in the study areas.
Based on the site reconnaissance findings, bedrock outcrops were noted all over the subject sites.

Based on the above-noted conditions (particularly “shallow soil property” condition), the subject sites are considered to be environmentally sensitive areas in accordance with the above‑mentioned Provincial regulation.

Therefore, the Ontario Regulation 153/04 Tables 1 and 2, background (for sensitive sites) and full depth Generic Site Condition Standards for industrial/commercial property use in a potable groundwater condition for coarse textured soils were considered applicable to the subject sites.

3.
summarized findings of hydrogeological site screening

The findings of the Hydrogeological Screening previously completed and reported are summarized in the following paragraphs respecting site physiographic and geologic setting, hydrogeologic setting, existing water well conditions and hydrogeological vulnerability factors of the selected sites.

3.1
Physiographic and Geologic Settings

The study areas are located within a bedrock plain comprising exposed bedrock knobs, subordinate glacial till moraine and a peat/muck organic terrain over bedrock.

In general, the mineral soil cover is typically less than 1 m in the vicinity of the subject sites. The overburden deposit may vary greatly over short distances. Locally, the depth of soil cover in swampy lands may extend to depths exceeding 30 m.  The soils were deposited by glacial Lake Algonquin and later partly by Lake Nipissing.  The soil cover also originated from beach and near shore deposits, deltas, subaquatic fans, quiet water deposits of silt and clay, which were formed by sedimentation in and adjacent to Lake Algonquin and its successors. 

The study areas are within a structural subdivision of the Canadian Precambrian Shield identified as the Grenville Province.  In particular, the study area traverses the western portion of the Central Gneiss Belt within the Grenville Province wherein pink and grey gneiss are predominant.

The watercourses and fisheries of the study areas are considered to be highly significant by the Ministry of Natural Resources. The Georgian Bay and its associated drainage system are considered cold water watercourses as they support similar fish species. Numerous smaller wetlands are scattered throughout the study area. These wetlands collectively provide habitat for a variety of wildlife species.
3.1.1
North Site N2

During our site reconnaissance, exposed bedrock outcrops were noted all over the site. The ground surface elevations range from about 233 to 245 m with no significant drainage features. 

A series of interconnected water bodies are located approximately 700 m to 1 km south/southwest of the proposed Highway 69 alignment and Highway 637 intersection. 

A drainage ditch originating at the northwestern part of the site runs along the east side of the existing Highway 69.

A number of individual creeks and drainage channels form integral parts of the drainage basins. The Murdock River (Lovering Lake) and its tributaries, wetlands and associated water bodies (Rock Bay) form the headwaters of a drainage system for the subject site and vicinity, which are ultimately connected to the Georgian Bay drainage basin. 

3.1.2
Central Site C2

During our site reconnaissance, exposed bedrock outcrops were noted all over the site. A relatively thin veneer of overburden, most likely less than 2 m thick is expected.

The central part of the site C2 is relatively flat, which slopes abruptly towards the northwest and southeast with a gradient of about 4.5% with the ground surface elevations between 187 to 202. The site is well-drained land with no significant on-site drainage features. 

Surface water bodies and swamps are located along the southern and northern boundaries of the site respectively, that form part of the Key River drainage system.

3.1.3
South Site S1

The selected site S1 is relatively flat, gently sloping, well drained tableland and slopes east/southwest with a surface gradient of about 2.5% and ground surface elevations vary from 205 to 210 with no significant on-site drainage features except the northeastern part of the site, which is part of a relatively small wetland. 

The site forms part of the Shawanaga River watershed located approximately 700 m south of the site. A surface water body connected to the Shawanaga River system is located approximately 250 m south/ southwest of the southern boundary of the site.
3.2
Hydrogeologic Setting

The topographic elevation, bedrock fracturing, and the thickness of overburden overlying the granodiorite, granitic gneiss and migmatite bedrock as well as numerous wetlands and low‑lying areas associated with the tributaries and drainage courses of the Murdock River, the Key River and the Shawanaga River watersheds, largely control the hydrogeology of the study areas.

The overburden features are highly variable and dependent on the erosion and localized depositional patterns of the past glacial processes. 

The hydraulic connection between the near surface fractured bedrock and deeper strata can not be readily established due to the variable nature of the fracture pattern. However, taking into consideration the predominant presence of vegetation over bedrock outcrops, it is assumed that where present, the upper part of the bedrock is fractured and hydraulic communication exists within the underlying fractured/weathered bedrock.

Based on the Ministry of the Environment water well records, regional geologic and hydrogeologic setting and topographic elevations, it is anticipated that the regional groundwater flow direction in general is towards west-southwest, towards the Georgian Bay.

Generally, the surface water runoff along the Highway 69 Corridor drains into streams, swamps and scattered ponds.  The existing rivers and water bodies are typically incised into bedrock or in inferred bedrock fault lines.  A significant flooding of Point-au-Baril Station (Highway 69 and Highway 529 Extension, South Site) occurred in January 2008, which is understood to be considered in the Highway Design for storm water management measures.

3.2.1
North Site N2

The selected site N2 forms part of a major drainage basins/watersheds namely, the Murdock River (Lovering Lake) drainage basin. A number of individual creeks and drainage channels form an integral part of the drainage systems, which eventually empty into the Georgian Bay.

The Murdock River (Lovering Lake) and its tributaries, wetlands and associated water bodies (Rock Bay) form the headwaters of a drainage system for the subject site and vicinity, which is ultimately connected to the Georgian Bay drainage basin. The predominant surface water drainage is from north to south and southeast.

3.2.2
Central Site C2

The selected site C2 forms part of a major drainage basin/watersheds namely, the Key River drainage system, which is located approximately 1.6 km south of the site. 

The site is well-drained land with surface water bodies and swamps located along the northern and southern boundaries of the site.

The Key River and its tributaries (Nisbet Creek), wetlands and associated water bodies (Portage Lake) form the headwaters of a drainage system for the subject site and vicinity, which is ultimately connected to the Georgian Bay drainage basin. The predominant surface water drainage is from north to south and southwest. 

3.2.3
South Site S1

The selected site S1 forms part of the Shawanaga River watershed located approximately 700 m south of the site. A surface water body connected to the Shawanaga River system is located approximately 250 m south/ southwest of the southern boundary of the site.

The site is relatively flat, gently sloping, well drained tableland and slopes easterly/southwesterly with a surface gradient of about 2.5% with no significant on-site drainage features except the northeastern part of the site, which is part of a relatively small wetland. 

3.3
Water Well Conditions

A door-to-door water well survey program was carried out during the Step 1 investigation and the findings were discussed in the hydrogeological screening report as outlined below.

The water supply in the study areas is solely the responsibility of individual land owners.

3.3.1
North Site N2

Based on a review of the water well records and the door-to-door water well survey results, no water wells were identified within a 500 m radius of this site. During our Step 1 investigation, one water well was identified within the Township of Servos. 

A review of the Ministry of the Environment water well records (presented in the Site Screening Report) well N1, located approximately 2.2 km southwest of the subject site was drilled in the granite bedrock and the overburden thickness was about 2 m and static water level was about 11 m below existing grades. 

3.3.2
Central Site C2

Based on a review of the water well records and the door-to-door water well survey results, three functional water wells and six Ministry of the Environment recorded water wells were identified within a 500 m radius of this site. In addition, five groundwater monitoring wells existed within the Key River Waste Disposal Facility, about 100 m west of the subject site.

3.3.3
South Site S1

Based on a review of the water well records and the door-to-door water well survey results, no water wells were identified within a 500 m radius of this site.

3.4
Hydrogeological Vulnerability Factors

The vulnerability of an aquifer or a water body is usually defined as the sensitivity of the groundwater or surface water quality to an imposed contaminant load.  

The vulnerability is controlled by the travel time in the classical contaminant “origin‑pathway‑target” model and the hydrogeological and geochemical environments that the water travels through to arrive at the target, which can be groundwater as a whole (resource) or a single well or spring for drinking water extraction (source). The travel time is controlled by the hydraulic conductivity and the porosity of the geologic layers and the hydraulic gradient.

In the hydrogeological screening report the following hydrogeological vulnerability factors were identified:

i)
Topographic, geologic, hydrogeologic, and drainage features including watercourses and water bodies and ecological resources and fisheries as the sites resource features.

ii)
Current land use activities and existing water wells as the site source features.

iii)
Existing on-site origins of water quality impacts and existing (baseline) water quality.

iv) Potential contaminant migration pathways.

v) Other factors such as site-specific exposed bedrock conditions and buried valleys.

The hydrogeological vulnerability advantages and disadvantages associated with the selected sites, that were considered as some of the factors among others for the site selection, are outlined as follows:

3.4.1
North Site N2

The advantages associated with the this site are easily accessible, yet located in a remote location away from the residential hub, no functional water well exists within a 500 m radius of the site; and the potential for receptors of valued ecological components is relatively low. 

The disadvantages are exposed bedrock where some measures of bedrock aquifer protection may be required.

 3.4.2
Central Site C2

The advantage associated with this site is easily accessible, yet located in a remote location. 

The disadvantages are three operating wells located within 500 m of the site boundaries the Grundy Lake Supply Post with a fuel oil underground storage tanks located approximately 200 m north, and the Key River waste disposal facility is located about 100 m west of the site across Highway 69. In addition, exposed bedrock was noted all over the site where some measures of bedrock aquifer protection may be required.

3.4.3
South Site S1

The advantages associated with this Site are easily accessible, yet located in a remote location away from the residential hub, no functional water well exists within a 500 m radius of the site; and the potential for receptors of valued ecological components is relatively low. 

The disadvantages are exposed bedrock and marshland located east and northeast of the site where some measures of bedrock aquifer protection may be required. 

4.     SITE INVESTIGATION PROCEDURES

The field work for this investigation was carried out from August 15 to October 6, 2008. The investigation comprised a program of borehole drilling, logging, coring, sampling, installation of monitoring wells in the boreholes, conducting borehole permeability testing, groundwater level monitoring and sampling. 

The results of the overburden and bedrock sampling, in‑situ instrumentation, borehole permeability testing, groundwater level monitoring and sampling are shown in the appended Record of Borehole sheets and Appendix A.  

Access for the drilling equipment to each borehole location was secured using a John Deere 120D excavator. The boreholes were advanced using a Bombardier mounted CME 55 high torque drill rig equipped with diamond tooth coring, supplied and operated by Walker Drilling Co. Ltd. of Utopia, Ontario. Bedrock coring was conducted in all boreholes. Continuous bedrock cores were obtained from boreholes using a 39 mm outside diameter core barrel.

The core description tables describing rock type, Rock Quality Designation, Rock Mass Rating, core recovery together with the core photographs are shown in the appended Record of Borehole sheets.

The field work was supervised on a full-time basis by members of our technical staff who directed the drilling and coring operations, logged the corings and monitored closely the field conditions in the open boreholes during the course of conducting the field work. 

The locations and ground surface elevations at the boreholes were established in the field by Peto MacCallum Ltd. The horizontal northing and easting co-ordinates were referred to the MTM Zone 12 NAD 83 co-ordinate system.

4.1
Borehole Drilling

4.1.1
North Site N2

The borehole drilling program for this investigation was carried out during the period from August 15 to 21, 2008 which comprised seven boreholes, numbered boreholes N1 through N5S, N5M and N5D, drilled to shallow, medium and deep depths respectively ranging from about 4.7 to 9.3 m below existing grades at the selected locations as shown on Drawing 3N. Nested or multi-level monitoring wells were installed in separate boreholes N5S, N5M and N5D, and a single-level monitoring well in boreholes N1 through N4. The monitoring well casing was 38 mm in diameter.

Potable water obtained from the Township of Servos was brought to the subject site in a clean above‑ground storage tank for bedrock drilling and coring. 
The ground surface elevations were referred to the following benchmark (B.M.):

B.M.:
Geodetic Survey of Canada BM 73U186.



Northwest Quadrant of the Highway 69 and Highway 637 Intersection
 

Elevation:   231.056 (metric, geodetic)

The northing and easting co-ordinates and the geodetic ground surface elevations at the borehole locations are shown on the Record of Boreholes and listed on the Borehole Location Plan (Drawing 3N). 

4.1.2
Central Site C2

The borehole drilling program for this investigation was carried out during the period from September 16 to 24, 2008 which comprised seven boreholes, numbered boreholes C1 through C3, C4S, C4M, C4D and C5, drilled to shallow, medium and deep depths respectively ranging from about 4.7 to 9.2 m below existing grades at the selected locations as shown on Drawing 3C. Nested or multi-level monitoring wells were installed in separate boreholes C4S, C4M and C4D, and a single‑level monitoring well in boreholes C1 through C3 and C5. The monitoring well casing was 38 mm in diameter.

Potable water obtained from the Grundy’s Lake Supply Post was brought to the subject site in a clean above-ground storage tank for bedrock drilling and coring. 
The ground surface elevations were referred to the following benchmark (B.M.):

B.M.:
Geodetic Survey of Canada BM 73U155.



West Side of Highway 69 about 700 m south of the 

Highway 69 and 522 Intersection
 

Elevation:   194.254 (metric, geodetic)

The northing and easting co-ordinates and the geodetic ground surface elevations at the borehole locations are shown on the Record of Boreholes and listed on the Borehole Location Plan (Drawing 3C). 

4.1.3
South Site S1

The borehole drilling program for this investigation was carried out during the period from September 24 to 28, 2008 which comprised five boreholes, numbered boreholes S1 through S4S, S4M and S4D and S5, drilled to shallow, medium and deep depths ranging respectively from about 4.6 to 9.2 m below existing grades at the selected locations as shown on Drawing 3S. Nested or multi-level monitoring wells were installed in separate boreholes S4S, S4M and S4D, and a single‑level monitoring well in boreholes S1 through S3 and S5. The monitoring well casing was 38 mm in diameter.

Potable water obtained from the Village of Point-au-Baril was brought to the subject site in a clean above‑ground storage tank for bedrock drilling and coring. 
The ground surface elevations were referred to the following benchmark (B.M.):

B.M.:
Geodetic Survey of Canada BM 73U112.

East Side of Highway 69 about 4.8 km south of the Highway 69 and Highway 529 Extension Intersection
 

Elevation:   207.851 (metric, geodetic)

The northing and easting co-ordinates and the geodetic ground surface elevations at the borehole locations are shown on the Record of Boreholes and listed on the Borehole Location Plan (Drawing 3S). 

4.2
Monitoring Well Installation and Abandonment

A total of 7 monitoring wells were installed in the boreholes drilled on each site. The monitoring wells were established by installing 38 mm diameter screened PVC pipe with threaded and coupled joints.  The above-noted casing size was selected to be compatible with the rock-cored holes.
As shown in the appended Record of Borehole sheets, a 3.0 m long slotted pipe segment was part of the casing of each monitoring well for sampling and monitoring of the groundwater level and for conducting the borehole permeability testing. In borehole N5S, in the North Site, a 1.5 m long screen was used. 

The monitoring wells were installed using 38 mm diameter threaded PVC well screen (10 slot) and 38 mm PVC riser pipe.  The well materials were factory cleaned and sanitized and arrived on site in sealed plastic bags.

Clean silica sand was placed around the well screen (up to 0.3 m above the top of the well screen); hydrated bentonite pellet seal was then placed to seal the well casing and screen top and grouted at the surface (upper 0.8 m) with Portland concrete.
As shown in the appended Record of Borehole Sheets, the monitoring wells were installed within the bedrock.

The monitoring wells installed at the subject site will have to be abandoned eventually in accordance with the Ontario Regulation 903, amended to O.Reg. 128/03 under the Water Resources Act. The monitoring wells have been left now as they were installed for potential monitoring during the design phase.
The well abandonment will have to be conducted by a licensed well drilling contractor.  At the end of the project design phase, after removing the well casings and screen, the wells will have to be abandoned using clean washed gravel (well screen section) and plugging the casing portion with Portland cement seal.  The upper 0.5 to 1.0 m of the well will have to be sealed using a bentonite seal.  A copy of the abandonment records including the GPS co-ordinates will have to be forwarded to the office of the Ministry of the Environment's Water Well Records department.

4.3
Borehole Permeability Testing

In order to estimate the hydraulic conductivity K-values of the fractured bedrock, in‑situ permeability testing was conducted in the monitoring wells installed.

The permeability testing was conducted in monitoring wells using a rising head test method (bailing out test). During the rising head test, the wells were pumped out and the groundwater level was periodically measured as it recovered through the well screen. The rising groundwater level was measured periodically using a pre-programmed data logger (transducer) as the water level rose through the perforated well casing screen.

The borehole permeability tests were carried out from August 27 to August 29 and October 1 to 6, 2008.

After completion of the borehole permeability testing, the data was plotted on semi-logarithmic scale as shown on borehole permeability testing plots inserted in Appendix A, to estimate the time lag for calculation of the hydraulic conductivity K‑values.
4.4     Laboratory Chemical Analyses

To determine the baseline geoenvironmental quality, three representative groundwater samples from each site were obtained from the monitoring wells located upstream, centre and downstream of the site and delivered to AGAT Laboratories (AGAT) for the chemical analyses listed below. The Canadian Association of Environmental Analytical Laboratories accredits AGAT.
· Selected trace metals, inorganic parameters such as pH, selected anions, total dissolved solids (TDS), and for ammonia and total keldjhal nitrogen (TKN).

· Total organic carbon (TOC).

· Petroleum hydrocarbon related parameters benzene, toluene, ethylbenzene and xylenes (BTEX) and petroleum hydrocarbon fractions F1 through F4, which includes total petroleum hydrocarbons (TPH) representing gas/diesel and heavy oil).

No soil samples were analyzed as there was no overburden on the subject sites.

5.     SUBSURFACE CONDITIONS

Reference is made to the appended record of borehole Sheets for details of the visual soil/rock classification, inferred stratigraphy, monitoring well installation in the boreholes during and upon completion of drilling. Drawings 3N, 3C, 3S and 4N, 4C and 4S show the borehole locations and hydrogeological profiles for three North, Central and South sites, respectively.

5.1     Stratigraphy

The stratigraphy revealed in the exploratory boreholes comprised a discontinuous thin veneer of overburden and bedrock, which was encountered in all the boreholes.

5.1.1
North Site N2

Topsoil, about 100 mm thick surficial topsoil was encountered in boreholes N2, N5D, N5M and N5S. In boreholes N2, N5D, N5M and N4S, topsoil directly overlay the bedrock whereas in borehole N4M, a silty sand layer was encountered beneath the topsoil. 

Silty Sand, a layer of silty sand, about 0.70 m thick, was encountered in borehole N5M overlying the Granodiorite Gneiss bedrock.  The silty sand was poorly graded (SP) with traces of gravel, cobbles and boulders.
Bedrock, as shown on the appended Record of Borehole Sheets, Granodiorite Gneiss bedrock was encountered surficially in boreholes N1, N3, N4 and beneath the topsoil in boreholes N2, N5D, N5M and N5S. In borehole N5D, about 1.6 m of Gabro was encountered within the Granodiorite Gneiss. The top of the bedrock elevations ranged from 239.6 to 241.7 m. 

In general, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross joints. The joints were generally oxidized to slightly altered with occasional silt partings.

In borehole N2, about 5 mm wide vertical partings were noted within the bedrock, which were filled by secondary minerals and were partially void. 

The measured Rock Quality Designation ranged from 69 to 100% with the exception of one core from borehole N5D (elevation 237.1 to 238.6 m) with an Rock Quality Designation value of 50%, indicating fair to excellent quality.  The estimated Rock Mass Rating ranged from 32 to 79, indicating fair to good rock mass quality. Relatively low Rock Mass Rating (36 t0 64) was estimated for the upper part of the bedrocks in boreholes N2, N5M and N4S. The core recovery varied from 95 to 100%.

5.1.2
Central Site C2

Topsoil, about 100 mm thick surficial topsoil was encountered in boreholes C4D, C4M and C4S overlying a silty sand layer. 

Silty Sand, a layer of silty sand, about 0.5 to 0.6 m thick, was encountered in boreholes C4D, C4M and C4S overlying the Migmatite bedrock.  The silty sand was poorly graded (SP) with traces of gravel, cobbles and boulders.
Bedrock, as shown on the appended Record of Borehole Sheets, Granitic Gneiss bedrock was encountered surficially in boreholes C1 through C3 and C5. Migmatite bedrock was encountered beneath the silty sand deposit overburden in the locations of nested monitoring wells C4D, C4M and C4S and in borehole C1 beneath the Granitic Gneiss at a depth of 3.2 m below existing grade. The top of the bedrock elevation, ranged from 193.5 to 201.7 m. 

In general, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross joints. The joints were generally oxidized to slightly altered with occasional silt partings.

In borehole C4D, about 0.5 mm wide vertical partings/joints filled with silt were noted within the Migmatite bedrock. 

The measured Rock Quality Designation ranged from 61 to 100% with the exception of one core from borehole C4D (elevations 186.2 to 187.8 m) with an Rock Quality Designation value of 34%, indicating fair to excellent quality, occasionally poor quality. The estimated Rock Mass Rating ranged from 52 to 79, indicating fair to good rock mass quality. The measured core recovery varied from 94 to 100%, however, one core from borehole C4M (elevations 192.2 to 193.5 m) had a recovery of 84%.

5.1.3
South Site S1

Topsoil, about 100 to 300 mm thick surficial topsoil was encountered in boreholes S1, S4D, S4S and S5 overlying the Migmatite bedrock. 

Bedrock, as shown on the appended Record of Borehole Sheets, Migmatite bedrock was encountered surficially in boreholes S2, S3, S4M and beneath the surficial topsoil in boreholes S1, S4D, S4S and S5. The top of the bedrock elevations ranged from 206.9 to 209.9 m.
In general, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross joints. The joints were generally oxidized to slightly altered with occasional silt partings.

The measured Rock Quality Designation ranged from 74 to 100% with the exception of one core from borehole S4D (elevations 201.0 to 202.5) with an Rock Quality Designation value of 48%, indicating fair to excellent quality, locally poor quality. The estimated Rock Mass Rating ranged from 61 to 79, indicating fair to good rock mass quality. However, two cores from borehole S1 (elevations 206.4 to 207.9 m, 42% Rock Mass Rating) and S4D (elevations 201.0 to 202.5 m, 47% Rock Mass Rating) exhibited locally poor rock mass quality. The measured core recovery varied from 95 to 100% with the exception of one core from borehole S4M (elevations 206.8 to 207.1 m), which had a recovery of 86%.

5.2
Groundwater Conditions

The local groundwater conditions underlying the subject sites were assessed by measuring the water level in the monitoring wells. As fresh water was introduced to advance the drilling in bedrock, the groundwater strike (the groundwater level first encountered during drilling) could not be recorded.

5.2.1
North Site N2

About one week after drilling completion (August 27, 2008) the water level was measured at depths ranging from about 1.5 to 6.5 m, elevations 233.9 to 240.3 m, in the monitoring wells installed within the bedrock. The highest and the lowest levels of the screens in the monitoring wells casings ranged from 1.6 to 9.1 m below existing grades or at elevations ranging from 231.7 to 240.2 m.

Drawing 5N shows the groundwater level contours indicating the groundwater flow potentiometric lines. As shown on Drawing 5N, the groundwater flow within the bedrock is interpreted in a southeasterly direction towards the Lovering Lake, located approximately 1.2 km east/southeast of the Site.

Based on the groundwater level contour map, the horizontal flow gradient was estimated to be about 5%.

An attempt was made to estimate the downward flow gradient using the water level readings recorded for N5S, N5M and N5D, however, the data obtained for the shallow monitoring well N5S and deep monitoring well N5D were considered inconclusive, most likely due to the lack of hydraulic connection between the uppermost (screen depth 1.6 to 3.1 m, elevation 238.7 to 240.2 m) and deep monitoring wells (screen depth 6.1 to 9.1 m, elevations 232.7 to 235.7 m).   

Based on the site hydrogeological and topographic settings, the groundwater level contour map and the groundwater flow direction and gradient, it is apparent that Site N2 is in a recharge area for the neighbouring Lovering Lake.

5.2.2
Central Site C2

About one week after drilling completion (October 1, 2008) water level was measured at depths ranging from about 0.9 to 4.2 m, elevations 190.0 to 200.0 m, in the monitoring wells installed within the bedrock. The highest and the lowest levels of the screens in the monitoring well casings ranged from 1.4 to 8.9 m below existing grades or at elevations ranging from 185.3 to 197.4 m.

Drawing 5C shows the groundwater level contours indicating the groundwater flow potentiometric lines. As shown on Drawing 5C, the groundwater flow within the bedrock is interpreted in the east/northeasterly direction towards the Portage Lake and the low-lying swamp area. Portage Lake is located approximately 500 m east of the Site.

Based on the groundwater level contour map, the horizontal flow gradient was estimated to be about 7.3%.

An attempt was made to estimate the downward flow gradient using the water level readings recorded for C4S, C4M and C4D, however, the data obtained for the shallow monitoring well C4S and deep monitoring well C4D were considered inconclusive, most likely due to the lack of hydraulic connection between the uppermost (screen depth 1.4 to 3.4 m, elevations 189.7 to 192.7 m) and deep monitoring wells (screen depth 5.9 to 8.9 m, elevations 185.3 to 188.3 m).

Based on the site hydrogeological and topographic settings, the groundwater level contour map and the groundwater flow direction and gradient, it is apparent that Site C2 is in a recharge area for the neighbouring Portage Lake and the low-lying swamp area.

5.2.3
South Site S1
About one week after drilling completion (October 3, 2008) water level was measured at depths ranging from about 1.0 to 3.8 m, elevations 203.1 to 207.7 in the monitoring wells installed within the bedrock. The highest and the lowest levels of the screens in the monitoring wells casings ranged from 1.6 to 9.2 m below existing grades or at elevations ranging from 199.6 to 207.1 m.

Drawing 5S shows the groundwater level contours indicating the groundwater flow potentiometric lines. As shown on Drawing 5S, the west-central part of the Site act as a groundwater divide with a dominant groundwater flow direction towards north to the existing Highway 69 and to an unnamed water body. 

Based on the groundwater contour level map, the horizontal flow gradient was estimated to be about 5.5% in the northerly direction towards an unnamed water body located approximately 600 m north/northeast of the site. 

As shown on Drawing 5S, the groundwater flow direction in the western part of the site is towards south/southwest to the Shawanaga Bay and its associated water bodies with a relatively gentle gradient of about 1%. The Shawanaga Bay is located approximately 300 m west/southwest of the subject site.

The water level readings in monitoring wells S4S, S4M and S4D indicated a downward flow gradient of about 6%, indicating the subject site is in a recharge area.

5.3
Estimated Hydraulic Conductivity K-Values 

The field permeability testing was conducted by using the rising head method, in which periodic water level measurements were recorded as the water level recovered inside the well through the perforated (screened) part of the well casing. 

After purging each monitoring well, the rising head data was recorded in intervals of 20 seconds. The data was then plotted on semi-log scale to estimate the basic time lag T0.

The geometric configuration of the monitoring well screen and the measured time lag were used in the following expression (Hvorslev's Method, NAVFAC DM 7.1, May 1982) to estimate the K‑value for each monitoring well tested.

	K =
	R2
	ln
	L

	
	2LT0
	
	R





Where, 
K = 
hydraulic conductivity (cm/s)

     




L = 
the length of the screen (cm): 300 or 150 cm

     




R = 
the radius of the well screen (cm): 1.90 cm

     



            T0= 
the basic time lag (in seconds)






ln =
Logarithm to the base e

The figures provided in Appendix A, show the plot of normalized head versus the elapsed time, which were used to estimate the basic time lag (in seconds) and the measured hydraulic conductivity test results are presented in the subsequent subsections.

5.3.1
North Site N2

The hydraulic conductivity K-values of the bedrock were estimated using the field permeability test data compiled from seven monitoring wells MW N1 through MW N5D, MW N5M and MW N5S tested from August 27 to August 29, 2008, as summarized below. 

	BEDROCK ESTIMATED HYDRAULIC CONDUCTIVITY K-VALUES FOR SITE N2

	BOREHOLE NUMBER
	SCREEN DEPTH
(m)
(Elevation)
	SCREEN LENGTH

(m)
	TIME LAG (T0) 

(s)(1)

(See Appendix A)
	MEASURED HYDRAULIC CONDUCTIVITY(2)

(X 10-5 cm/s)

	MW N1 
	6.1 to 9.1

(235.1 to 232.1)
	3.0
	12,200
	0.3

	MW N2
	4.8 to 7.8

(235.9 to 232.9)
	3.0
	3,870
	0.8

	MW N3
	4.9 to 7.9

(234.7 to 231.7)
	3.0
	270
	15.0

	MW N4
	3.7 to 6.7

(236.7 to 233.7)
	3.0
	13,680
	0.2

	MW N5D
	6.1 to 9.1

(235.7 to 232.7)
	3.0
	62,880
	0.05

	MW N5M
	3.1 to 6.1

(238.7 to 235.7)
	3.0
	13,000
	0.4

	MW N5S
	1.6 to 3.1

(240.2 to 238.7)
	1.5
	(3)
	(3)


Notes: 

1
-
Time lag at 37% recovery.
2
-
Measured hydraulic conductivity.

3
-
Steady state was not reached in Monitoring Well N5S, therefore no estimated K-value.

Based on the above-listed results, the estimated hydraulic conductivity K-value of the bedrock ranged from 0.05 x 10-5 to 15.0 x 10-5 cm/s with an average value of 2.8 x 10-5 cm/s, or in terms of transmissivity about 0.025 m3/day/m2. 

5.3.2
Central Site C2

The hydraulic conductivity K-values of the bedrock were estimated using the field permeability test data, compiled from seven monitoring wells C1 through C4D, C4M, C4S and C5 tested on October 1 and 2, 2008, as summarized below: 

	BEDROCK ESTIMATED HYDRAULIC CONDUCTIVITY K-VALUES FOR SITE C2

	BOREHOLE NUMBER
	SCREEN DEPTH
(m) 
(Elevation)
	SCREEN LENGTH

(m)
	TIME LAG (T0) 

(S) (1)
(See Appendix A)
	MEASURED HYDRAULIC CONDUCTIVITY(2)

(X 10-5 cm/s)

	MW C1 
	4.5 to 7.5

(197.2 to 194.2)
	3.0
	7,800
	0.4

	MW C2
	4.3 to 7.3

(197.4 to 194.4)
	3.0
	550
	5.4

	MW C3
	4.8 to 7.8

(193.7 to 190.7)
	3.0
	(3)
	(3)

	MW C4D
	5.9 to 8.9

(188.3 to 185.3)
	3.0
	18,420
	0.2

	MW C4M
	4.5 to 7.5

(189.7 to 186.7)
	3.0
	3,850
	0.8

	MW C4S
	1.4 to 4.4

(192.7 to 189.7)
	3.0
	16,200
	0.2

	MW C5
	4.6 to 7.6

(193.7 to 190.7)
	3.0
	3,000
	1.0


Notes: 

1
-
Time lag at 37% recovery.
2
-
Measured hydraulic conductivity.

3
-
Steady state was not reached in Monitoring Well C3, therefore no estimated K-value

Based on the above-listed results, the estimated hydraulic conductivity K-value of the bedrock ranged from 0.2 x 10-5 to 5.4 x 10-5 cm/s with an average value of 1.3 x 10-5 cm/s, or in terms of transmissivity about 0.011 m3/day/m2.
5.3.3
South Site S1

The hydraulic conductivity K-values of the bedrock were estimated using the field permeability test data compiled from  seven monitoring wells S1 through S4D, S4M, S4S and S5 tested from October 3 to 6, 2008, as summarized below: 

	BEDROCK ESTIMATED HYDRAULIC CONDUCTIVITY K-VALUES FOR SITE S1

	BOREHOLE
NUMBER
	SCREEN DEPTH
(m)
(Elevation)
	SCREEN LENGTH

(m)
	TIME LAG (T0) 

(S) (1) 
(See Appendix A)
	MEASURED HYDRAULIC CONDUCTIVITY(2)

(X 10-5 cm/s)

	MW S1 
	4.4 to 7.4

(203.8 to 200.8)
	3.0
	34,630
	0.1

	MW S2
	3.8 to 6.8

(203.1 to 200.1)
	3.0
	1,460
	2.1

	MW S3
	4.8 to 7.8

(205.1 to 202.1)
	3.0
	6,120
	0.5

	MW S4D
	6.2 to 9.2

(202.6 to 199.6)
	3.0
	10,660
	0.3

	MW S4M
	4.4 to 7.4

(204.2 to 201.2)
	3.0
	360
	8.3

	MW S4S
	1.6 to 4.6

(207.1 to 204.1)
	3.0
	5,400
	0.6

	MW S5
	3.1 to 6.1

(205.6 to 202.6)
	3.0
	34,200
	0.1


Notes: 

1
-
Time lag at 37% recovery.
2
-
Measured hydraulic conductivity.  
Based on the above-listed results, the estimated hydraulic conductivity K-value of the bedrock ranged from 0.1 x 10-5 to 8.3 x 10-5 cm/s with an average value of 1.7 x 10-5 cm/s, or in terms of transmissivity about 0.015 m3/day/m2.
An attempt was made to estimate bedrock fracture permeability by assessing the cored rock fracture spacing and aperture. However, due to the highly variable nature of the rock fractures and field conditions, the true aperture of the rock fractures could not be measured accurately. Therefore, the theoretical equations for calculation of the bedrock permeability [such as those of Snow (1965)] could not be used.  
The secondary porosity and other related parameters were not assessed by downhole scanning or packer testing as they were not included in the scope of services.  
5.4
Groundwater Sample Chemical Test Results

The chemical test results of the groundwater samples analyzed, as compared with the applicable Site Condition Standards are summarized on Tables 1N, 1C and 1S; and the laboratory certificates of chemical analyses conducted by AGAT are included in Appendix B.

5.4.1
North Site N2

Based on the chemical test results, the chemical quality of groundwater underlying the subject site complies with the selected trace metals, inorganics and petroleum related parameters (BTEX PHC fractions) standards listed in the Ontario Regulation 153/04 Table 2 for potable groundwater conditions. 

However, the measured concentrations of cobalt, copper, lead and zinc in all three groundwater samples tested and toluene in a sample taken from monitoring well N5D exceeded the Table 1 standards. Also, as shown on Table 1N, low concentrations of chloride, fluoride, nitrate, nitrite, TKN, sulphate, total phosphorous and ammonia were detected in the analyzed groundwater samples for which there are no standard values in Table 1. 

5.4.2
Central Site C2

Based on the chemical test results, the chemical quality of groundwater underlying the subject site complies with the selected trace metals, inorganics and petroleum related parameters (BTEX PHC fractions) standards listed in the Ontario Regulation 153/04 Table 2 for potable groundwater conditions with the following exceptions.

· The measured concentrations of copper and lead in all three groundwater samples tested exceeded the Table 2 standards, and

· The measured concentrations of silver in a sample taken from monitoring well C2 exceeded the Table 2 standard value for silver.

Furthermore, the measured concentrations of cobalt, copper, lead, nickel and zinc in all three groundwater samples tested exceeded the Table 1 standards. The measured concentrations of cadmium, chromium, silver and vanadium exceeded the Table 1 standards in samples taken from monitoring wells C1 and C2, respectively. 

Also, as shown on Table 1C, low concentrations of chloride, fluoride, nitrate, nitrite, TKN, sulphate, total phosphorous and ammonia were detected in the analyzed groundwater samples for which there are no standard values in Table 1. 

5.4.3
South Site S1

Based on the chemical test results, the chemical quality of groundwater underlying the subject site complies with the selected trace metals, inorganics and petroleum related parameters (BTEX PHC fractions) standards listed in the Ontario Regulation 153/04 Table 2 for potable groundwater conditions except the measured concentrations of lead in a sample taken from monitoring well MW 4(S) that exceeded the Table 2 standard value for lead.

Furthermore, the measured concentrations of copper and lead in all three groundwater samples tested exceeded the Table 1 standards. The measured concentrations of cobalt, nickel, vanadium and zinc exceeded the Table 1 standards in a sample taken from monitoring wells S4D and S5, respectively. 

Also, as shown on Table 1S, low concentrations of chloride, fluoride, nitrate, nitrite, TKN, sulphate, total phosphorous and ammonia were detected in the analyzed groundwater samples for which there are no standards in Table 1. 
PART B:  PRELIMINARY  hYDROGEOLOGICAL DESIGN REPORT

6.
INTRODUCTION

As described in Section 2.2 of Part A, the MTO Environmental Guide for Part Yard Design (October 2006, the Guide) was consulted to consider the environmental principles and goals as well as the potential environmental impacts and design considerations for the new patrol yards in the context of the hydrogeological issues as outlined below.

Generally, the Patrol Yards are intended for the storage and minor repair of provincial highway maintenance vehicles and equipment as well as the supplies and waste materials.  However, operational needs can vary depending on the needs for determining the environmental impacts, for which the following are assumed:

· The storage of supplies and waste materials includes:

1. - 
the handling and storage of de-icing material (primarily road salt);

2. - 
the handling and storage of pre-wetting liquid (primarily brine);
3. - 
the storage and handling of above-ground storage tanks:

4. - 
the storage of the subject hazardous waste either generated on-site  
(primarily used oil) or brought into the patrol yard and stored temporarily 
prior to disposal: and

5. - 
snow storage and disposal.

· The repair of provincial highway maintenance vehicles and equipment includes:

6. - washing and

7. - minor repairs such as oil changes.

It is also assumed that a new patrol yard would include:

· an office, lunch, wash, and utility rooms;

· parking areas for staff vehicles and ministry/contractor equipment;

· a maintenance garage;

· winter maintenance material storage facilities;

· winter maintenance material handling area;

· vehicle washing area (indoor or outdoor);

· a garage and/or shed for highway maintenance equipment and materials;

· outside material storage area; gravel, posts, and the like; and

· pre-wetting and anti-icing liquid storage and transfer facilities (typically this would be in the same building as the salt loading area).

It is also assumed that the MTO Salt Management Plan, as related to patrol yards, will be implemented including the storage of all winter maintenance materials under cover in a storage facility with an impermeable floor.

A Winter Maintenance Area is a paved area of a patrol yard where all salt materials will be handled and vehicles will operate.  Its purpose is to isolate those activities in order to contain and manage salt-impacted drainage.  As such, all activities that can lead to salt-impacted drainage should be located within the Winter Maintenance Area.  Such activities include:

· sand-salt mixing;

· salt deliveries;

· salt loading;

· material storage;

· access routes;

· equipment washing; and

· snow storage 

It is understood that the patrol yard areas outside the Winter Management Area and Vehicular Maintenance Area are not to be salted, but winter sand (sand mixed with less than 10% of rock salt) is to be applied for winter traffic purposes within the yard.
Moreover it is also understood that two separate secondary collection systems by means of separate underground storage tanks for potentially released salt-impacted water for reuse and fuel or waste oil impacted water for off-site treatment/disposal respectively are the approach to be implement rather than an attenuating pond.
7.
Principles and Goals

By addressing the potential environmental impacts in the process of selecting the site and designing the new patrol yards, the potential adverse effects of the patrol yards footprint, construction and operation are:

i)
avoided by careful selection of the sites and designing to mitigate and/or compensate;

ii)
minimized by incorporating certain measures incorporated into the design to reduce the extent of impacts on the site environment where avoidance is not practical; and

iii)
mitigated by establishing operating guidelines and proper materials management in addition to the mitigation measures incorporate in the design.

The goals and the required permits, authorization and clearances are to avoid potential impacts and adverse effects on significant terrestrial ecosystems including natural resources such as the groundwater regime and surface water bodies.  Moreover, the selected sites are assessed for potential contaminants by undertaking Phases I and II Environmental Site Assessment in accordance with the provincial regulatory requirements and standards.

8.
potential environmental impacts

The potential environmental impact of patrol yards can be grouped in: 

a) 
the footprint of the patrol yard (changes in land cover and topography), 

b) 
the patrol yard construction activities, and 

c) 
the patrol yard operational activities.

In the context of the hydrogeological issues the potential impacts are outlined below:

i)
The site preparation (cut and fill for grading) and patrol yard footprint impacts on the groundwater regime and drainage pattern,

ii)
The impact of water-taking for operation of the patrol yard, and the patrol yard operational impacts on the facility's water quality,

iii)
The impacts of storage and handling of salt as a de-icing material,

iv)
The impacts of storage, handling and accidental leaks/spill of pre-wetting and anti‑icing liquids,

v)
The vehicles and equipment, storage, repair and washing impacts,

(vi)
The impacts of storage and handling fuels and used oil, and

(vii)
The snow storage and disposal impacts.

9.
groundwater and surface water vulnerability from patrol yards

As described in Section 6 above, the proposed Patrol Yard facility is to consist of the storage of supplies and waste materials, a repair garage, a Winter Maintenance Area and non-salt facilities such as an office and parking areas.

A literature review of the de-icing winter salt and brine indicated that common de-icing salt (rock salt) contains 95.8 to 99.8% sodium chloride and brine contains a mixture of 23% sodium chloride and 77% water.

Considering the above-noted patrol yard activities and as described in the following sections, the regulatory requirements pertinent to the operation of the proposed patrol yard facilities are primarily related to the rock salt and/or brine and to the petroleum hydrocarbons in a limited extent.

Therefore, the vulnerability of the groundwater and surface water from the proposed development is primarily due to potential release and migration of sodium chloride and petroleum hydrocarbon components.

10.
COMPLIANCE WITH Ministry of the Environment'S gUIDELINE b-7 
(tHE rEASONABLE uSE pOLICY)

The Ministry of the Environment’s Guideline B-7 (formerly 15-08), Incorporation of the Reasonable Use Concept Into Ministry of the Environment Groundwater Management Activities, establishes the basis for determining the "reasonable use" of groundwater on a property adjacent to sources of contamination and for determining the levels of contaminant discharge considered acceptable by the Ministry.

This guideline facilitates implementation of the Ministry of the Environment Procedures document B-1-1, "Water Management, Policies, Guidelines, Provincial Water Management Objectives", which are predicted on the protection of existing and potential reasonable uses of water.  The reasonable use, in this context, applies only to the groundwater quality management.

In general, the reasonable use of the groundwater at a particular location is based on three major considerations:

1)
The present use of groundwater in the vicinity;

2)
The potential use of groundwater in the vicinity; and

3) 
The existing quality and quantity of the groundwater in the vicinity.

The technical details necessary for the application of the reasonable use approach to operating disposal sites are outlined in the Ministry of the Environment's Procedures B-7-1 "Determination of Contaminants Limits and Attenuation Zones".

As outlined in the above-mentioned Ministry of the Environment document, the reasonable use concept is applied to:  

a) 
to determine quantitatively the acceptable levels of various contaminants originating in the disposal sites and impinging on adjacent properties; and 

b) 
to assess the suitability of a contaminant attenuation zone, and a waste solid/liquid disposal site.

It should be noted that the above-noted guidelines (B-7 and B-7-1) are mostly applicable to the on‑site sewage disposal facilities and have limited relevance to the patrol yard facilities primarily for storing and dispensing salt as a de-icing material to keep highways traffic safe under snow and ice.  

Two calculations are required to determine the amount of contamination that can be discharged from a disposal site onto an adjacent property.  The first calculation addresses the total contaminant impact at a location from all sources of contamination; and the second addresses the permissible impact from a particular disposal site.

The maximum concentration (Cm) of a particular contaminant, such as chloride, that would be acceptable in the groundwater beneath an adjacent property is calculated in accordance with the following equation:


Cm = Cb + x (Cr-Cb)
(1)

The terms are defined as follows:

Cb
:
The background concentration of a particular contaminant in the groundwater before it has been affected by human activity.  This allows consideration to be given to the amount of increase in the contaminant level.

Cr
:
This is the maximum concentration of a particular contaminant that can be, in accordance with the Province's water management guideline, present in the groundwater.  This value is dependent on the reasonable use to be made of the groundwater.  It allows consideration of the total amount of contamination.

x
:
This is a constant that reduces the contamination to a level that is considered by the Ministry to have only a negligible effect on the use of the water.  For drinking water, x is 0.5 for non-health related parameters and 0.25 for health related parameters.  For other reasonable uses it is 0.5.


The maximum concentration of a particular contaminant (Cw) originating in the disposal site that can be permitted to reach the adjacent property and still not cause Cm to exceed can be calculated in accordance with the following equation:


Cw = Cm - Cp - Co
(2)

The terms are defined as follows:

Cp
:
This is the concentration of a particular contaminant in the groundwater at the time of assessment, (baseline/background).  This water may already contain some contaminants.  These contaminant levels must be subtracted to determine the contaminant increment that can be permitted from the disposal site.

Co
:
This is the potential contaminant increase from other sources with a high degree of probability.  For example, the potential chloride contamination from a highway under construction next to the site (assumed 20 mg/L) must be subtracted to determine Cw.

The Ontario Drinking Water Object for chloride is 250 mg/L (Cr).  The natural uncontaminated background concentration of chloride is estimated to be about 10 mg/L (Cb).

Considering that chloride is a non-health related parameter (Guideline B-7-1), constant “x” is 0.5; and the maximum allowable concentration of chloride (Cm) beneath an adjacent property in accordance with Equation (1) above is 10 + 0.5 (250-10) = 130 mg/L.

The maximum concentration of chloride (Cw) from the patrol yard sites that can be permitted to reach the adjacent properties, is calculated in accordance with Equation (2) above for each site, based on the chloride concentration in the groundwater underlying each site measured during this investigation, and presented in the following sections of the report.  Other contaminants of minor significance such as petroleum hydrocarbon components and trace metals will be addressed during the final design phase.

11.
HYDROGEOLOGICAL Design Considerations
The hydrogeological recommendations provided in this report are consistent with the key concepts described in the Guide which are primarily focused on:

i)
Management of salt-impacted wash water and drainage or accidental leaks/spills,


ii)
Provision of safeguarding measures for spills associated with pre-wetting or anti-icing liquids/materials, fuel, product and waste storage and handling, and

iii)
Planning for further monitoring.

The site-specific recommendations in the context of hydrogeological issues and the above-noted concepts are described in Part B4 of the report.

Part B1:
 NORTH SITE N2

12.
SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS

12.1
Subsurface Conditions

During our site reconnaissance, the exposed bedrock outcrop was noted on the majority of the site. The stratigraphy revealed in the exploratory boreholes comprised a discontinuous thin veneer of overburden, about 0.7 m of silty sand overburden in the central part of the site and bedrock. 

Based on the findings of the subsurface investigation, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross joints. The joints were generally oxidized to slightly altered with occasional silt partings. The general rock quality was fair to excellent and relatively low  Rock Mass Rating  was noted in the upper part of the bedrock.

It is apparent from the subsurface investigation findings that the weathering and fracture/joint pattern within the bedrock was variable with localized secondary infilling materials containing mostly silt partings.

12.2
Hydrogeologic Setting and Groundwater Flow Conditions

The subject site forms part of the Murdock River (Lovering Lake) major drainage basin.  A number of individual creeks and drainage channels are part of the drainage systems, which eventually empty into the Georgian Bay.

The Murdock River (Lovering Lake) and its tributaries, wetlands and the associated water bodies (Rock Bay) from the headwaters of a drainage system for the subject site and vicinity, which is ultimately connected to the Georgina Bay drainage basin.

The measured groundwater level ranged from about 1.5 to 6.5 m below existing grades at elevations 233.9 to 240.3 m. The groundwater flow within the bedrock is interpreted in a southeasterly direction towards the Lovering Lake, located approximately 1.2 km east/southeast of the Site.

Based on the interpreted groundwater level contours shown on Drawing 5N, the horizontal flow gradient was estimated to be about 5%.  The downward flow gradient using water level records in the shallow, medium and deep monitoring wells could not be estimated due to the lack of hydraulic connection between the uppermost and lower screen depths.

Based on the site hydrogeological and topographic settings, the interpreted groundwater level contour map, the groundwater flow direction and gradient, it is apparent that the subject site is a recharge area for the neighbouring Lovering Lake.

12.3
Aquifer Systems

As shown on the hydrogeological profiles (Drawing 4N) and appended Record of Borehole sheets, the overburden deposit is almost non-existent in the subject site.  The granite bedrock forms the main water bearing formation in the Study area. 

Based on the subsurface investigation findings, it seems that the unweathered to moderately weathered bedrock, which is mostly jointed and oxidized with secondary silt infilling, forms the main aquifer in the study area. The hydraulic communication between the shallow, near surface, and deep levels of bedrock is not well established and most likely dependent on localized fracture and/or joint pattern and continuity within the rock mass.

No water wells were identified within a 500 m radius of this site.  During investigation, one water well was identified within the Township of Servos. Based on review of the Ministry of the Environment water well records, a water well located approximately 2.2 km southwest of the subject site was drilled in the granite bedrock where the overburden thickness was about 2 m and the static water level was about 11 m below the existing grades.  The well screen is understood to be about 105 m deep.

12.4
Pathway Analysis

The general gradient of the ground surface at the subject site is about 5% from west to east.  The northwestern part of the site locally slopes toward Highway 69 with a gradient of about 5%. A drainage ditch originating at the northwestern part of the site runs along the east side of the existing Highway 69.

As shown on Drawing 2N, the Murdock River (Lovering Lake) and its tributaries, wetlands and the associated water bodies (Rock Bay) form the headwaters of a drainage system for the subject site and vicinity, which are ultimately connected to the Georgian Bay drainage basin.

The measured hydraulic conductivity K-values of the bedrock ranged 0.05 x 10-5 to 15.0 x 10‑5 cm/s with an average value 2.8 x 10-5 cm/s, or in terms of transmissivity about 0.025 m3/day/m2. 

The pathways for migration of solutes exist through the groundwater flow from the central part of the site towards east/southeast along the dominant groundwater flow direction and locally towards the northwestern part of the site in a westerly/northwesterly direction.

The average lateral groundwater flow velocity (V) in porous media calculated based on the Darcian seepage flow equation V=Ki/n, where ‘K’ is the estimated hydraulic conductivity, ‘ i ’ is the prevailing hydraulic gradient and ‘n’ is the porosity.   

However, for the groundwater flow in the bedrock, the rock mass fracture permeability depends very much on the bedrock secondary porosity represented by the joint/fracture spacing and frequency, aperture width and filling and the Rock Quality Designation and Rock Mass Rating values.  As these parameters could not be characterized in the scope of the subject investigation, the rock mass fracture hydraulic conductivity is assumed to be one or two orders of magnitude higher than the average value measured by simple borehole permeability testing, namely 3.0 x 10-4 or 3.0 x 10-3 cm/s.

Based on the above-noted assumption, the highest migration rate of solute towards south/southeast direction will be about 15 cm/day or about 55 m/year. Considering Lovering Lake, located about 1.2 km east/southeast of the subject site, as a major ecological receiver of the solute, it will take the salt or other contaminants about 20 years to reach to the lake.

Considering the uncertainties associated with the actual hydraulic conductivity value of the fractured and/or weathered bedrock, the actual groundwater flow velocity and solute migration rate may be different from the calculated values noted above.

12.5
Existing Groundwater Environmental Quality 

In general, the chemical quality of groundwater underlying the subject site complies with the standard values of the selected trace metals, inorganics and petroleum hydrocarbon components listed in the Ontario Regulation 153/04 Table 2 for the potable groundwater situation. 

However, the measured concentrations of cobalt, copper, lead and zinc in all three groundwater samples tested and toluene in a sample taken from a monitoring well from the central part of the site exceeded the Table 1 background standards. 

The concentrations of naturally occurring salt-related anions such as chloride ranged from 3.7 to 25.6 mg/L with an average concentration of 11.2 mg/L. 

The measured low concentrations of sulphate, ammonia, TKN and total phosphorous detected in the groundwater underlying the subject site are also indicative of the site’s natural groundwater environmental quality.

The above groundwater environmental quality criteria establish the baseline quality conditions of the groundwater underlying the subject site.

13.
Potential IMPACTS on water and soil quality

As described above, the baseline groundwater quality underlying the subject site is rather low in natural salt concentration and complies with the Ministry of the Environment Table 2 standard value for potable groundwater situation.

Considering the presence of permeable fractured rock mass at the subject site, the proposed land use activities may have the following potential impacts on the quality of water in the subject site and surrounding areas.

· Potential increases of salt content that may lead to future elevated levels of sodium and chloride exceeding the Ministry of the Environment Table 2 Standards for potable groundwater uses at the subject site and surrounding areas downgradient,

· Potential increases of trace metals such as lead and cadmium associated with the petroleum hydrocarbons and other trace metals present in the de-icing salt and/or brine,

· Potential increases of petroleum hydrocarbon related compounds such as benzene, toluene, ethylbenzene and xylenes (BTEX) and overall increase in petroleum hydrocarbon (PHC) Fraction concentrations that may impair the potable quality of the groundwater, and

· The increase of salt concentration in groundwater may lead to an increase in the sodium absorption ratio (SAR) values of the near surface soils that may retard the plant growth.

13.1
Seasonal Variations of Potential Adverse Effects 

Due to the moderate infiltration capability of the unweathered bedrock, the surface runoff containing salt and any spillage/leakage of petroleum hydrocarbons will accumulate in an area to the northwestern part of the site along the east side of existing Highway 69.  The surface water infiltration and run off and its diluting effect are dependent on the frequency, duration and intensity of precipitation. 

Considering the seasonal nature of the salt storage and enhanced activities of the de-icing operations in the winter months, a temporal increase in salt content in groundwater is expected in the spring months due to snow melting and increased rainfall. Similarly, a low salt content is expected in relatively drier summer months due to less precipitations and absence of de-icing activities.

13.2
Groundwater Quality Compliance with Reasonable Use Policy

The groundwater sample chemical test results, particularly the measured chloride concentrations were compared with the Ministry of the Environment’s Procedures B-7-1, described in Section 10 above.

The maximum concentration of chloride allowed beneath the adjacent property is 130 mg/L (Section 10). The chloride concentrations in groundwater underlying the subject site ranged from 3.7 to 25.6 mg/L with an average concentration of 11.2 mg/L. Therefore, using Equation (2) in Section 10, the maximum concentration of chloride that can be permitted to reach the adjacent properties from the subject patrol yard site is (130 - 11 – 20) mg/L or  99 mg/L, assuming  the future Highway 69 contribution of chloride to be about 20 mg/L.

Part B2:  CENTRAL SITE C2

14.    SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS

14.1
Subsurface Conditions

During our site reconnaissance, exposed bedrock outcrop was noted on the majority of the site. The stratigraphy revealed in the exploratory boreholes comprised a discontinuous thin veneer of overburden, about 0.5 to 0.6 m of silty sand overburden in the northeastern part of the site and bedrock. 

In general, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross-joints. The joints were generally oxidized to slightly altered with occasional silt partings. The general rock quality was fair to excellent, occasionally poor with fair to good rock mass quality.

Based on the subsurface investigation findings, the weathering and fracture/joint pattern within the bedrock was variable with localized secondary infilling materials containing mostly silt partings. 

14.2
Hydrogeological Setting and Groundwater Flow Conditions

The Key River and its tributaries (Nisbet Creek), wetlands and the associated water bodies (Portage Lake) are part of the headwaters of a drainage system for the subject site and vicinity, which is ultimately connected to the Georgian Bay drainage basin. 

The subject site is a well-drained parcel of land with surface water bodies and swamps located along the northern and southern boundaries of the site.

The measured groundwater levels ranged from about 0.9 to 4.2 m below the existing grades, at elevations 190.0 to 200.0 m. The groundwater flow within the bedrock is interpreted in the easterly/northeasterly direction, towards the Portage Lake and the low-lying swamp area. The Portage Lake is located approximately 500 m east of the Site.

Based on the interpreted groundwater level contours shown on Drawing 5C, the horizontal flow gradient was estimated to be about  7.3%. The downward flow gradient using the measured water levels in the shallow (about 3.0 m deep), medium (about 6.0 m deep) and deep (about 8.0 m deep) monitoring wells could not be estimated due to the lack of hydraulic connection between the uppermost and lower screen depths.

Based on the site hydrogeological and topographic settings, the interpreted groundwater level contour map and the groundwater flow direction and gradient, it is apparent that the subject site is a recharge area for the neighbouring Portage Lake and the low-lying swamp area.
14.3
Aquifer Systems

As shown on the hydrogeological profiles (Drawing 4C) and appended Record of Borehole sheets, the overburden deposit is almost non-existent in the subject site. The granite bedrock forms the main water bearing formation in the Study area.

Based on the subsurface investigation findings, it seems that the unweathered to moderately weathered bedrock, which is mostly jointed and oxidized with secondary silt infilling, forms the main aquifer in the study area. 

Six water wells were identified within a 500 m radius of the subject site, which were drilled within the granite bedrock with the screen depths ranging from 53 to 114 m below the existing grades.

14.4
Pathway Analysis

The central and southern parts of the site are relatively flat, which slopes towards north with a gradient of about 4.5%. However, the southern part of the site slopes abruptly toward the south with a much steeper gradient of about 25%. 

The measured hydraulic conductivity K-value of the bedrock ranged from 0.2 x 10-5 to 5.4 x 10‑5 cm/s with an average value of 1.3 x 10-5 cm/s, or in terms of transmissivity about 0.011 m3/day/m2.

The pathways for migration of solutes through the groundwater flow exist from the central part of the site towards north/northeast along the dominant groundwater flow direction and locally towards southerly direction at the southern part of the site.

The average lateral groundwater flow velocity (V) in porous media is calculated based on the Darcian seepage flow equation V=Ki/n, where ‘K’ is the estimated hydraulic conductivity, ‘ i ’ is the prevailing hydraulic gradient and ‘n’ is the porosity. 

However, for the groundwater flow in the bedrock, the rock mass fracture permeability depends very much on the bedrock secondary porosity represented by the joint/fracture spacing and frequency, aperture width and filling, the Rock Quality Designation and Rock Mass Rating values. As these parameters could not be characterized in the scope of the subject site investigation, the rock mass fracture hydraulic conductivity is assumed to be one or two orders of magnitude higher than the average value measured by simple borehole permeability testing, namely 1.5 x 10-4 cm/s or 1.5 x 10-3 cm/s.

Based on the above-noted assumption, the highest migration rate of solute towards north/northeast direction will be about 10 cm/day or about 40 m/year. Considering the drainage course located along the northern boundary of the site as a major ecological receiver of the solute, it may take the salt or other contaminants about 10 years to reach into the drainage course from the central part of the site, and will eventually reach into the Portage Lake within about 13 years period, located approximately 500 m east of the site, depending on the location of patrol yard salt handling facilities within the subject site. 

Considering the uncertainties related to the actual hydraulic conductivity value of the fractured and/or weathered bedrock, the actual groundwater flow velocity and solute migration rate may be different from the above calculated values.

14.5
Existing Groundwater Environmental Quality 
In general, the chemical quality of groundwater underlying the subject site complies with the standard values of the selected trace metals, inorganics and petroleum hydrocarbon components listed in the Ontario Regulation 153/04 Table 2 for the potable groundwater situation. 

Elevated levels of copper, lead and silver exceeding the Table 2 standards were detected in the groundwater samples analyzed. It should be noted that the bedrock in the subject study area is rich in metallic minerals.

The concentrations of naturally occurring salt-related anions, such as chloride, ranged from 2.9 to 3.7 mg/L with an average concentration of 3.2 mg/L, indicating very low background salt concentration. 

The measured low concentrations of sulphate, ammonia, TKN and total phosphorous detected in the groundwater underlying the subject site are also indicative of the site’s natural/background groundwater environmental quality.

The above groundwater environmental quality criteria establish the baseline quality conditions of the groundwater underlying the subject site.

15.   POTENTIAL IMPACTS ON WATER AND SOIL QUALITY

As described above, the baseline groundwater quality underlying the subject site is low in natural salt concentration and complies with the Ministry of the Environment Table 2 standards for the potable groundwater situation with the exception of elevated levels of copper, lead and silver.

Considering the presence of permeable fractured rock mass at the subject site, the proposed land use activities may have the following potential impacts on the quality of water in the subject site and surrounding areas. 

· Potential increases of salt content that may lead to future elevated levels of sodium and chloride exceeding the Ministry of the Environment Table 2 Standards criteria for potable groundwater uses at the subject site and surrounding areas downgradient,

· Potential increases of trace metals such as lead and cadmium associated with the petroleum hydrocarbons and other trace metals present in the de-icing salt,

· Potential increases of petroleum hydrocarbon related compounds such as benzene, toluene, ethylbenzene and xylenes (BTEX) and overall increase in petroleum hydrocarbon (PHC) Fraction concentrations that may impair the potable quality of the groundwater, and

· The increase of salt concentration in groundwater may lead to an increase in the sodium absorption ratio (SAR) values of the near surface soils that may retard the plant growth.

15.1
Seasonal Variations of Potential Adverse Effects 

Due to moderate infiltration capability of the unweathered bedrock, the surface runoff containing salt and any spillage/leakage of petroleum hydrocarbons will accumulate in the drainage course located along the northern boundary of the site. The surface water infiltration and runoff and its diluting effect are dependent on the duration, frequency, and intensity of precipitation. 

Considering the seasonal nature of the salt storage and enhanced activities of the de-icing operations in the winter months, a temporal increase in salt content in groundwater is expected in the spring months due to snow melting and increased rainfall. Similarly, a low salt content is expected in relatively drier summer months due to less precipitations and absence of de-icing activities. 

15.2
Groundwater Quality Compliance with Reasonable Use Policy

The groundwater sample chemical test results, particularly the measured chloride concentrations were compared with the Ministry of the Environment’s Guideline B-7-1, described in Section 10 above.

The maximum concentration of chloride allowed beneath the adjacent property is 130 mg/L (Section 10). The chloride concentration in the groundwater underlying the subject site ranged from 2.9 to 3.7 mg/L with an average concentration of 3.2 mg/L. Therefore, using Equation (2) in Section 10, the maximum concentration of chloride that can be permitted to reach the adjacent properties from the subject patrol yard site is (130 ‑ 3 - 20) mg/L or 107 mg/L,  assuming the future Highway 69 contribution of chloride to be about 20 mg/L.

Part B3:  SOUTH SITE S1

16.   SUMMARIZED SITE HYDROGEOLOGICAL CHARACTERISTICS

16.1
Subsurface Conditions

During our site reconnaissance, the exposed bedrock outcrops were noted all over the site. The stratigraphy revealed in the exploratory boreholes comprised a discontinuous topsoil layer overlying the Migmatite bedrock. The top of the bedrock elevation, ranged from 206.9 to 209.9 m.

In general, the bedrock was unweathered to slightly weathered with moderately to widely spaced flat to dipping cross-joints. The joints were generally oxidized to slightly altered with occasional silt partings. The general rock quality was fair to excellent, occasionally poor with fair to good rock mass quality.

Based on the subsurface investigation results, the weathering and fracture/joint pattern within the bedrock was variable with localized secondary infilling materials containing mostly silt partings. 

16.2
Hydrogeologic Setting and Groundwater Flow Conditions

The subject site forms part of the Shawanaga River watershed, located approximately 700 m south of the subject site.  A surface water body connected to the Shawanaga River system is located approximately 300 m south/southwest of the southern boundary of the site.

The site is a relatively flat, gently sloping, well drained tableland and slopes easterly/southwesterly with a surface gradient of about 3% with no significant on-site drainage features except the northeastern part of the site, which is part of a relatively small wetland.

The measured groundwater level ranged from about 1.0 to 3.8 m below the existing grades at elevations 203.1 to 207.7 m. The west-central part of the site acts as a groundwater divide with a dominant groundwater flow direction towards north to the existing Highway 69 and to an unnamed water body. 

The horizontal flow gradient was estimated to be about 5.5% in the northerly direction towards an unnamed water body located approximately 600 m north/northeast of the site. The groundwater flow direction in the eastern part of the site is towards south/southwest to the Shawanaga Bay and its associated water bodies with a relatively gentle gradient of about 1%. The Shawanaga Bay is located approximately 300 m west/southwest of the subject site. 

A downward flow gradient of about 6% was recorded in the southwestern part of the site suggesting a hydraulic connection between the uppermost and deep monitoring well screens.

Based on the site hydrogeological and topographic settings, the interpreted groundwater level contour map and the groundwater flow direction and gradient, it is apparent that the subject site is a recharge area for the neighbouring Shawanaga Bay drainage basin.

16.3
Aquifer Systems

As discussed in the screening report, a review of the Ministry of the Environment water well records and geological setting of indicated that the granite bedrock forms the main water bearing formation in the study area. 

As shown on the hydrogeological profiles (Drawing 4S) and appended Record of Borehole sheets, the overburden deposit is almost non-existent in the subject site.  The granite bedrock forms the main water bearing formation in the study area.

Based on the subsurface investigation results, it seems that the unweathered to moderately weathered bedrock, which is mostly jointed and oxidized with secondary silt infilling, forms the main aquifer in the study area. The hydraulic communication between the shallow near surface and deep part of bedrock is well established and most likely dependent on the localized fracture and/or joint pattern within the bedrock.

No water wells were identified within a 500 m radius of this site.  During investigation, water wells were identified in the Village of Point-au-Baril, about 4 km north of the subject site, which were mostly drilled in the granite bedrock.

16.4
Pathway Analysis

The subject site is relatively flat, gently sloping, well drained tableland and slopes east/southwest and northeast with a surface gradient of about 2.5% and ground surface elevations vary from 206 to 210 with no significant on-site drainage features except the northeastern part of the site, which is part of a relatively small wetland. 

The site forms part of the Shawanaga River watershed, and a surface water body connected to the Shawanaga River system is located approximately 300 m south/southwest of the southern boundary of the site.
The measured hydraulic conductivity K-value of the bedrock ranged from 0.1 x 10-5 to 8.3 x 10‑5 cm/s with an average value of 1.7 x 10-5 cm/s with an average value of 1.7 x 10-5 cm/s, or in terms of transmissivity about 0.015 m3/day/m2.

Therefore, pathways for migration of solutes exist through groundwater flow from the central part of the site towards north along the dominant groundwater flow direction. In addition, a secondary pathway exists along the southwestern part of the site towards the Shawanaga River.

The average lateral groundwater flow velocity (V) is calculated based on the Darcian seepage flow equation V=Ki/n, where ‘K’ is the estimated hydraulic conductivity, ‘ i ’ is the prevailing hydraulic gradient and ‘n’ is the porosity. 

However, for the groundwater flow in the bedrock, the rock mass fracture permeability depends very much on the bedrock secondary porosity represented by the joint/fracture spacing and frequency, aperture width and filling, the Rock Quality Designation and Rock Mass Rating values. As these parameters could not be characterized in the scope of the subject site investigation, the rock mass fracture hydraulic conductivity is assumed to be one or two orders of magnitude higher than the average value measured by simple borehole permeability testing, namely 2.0 x 10-4 cm/s or 2.0 x 10-3 cm/s.

Based on the above-noted assumption, the highest migration rate of solute towards north direction (for i = 5.5%) will be about 10 cm/day or about 40 m/year. Considering the unnamed water body located approximately 600 m north/northeast of the site as a major ecological receiver of the solute, it will take salt and other contaminants about 15 years to reach into the water body from the central part of the site; and it will take about 8 years to reach to the Shawanaga River from the southwestern part of the site. 

Considering the uncertainties associated with the actual hydraulic conductivity value of the fractured and/or weathered bedrock, the actual groundwater flow velocity and solute migration rate may be different from the above calculated values.

16.5
Existing Groundwater Environmental Quality 

In general, the chemical quality of groundwater underlying the subject site complies with the standards of the selected trace metals, inorganics and petroleum hydrocarbons components listed in the Ontario Regulation 153/04 Table 2 for potable groundwater conditions.  

Elevated level of lead exceeding the Table 2 standard was detected in one groundwater sample analyzed.  It should be noted that the bedrock in the subject study area is rich in metallic minerals.

The concentrations of naturally occurring salt-related anions such as chloride ranged from 4.0 to 20.4 mg/L with an average concentration of 9.5 mg/L. 

The above groundwater environmental quality criteria establish the baseline quality conditions of the groundwater underlying the subject site.

17.
POTENTIAL IMPACTS ON WATER AND SOIL QUALITY

As described above, the baseline groundwater quality underlying the subject site is low in natural salt concentration and complies with the Ministry of the Environment Table 2 standards for the potable groundwater situation with the exception of elevated level of lead in one groundwater sample analyzed for borehole S4D, located on the southwestern part of the site.

Considering the presence of permeable fractured rock mass at the subject site, the proposed land use activities may have the following potential impacts on the quality of water in the subject site and surrounding areas.

· Potential increases of salt content that may lead to future elevated levels of sodium and chloride exceeding the Ministry of the Environment Table 2 Standards for potable groundwater uses at the subject site and surrounding areas downgradient,

· Potential increases of trace metals such as lead and cadmium associated with the petroleum hydrocarbons and other trace metals present in the de-icing salt,

· Potential increases of petroleum hydrocarbon related compounds such as benzene, toluene, ethylbenzene and xylenes (BTEX) and overall increase in petroleum hydrocarbon (PHC) Fraction concentrations that may impair the potable quality of the groundwater, and

· The increase of salt concentration in groundwater may lead to an increase in the sodium absorption ratio (SAR) values of the near surface soils that may retard the plant growth.

17.1
Seasonal Variations of Potential Adverse Effects 

Due to moderate infiltration capability of the unweathered bedrock, the surface runoff containing salt and any spillage/leakage of petroleum hydrocarbons will accumulate in the low-lying areas east of the site.  The surface water infiltration and runoff and its diluting effect are dependent on the duration, frequency, and intensity of precipitation.
Considering the seasonal nature of the salt storage and enhanced activities of the de-icing operations in the winter months, a temporal increase in salt content in groundwater is expected in the spring months due to snow melting and increased rainfall. Similarly, a low salt content is expected in relatively drier summer months due less precipitation and absence of de-icing activities.

It is assumed that the associated garage and petroleum fuelling activities of the Patrol Yard facility will be operational throughout the year. Hence, there will be always a potential for leakage and/or spillage of petroleum hydrocarbons on site. 

17.2
Groundwater Quality Compliance with Reasonable Use Policy

The groundwater sample chemical test results, particularly the measures chloride concentrations, were compared with the Ministry of the Environment’s Guideline B07-1, described in Section 10 above.

The maximum concentration of chloride allowed beneath the adjacent property is 130 mg/L  (Section 10).  The chloride concentration in the groundwater underlying the subject site ranged from 4.0 to 20.4 mg/L with an average concentration of 9.5 mg/L.  Therefore, using Equation (2) in Section 10, the maximum concentration of chloride that can be permitted to reach the adjacent properties from the subject patrol yard is (130 - 10 - 20) mg/L or 100 mg/L, assuming the future Highway 69 contribution of chloride to be about 20 mg/L.

part b4:  preliminary hdydrogeological DESIGN recommendations for remedial, monitoring and contingency measures

As described in Section 7, the remedial, monitoring and contingency measures are to be incorporated in the design of the new patrol yards to avoid, minimize and/or mitigate the potential environmental impacts.

The preliminary hydrogeological design recommendations outlined in this section are based on the key concepts described in the MTO's Environmental Guide for Patrol Yard Design (October 2006, the Guide) which are outlined in Section 11 above.

18.
remedial measures

To avoid, minimize and/or mitigate the potential impacts on the groundwater and surface water bodies in the subject sites and surrounding areas, the salt-impacted water (from drainage and wash water, and potential brine release or fuel and waste oil leakages/spills) should be properly managed.
The potential release of the above-noted contaminants can be mitigated by taking one of the following two approaches:
1) Collection of the above-noted potentially released contaminated liquids for reuse, treatment or off‑site disposal or

2) Attenuation of the released contaminants on site to the Ministry of the Environment Reasonable Use Criteria described in Section 10 above.  The attenuation mechanism will have to be achieved by a quality and quantity control storm water management pond.
With respect to the remedial measures for potential release of salt impacted water and other contaminants in the Winter Management Area and Vehicle Maintenance Area, the environmental/aquatic issues, potential impacts, proposed mitigative/risk management measures and their advantages and disadvantages are summarized on Table 2. 

For either approach outlined above, an initial containment and primary collection facility underneath the Winter Management Area, equipment and vehicle repair garage (with oil separators) and fuel storage and dispensing areas, is needed which may consist of:

i)
A geomembrane/liner placed on a prepared smooth and sloped (for positive drainage) subgrade.  As a result of site grading (cut and fill) operations, the majority of the subject three sites will end up to rough rock surfaces which should be smoothened for placement of the above‑recommended liner.  This can be achieved by placement of an about 150 mm thick compacted clay-based fill, or lean (dental or mud) concrete, or a sand fill base, similar to the sand drainage bed noted below.  Among these options, the sand fill seems to be the most economically feasible option as there is no clayey soils available on the subject sites.  The sand fill base should be sloped to accommodate the geomembrane slope for positive drainage into the subdrains.
ii)
A free draining (sand) drainage bed about 0.50 m thick should be placed on top of the geomembrane,

iii)
A network of perforated subdrains connected to a solid header pipe, should be  placed downgradient of the subgrade and above the geomembrane within the sand bed, and connected to either a lined storm water management pond or to a collection (tank) system, and 

iv)
The top of sand bed where the facilities are to be installed should be paved with positive drainage.

It is understood that the patrol yard areas outside the Winter Management Area and Vehicle Maintenance Area are not to be salted, but winter sand (sand mixed with less than 10% of rock salt) is to be applied for winter traffic purposes within the yard.

Moreover, it is also understood that two separate secondary collection systems by means of separate underground storage tanks for potentially released salt-impacted water for reuse and fuel or waste oil impacted water for off-site treatment/disposal respectively are to be implemented rather than an attenuating pond.
As described in Section 5.4 above, the majority of groundwater samples obtained and analyzed from monitoring wells installed indicated elevated levels of some metals such as copper, lead and zinc as compared with the potable/drinking water quality criteria which are generally related to the intrinsic environmental conditions of the region’s geology and bedrock composition.

However, it is understood that water supply for each patrol yard is to be a water well to be developed on each site.  Our recommendations for the water well are outlined as follows:

i) The water well should be located upgradient and upstream of the proposed septic tank and bed and Winter Management Area and Vehicle Maintenance Area and with an appropriate well head protection;
ii) The water well should be developed at a stratum within the bedrock to provide the yield required for the facility’s need by a pumping test; and

iii) The water withdrawn from the well may have to be treated for domestic/office use pending confirmatory sampling and testing during pumping test, particularly for the substances detected with  elevated levels as described in Section 5.4 of this report. 

19.
MONITORING AND CONTINGENCY MEASURES

Once the patrol yard design is finalized for site preparation and implementation of the remedial measures as recommended above, the Reasonable Use Criteria for the contaminants that may potentially be released from the subject sites should be finalized and a groundwater and surface water quality control monitoring system should be designed, installed and maintained on each site as outlined below.

These measures are undertaken to confirm the desired performance of the constructed remedial measure on seasonal and long-term bases.

19.1
Finalization of Reasonable Use Criteria

As described in Section 10, the Reasonable Use Criteria (Cm and Cw) depend very much on the type and concentration of potential contaminants existing on the subject site and surrounding areas prior to the patrol yard operation (baseline conditions) as compared with those that may be released after the constructed facilities commence operation and maintained for a long period of time.

These criteria should be finalized for the baseline conditions once the site is prepared and monitoring instruments are installed prior to the operation by:

i)
Sampling and chemical analysis of groundwater and surface water at the monitoring points established for potential contaminants such as chloride, trace metals and petroleum hydrocarbon components.

ii)
Calculating the Reasonable Use Criteria by using Equations (1) and (2) in Section 10.

Moreover, upon completion of the patrol yards design, the concentrations of the potential contaminants that may be released to the natural system from the facilities accidentally and/or from the breached remedial measures will have to be further assessed by pathway/migration analyses and compared with the finalized Reasonable Use Criteria values for design consideration of the monitoring program and contingency measures.

19.2
Monitoring Wells and Surface Water Sampling Points

After the design is finalized and the site is prepared, monitoring wells and monitoring points will have to be established in the upstream (upgradient), surrounding the areas where remedial measures are to be constructed and site boundaries for seasonal groundwater and surface water sampling and chemical analysis (four times a year).  The analytical protocol should include the potential contaminants and general chemistry parameters.

The results of quarterly sampling and testing program should be evaluated as compared with the Reasonable Use Criteria already established.

A quarterly monitoring program report should be prepared which will have to include the factual field and laboratory data as well as an assessment of the remedial measures performance objectives.

The above-noted monitoring program will have to be undertaken seasonally (four times) every year for about 3 to 5 years until the trend in the surface water and groundwater environmental quality is established for compliance with the finalized Reasonable Use Criteria taking into consideration the baseline conditions, as well.
19.3
Contingency Measures

If the results of quarterly monitoring program reported by a qualified person indicate non‑compliance with the Reasonable Use Criteria and other conditions of the Certificate of Approve (C of A), the Reasonable Use Criteria and operational procedures should be reviewed for improvement. 

20.
Approvals, Permits, Authorizations and/or clearances

The provincial and regional regulatory requirements should be satisfied in relation to the following operation needs of the patrol yards:

1)
Permit-To-Take-Water in accordance with the Ministry of the Environment's Manual (April 2005) under Regulation 387104 - Water Taking and Transfer Regulation under Ontario Water Resources Act, if water taking is more than 50,000 l/day (or about 0.6 L/S).


2)
Certificate-of-Authorization for potential discharge of contaminants from the patrol yards to the natural systems under Reasonable Use Guides (B-7) and B-7-1), described in Section 10.
The above-noted clearances may have to be authorized by both Ministries of the Environment and Natural Resources or Conservation Authorities where areas of natural and scientific interest, significant wetlands, or other sensitive areas exist in the vicinity.

21.
STATEMENT OF LIMITATIONS

A statement of limitations is included in Appendix C that should be read in conjunction with this report. 

22.
REFERENCES

The following references were used in preparing this report.

· Barnett, P. J., 1992, Quaternary Geology of Ontario, In Geology of Ontario, Ontario Geological Survey, Special Volume 4, Part 2 Edited by: Thurston, P. C., Williams, H. R., Sutcliffe, R. H. and Stott, G. M., Ministry of Natural Resources, Ontario.

· Chapman, L. J. and Putnam, D. F., 1984, The Physiography of Southern Ontario, Ontario Geological Survey, Special Volume 2, Ministry of Natural Resources, Ontario.

· Environmental Guide for Patrol Yard Design: Part of the Environmental Standards and Practices, Environmental Planning Office, Ministry of Transportation, Ontario Version: October 2006, Section 3.3.

· Ontario regulation 153/04; Soil, Groundwater and Sediment Standards for Use under Part XV.1 of the Environmental Protection Act for Full Depth Background (Table 1) and Generic Site Condition Standards in a Potable Groundwater Condition (Table 2) dated March 9, 2004.

· Quaternary Geology of Ontario: Southern Sheet, Map 2566, Scale 1: 1,000,000, Ministry of Northern Development and Mines.

· Snow, D. T. (1965): A Parallel Plate Model of Fractured Permeable Media, Ph.D Thesis, University of California, Berkeley, U.S.A.  

· Ministry of the Environment and Energy (MOEE) Hydrogeological Technical Information Requirements for Land Development Applications, Procedure B-7-1 (formerly 15-08), Determination of Contaminant limits and Attenuation Zones dated April 1995.

We trust this report serves your present requirements; should you have any questions, please do not hesitate to contact this office.

Sincerely

Peto MacCallum Ltd.

NOTE: Hard copies signed 
and stamped
Mahaboob Alam, PhD, P.Geo. 

Manager, Geoenvironmental Services

NOTE: Hard copies signed 
and stamped
Mori H. Mortazavi, MEng, P.Eng., P.Geo.

Senior Consultant

Geoenvironmental and Hydrogeological Services

NOTE: Hard copies signed 
and stamped
Brian R. Gray, MEng, P.Eng.

MTO Designated Contact

BRG/MHM/MA-ma:lr










	Distribution:
	

	3 cc:
Stantec Consulting Ltd for distribution to MTO, 
Project 
Manager + one digital copy text (WORD format) and 
Drawings (PDF format)
	

	1 cc:  Stantec Consulting Ltd. for distribution to MTO, 
Pavements and Foundations Section + one digital copy 
of text (WORD format) and Drawings (PDF format)
	PML Ref.: 07TX045
Index No. 031FHIDR

	2 cc:  Stantec Consulting Ltd. 
	Geocres No.:  41H-66 

	1 cc:  PML Toronto
	January 06, 2009



[image: image3.png]Peto Macl?allum lta'

EEEEEEE



