
REPORT ON


FOUNDATION INVESTIGATION AND DESIGN


FISH CREEK (SOUTH) BRIDGE REPLACEMENT


HIGHWAY 23, SITE 25-226, GWP 313-94-00


AGREEMENT NUMBER 3005-A-000078


Submitted to:


TSH Engineers Architects Planners


300 Water Street


Whitby, Ontario


L1N 9J2

ADVANCE \Y 575.65DISTRIBUTION:

GEOCRES NO. 40P6-20

5
Copies -
TSH Engineers Architects Planners

2
Copies -
Golder Associates Ltd.

TABLE OF CONTENTS
Table of Contents
i

SECTION
PAGE
PART A – FOUNDATION INVESTIGATION REPORT

11.0 
introduction

2.0 
site description
2
3.0 
investigation procedures
3
4.0 
general site geology and stratigraphy
4
4.1
Site Geology
4
4.2
Site Stratigraphy
4

4.2.1
Topsoil and Fill
4

4.2.2
Silt
5

4.2.3
Silty Clay
5

4.2.4
Sand and Gravel
5

4.2.5
Sandy Silt Till
5
4.3
Groundwater Conditions
6
part b - foundation design

5.0 
engineering recommendations
8
5.1
General
8
5.2
Replacement Bridge Foundations
8

5.2.1
Shallow Foundations
9

5.2.2
Deep Foundations
11
5.3
Detour Bridge Foundations
13
5.4
Lateral Earth Pressures
14
5.5
Embankments
15
5.6
Excavations and Temporary Cut Slopes
16



In Order


Following


Page 19

LIST OF ABBREVIATIONS 

LIST OF SYMBOLS

RECORDS OF BOREHOLES

TABLE OF CONTENTS Continued

FIGURE 1 – Site Location Map

Drawing 1 - Fish Creek (South) Bridge, Site 25-226, Borehole Locations and Soil Strata

Drawing 2 - Fish Creek (South) Bridge, Site 25-226, Soil Strata

Drawing 3 - Fish Creek (South) Bridge, Site 25-226, Cross Sections

Appendix A - Records of Previous Boreholes

Appendix B - Laboratory Test Data (Figure B-1)

Appendix C - Site Photographs

PART A –FOUNDATION INVESTIGATION REPORT

FISH CREEK (SOUTH) BRIDGE REPLACEMENT

HIGHWAY 23, SITE 25-226, GWP 313-94-00

AGREEMENT NUMBER 3005-A-000078

1. 0
introduction

Golder Associates Ltd. (Golder) has been retained by TSH Engineers Architects Planners (TSH) on behalf of the Ministry of Transportation, Ontario (MTO) to carry out a foundation investigation at the sites of three proposed Highway 23 bridge replacements over Fish Creek near Kirkton, Ontario.  This report addresses the south bridge (Site 25-226).  MTO has assigned Geocres No. 40P6-20 to this site.

The purpose of the foundation investigation is to determine the subsurface conditions at the site of the proposed replacement bridge, approaches and detour bridge by drilling boreholes, and carrying out in‑situ tests and laboratory tests on selected samples.  The terms of reference for the scope of work are outlined in our Total Project Management proposal P01-1047, dated February 2000.  The work was carried out in accordance with our Quality Control Plan for Foundation Design Services, Agreement No. 3005-A-000078, dated March 2000. 

TSH provided Golder with preliminary drawings for the three Highway 23 crossings of Fish Creek.  The centreline and stations of the proposed alignments were surveyed by others prior to commencing the foundation field investigation program.  The General Arrangement plans showing the proposed abutment layout of the replacement structures and detours had been provided to us in digital format on December 12, 2000.  Golder Report No. 931-3077 entitled "Geotechnical Investigation, Proposed Highway 23 and Fish Creek Crossings, Duct Bank Installation, Blanshard Municipal Telephone System, Woodham to Kirkton, Ontario", dated June 7, 1993 has been referenced during the preparation of this report.  The relevant borehole records from that report are provided in Appendix A.

0
site description

The project area covered by this report extends along Highway 23 at the crossing with Fish Creek approximately 1 kilometre south of Kirkton, Ontario (see Figure 1).  The highway runs approximately northeast-southwest and the creek flows in a southerly direction towards the North Branch of the Thames River.

The existing bridge deck is at elevation 300.4 metres, the water level in the creek is currently at about elevation 298.3 metres and the creek bed is at about elevation 297.6 metres.

0
investigation procedures

The field work for this investigation was carried out between November 8 and 25, 2000.  At that time seven boreholes were put down at the site of the proposed replacement bridge and detour.  The boreholes were drilled and sampled to depths ranging from about 3.5 to 9.5 metres.  The borehole locations are shown in plan on Drawing 1.

The investigation was carried out using truck and all terrain vehicle mounted CME‑75 and 750 drill rigs supplied and operated by Lantech Drilling Services Inc.  The boreholes were advanced using 208 millimetre outside diameter continuous flight hollow stem augers.  In the boreholes, samples of the overburden were obtained at regular intervals of depth using 50 millimetre outside diameter split‑spoon samplers in accordance with the Standard Penetration Test (SPT) procedures.  Groundwater conditions in the open boreholes were observed throughout the drilling operations. Piezometers were installed in four boreholes to permit monitoring of the groundwater levels at the site.  All of the boreholes were backfilled using MTO recommended procedures.  Water levels in the installations were obtained on November 29 and December 13, 2000 to determine stabilized levels.

The field work was supervised on a full‑time basis by a member of our engineering staff who located the boreholes in the field, directed the drilling, sampling and in‑situ testing operations, and logged the boreholes.  The soil samples were identified in the field, placed in labeled containers and transported back to our laboratory in London, Ontario for further examination. Index and classification tests consisting of grain size analyses, Atterberg limits tests and water content determinations were carried out on selected samples.  The results of the field and laboratory testing are given on the Record of Borehole sheets and in Appendix B.  Site photographs taken during the drilling operations are provided in Appendix C.

The as drilled borehole locations and elevations were surveyed by Golder staff using the co-ordinate system and benchmarks on the drawings provided by TSH.  The elevations at the borehole locations were referenced to a cut cross on the north end of the bridge at Station 17+093.6, 6.2 metres right.  The benchmark is numbered 303 and is understood to have an elevation of 300.494 metres, referred to geodetic datum.

2. 0
general site geology and stratigraphy

2.1 
Site Geology

The site lies within the physiographic region of Southwestern Ontario known as the Stratford Till Plain, specifically an area known as the Lucan Moraine.  The soil conditions in the area generally consist of stoney and bouldery clayey silt till.  The region is underlain by limestone of the Dundee formation.  The rock surface is typically found at depths of about 12 to 27 metres below the ground surface.

2.2 
Site Stratigraphy

The detailed subsurface soil and groundwater conditions encountered in the boreholes, together with the results of the laboratory tests carried out on selected soil samples, are given on the attached Record of Borehole sheets following the text of this report and Appendix B.  The stratigraphic boundaries shown on the borehole sheets are inferred from non‑continuous sampling and, therefore, represent transitions between soil types rather than exact planes of geological change.  Subsoil conditions will vary between and beyond the borehole locations.

In summary, the subsoils at the site generally consist of variable thicknesses of topsoil and fill materials to about elevations 298 to 300 metres underlain by 3.8 to 5.5 metres of silt, silty clay and sand and gravel. These layers were underlain by sandy silt till materials from between elevation 292.6 and 295.1 metres.

Locations and elevations of the borings, together with the interpreted stratigraphical profile and sections, are shown on the attached Drawings 1, 2 and 3.  A detailed description of the subsurface conditions encountered in the boreholes for this investigation is provided on the Record of Borehole sheets and is summarized in the following sections.

2.2.1 
Topsoil and Fill

Topsoil and/or fill layers were encountered in all of the boreholes.  Topsoil layers 0.1 to 0.3 metres thick were encountered at ground surface in boreholes 6 and 7 and beneath a layer of fill in borehole 1.  A single standard penetration test in the topsoil indicated an N value of 8 blows per 0.3 metres penetration.

Layers of sand and gravel fill underlain by clayey silt fill were encountered at ground surface in boreholes 1 to 5.  Cobbles and boulders were noted in the fill layers in boreholes 2 and 4.  The fill layers were 0.9 to 2.0 metres thick and had N values between 4 and 12 blows per 0.3 metres of penetration and water contents between 9 and 17 per cent.

2.2.2 
Silt

Beneath the topsoil in boreholes 1, 6 and 7 and the fill in boreholes 2 to 5, layers of silt 1.7 to 3.5 metres thick were encountered.  Borehole 1 was terminated in the silt deposit at elevation 296.9 metres after exploring it for 2.3 metres.  The silt deposit contains frequent interlayers of clayey silt.  The silt deposits had standard penetration test N values of 7 to 16 blows per 0.3 metres penetration indicating a loose to compact density.  Water contents were between about 17 and 25 per cent.

2.2.3 
Silty Clay

Beneath the silt, some 0.3 to 3.4 metres of silty clay  was encountered between about elevations 293.1 and 296.7 metres.  The silty clay had standard penetration test N values of 8 to 38 blows per 0.3 metres penetration indicating a stiff to very stiff consistency.  Water contents were between about 20 and 24 per cent.

2.2.4 
Sand and Gravel

In boreholes 3 to 7, a 0.3 to 1.2 metre thick layer of wet sand and gravel was encountered between the silty clay and the underlying till deposits at about elevation 292.6 to 295.9 metres.  The sand and gravel layers had standard penetration test N values of 12 blows per 0.3 metres penetration to 100 blows per 275 millimetres penetration indicating generally a very dense condition.  Water contents ranged between about 8 and 24 per cent.

2.2.5 
Sandy Silt Till

Boreholes 2 to 7 encountered brown and grey sandy silt till below elevation 292.6 to 295.1 metres and were terminated in the till stratum at elevations between 290.8 and 294.5 metres after penetrating it for some 0.5 to 4.5 metres.  Boreholes 3, 4 and 7 were terminated after refusal to drilling the till at elevations between 292.1 and 294.5 metres.  The till deposit contained cobbles and boulders and had standard penetration test N values of 86 blows per 0.3 metres penetration to over 100 blows per 50 millimetres penetration indicating a very dense density.  Figure B-1 in Appendix B shows gradation curves for three samples recovered from the till deposit.

The water contents of selected till samples were between about 6 and 9 per cent.  The average plastic and liquid limits for the till, based on three samples tested, are 12 and 16 per cent, respectively, with an average plasticity index of 4 per cent.

2.3 
Groundwater Conditions

Water levels were noted in the open boreholes during and upon completion of the drilling operations.  These levels are shown on the attached Record of Borehole sheets.  Piezometers were sealed in boreholes 2, 3, 4 and  6 to permit the monitoring of the groundwater levels at the site.  Details of the piezometer installations and water level measurements are shown on the attached Record of Borehole sheets.

Water was noted during drilling in all of the open boreholes, except borehole 1, at elevations between 295.6 and 297.9 metres. The encountered water levels and those measured in the piezometers on November 29, 2000 and December 13, 2000 are summarized in the following table.  On this latter date, the water levels were between elevation 298.6 and elevation 299.3.  It should be noted that the groundwater level is subject to seasonal fluctuations.

Borehole

Number
Ground Surface Elevation

(m)
Groundwater Level Encountered

 During Drilling
Water Levels in Piezometers




November 29, 2000
December 13, 2000



Depth

(m)
Elevation

(m)
Depth

(m)
Elevation

(m)
Depth

(m)
Elevation

(m)

1
300.38
Dry






2
300.32
2.42
297.90
1.22
299.10
Destroyed


3
300.06
2.14
297.92
0.46
299.60
1.40
298.66

4
300.31
3.05
297.26
1.43
298.88
0.98
299.33

5
300.20
2.59
297.61





6
299.81
2.13
297.68
0.15
299.66
1.22
298.59

7
299.66
4.11
295.55





The measured water level in the creek was at elevation 298.26 metres on December 13, 2000.

GOLDER ASSOCIATES LTD.

Azmi M. Hammoud, P. Eng.

Anne S. Poschmann, P.Eng.

Principal

Fintan J. Heffernan, P.Eng.

Designated MTO Contact

AMH/ASP/FJH/cb
\\ldn_main\data\active\1000\001-1117  totten sims - hwy 23 - fish creek\reports\001-1117a\0921-fish creek (south) bridge (001-1117a).doc
0
engineering recommendations

2.4 
General

This section of the report provides our recommendations on the foundation aspects of design of the proposed Fish Creek (South) Bridge based on our interpretation of the factual information obtained during the investigation.  It should be noted that the interpretation and recommendations are intended for use only by the design engineer.  Where comments are made on construction they are provided only in order to highlight those aspects which could affect the design of the project.  Those requiring information on aspects of construction should make their own interpretation of the factual information provided as it may affect equipment selection, proposed construction methods and scheduling.

It is understood that the existing bridge will be replaced with a new longer and wider structure and that the new approaches will tie in with the existing pavements.  Highway 23 will remain at the current grade of elevation 300.4, and the new bridge structure centreline will be at the same location as the existing bridge.  The detour bridge will consist of a two lane Bailey Bridge constructed on the downstream side of the replacement bridge with a deck elevation of about 300.5 metres.

2.5 
Replacement Bridge Foundations

The subsoils encountered in the boreholes put down during the present investigation typically consist of surficial road fills and topsoil over silt, silty clay and sand and gravel over very dense sandy silt till below elevation 292.6 to 295.1 metres. The fill layers and till deposit contain cobbles and boulders.  Boulders were encountered in the fill in boreholes 2 and 4, and boreholes 3, 4 and 7 were terminated on boulders in the till during the drilling operations.  The water table was measured between about elevations 298.6 and 299.3 metres and the creek water level was at elevation 298.3 metres in the immediate vicinity of the proposed structure.

Based on the subsurface information above, consideration may be given to supporting the replacement structure on steel piles driven at least 2 metres into the very dense till or to practical refusal within the till deposit.  It is understood that the base of the pile cap will be at elevation 296.8 metres.  For the minimum structural pile length of 5 metres, the pile tips would have to be at or below elevation 291.8 metres (which will require penetrations in the till by up to 2.6 metres).  Alternatively, the structure may be founded on spread footings bearing on the silty clay materials at about elevation 296.0 metres.

2.5.1 
Shallow Foundations

Spread footings may be used to support the replacement bridge abutments.  For the configuration of the proposed bridge and the adjacent creek bed profile, the highest possible founding level would be within the loose to compact silt deposit.  Due to the dewatering concerns at this site, it is recommended that the footings be extended deeper to found on the underlying stiff to very stiff silty clay materials.


Geotechnical Resistance

For the configuration of the bridge as shown on the preliminary General Arrangement drawings, and based on the results of this investigation, the founding level for spread footings on the stiff to very stiff silty clay materials would be at about elevation 296 metres.  The factored geotechnical resistance design values for spread footings are given in the table below.

Founding Option
Factored Geotechnical Resistance
Geotechnical Resistance


ULS
SLS

Spread Footings on Stiff to Very Stiff Silty Clay
300 kPa
200 kPa

The founding level for the footings on the silty clay is at about 4.3 metres below ground surface and 2.7 metres below the groundwater level. The above geotechnical resistances assume, however, that appropriate construction procedures are adopted during footing construction to ensure that the excavations are properly dewatered and the founding soils are not softened/disturbed prior to concrete placement.


Resistance to Lateral Forces

Resistance to lateral forces/sliding resistance between the concrete spread footings and the subsoil should be calculated in accordance with Section 6‑8.4.3 of the Ontario Highway Bridge Design Code (OHBDC).  Assuming that the founding soils are not loosened/disturbed during excavation and footing construction, the following angle of friction between the concrete and the founding soils and corresponding coefficient of friction, tan (, may be used:

Footings on silty clay
angle of friction 
29°

tan (
0.55


Frost Protection

All footings should be provided with a minimum of 1.2 metres of earth cover for frost protection purposes.


Construction Considerations

The founding level for the abutments on the stiff to very stiff silty clay at elevation 296.0 metres will be about 2.7 metres below the groundwater level and some water inflow into footing excavations should be expected.  In addition, due to the proximity of the abutments to the creek, diversion of the creek water away from the excavation will be required.  Consideration could be given to installation of closed steel sheet piling, driven into the silty clay deposit, to form a cutoff to groundwater and creek water flow.  Pumping from well filtered sumps placed at the base of the excavation may also be required to provide groundwater control during foundation excavations.  Sumps should be maintained outside of the footing area.

The founding soils are sensitive to disturbance and softening due to water seepage and/or ponding.  Placement of a mud coat will be required at the base of excavation for the footing area.  Exposure without protection of the mud coat will result in softening of the founding soils.  The cleaned excavation base should be inspected by qualified geotechnical personnel prior to placing the mud coat.  It is recommended that the footing excavation be carried out such that the final 0.5 metres of excavation is completed with the geotechnical personnel on site and the mud coat be placed immediately after footing inspection.  It should be noted that the water levels are influenced by the adjacent creek water level and could be higher during wet periods of the year.


Deep Foundations

It is understood that consideration is being given to designing the replacement structure with integral abutments.  Driven steel H‑piles are considered suitable for the abutment support.  In the case of integral abutments, augering and placement of a corrugated steel pipe (CSP) liner around the upper 3 metres of the pile is required.


Geotechnical Axial Resistance – Driven Steel H-Piles

For design, the factored axial geotechnical resistance at Ultimate Limit States (ULS) for HP 310 x 110 piles driven to practical refusal in the very dense sandy silt till may be taken as 1,400 kilonewtons (kN).  The axial resistance at Serviceability Limit States (SLS) for 25 millimetres of settlement may be taken as 900 kN.

The elevation of the till surface is variable at the site and ranges between about elevations 292.6 and 295.1 metres.  Based on the preliminary General Arrangement drawings, the base of the pile cap will be at about elevation 296.8 metres.  In order to achieve the minimum structural pile length of 5 metres required for integral abutments, the piles will have to be driven to about elevation 291.8 metres which is up to 3.3 metres into the founding till stratum.  As noted below, however, some of the piles may "hang-up" within the till deposits and the design and contract should be flexible to permit relocation and/or redriving of piles if required.

Pre-augering for placement of the CSP liner will extend into the sand and gravel deposit and groundwater inflow to the liner must be expected.  The SPT 'N' values within the sand and gravel and sandy silt till deposit through which the piles are to be driven below the CSP liner are generally greater than 100 blows per 0.3 metres of penetration and refusal to auger penetration was met within the till in several of the boreholes.  Driving of the piles could be difficult given the very dense condition of the subsoils and the presence of cobbles and boulders in the till.  Heavy driving should be anticipated, and the piles may "hang up" on boulders within the till.  Stiffening of the pile tip with cast steel driving shoes will be required for protection during driving.  Flange plate stiffeners are not considered suitable at this site.

The H‑piles should be driven to at least elevation 291.8 and to a final set of no less than 15 blows per 25 millimetres of penetration, or practical refusal, using a hammer with rated energy of about 50 kilojoules but not exceeding 60 kilojoules.  Provision should be made to re‑tap the piles to confirm the set after adjacent piles have been driven in accordance with Special Provision 903S01.


"Piles to be driven to at least the pile tip elevations as shown."


"Piles to be fitted with cast steel driving shoes and driven in accordance with OPSS 903.07.02.05."


Resistance of Lateral Loads

The lateral loading could be resisted fully or partially by the use of battered piles.  In the case of integral abutments, the vertical piles must provide the resistance to the lateral loading.  In this case, the horizontal reaction to the pile can be estimated using the following equation and ranges in subgrade reaction coefficient where:

ks
=
coefficient of horizontal subgrade reaction (MPa/m) = nh (z/d)

d
=
pile width or diameter (m)

nh
=
constant of horizontal subgrade reaction (MPa/m)

z
=
depth below adjacent road grade (m)

Above elevation 294 metres
Silt and stiff to very stiff silty clay
nh
=
constant varies 





with depth 



nh 
=
15 to 35 MPa/m

Below elevation 294 metres
Very dense sandy silt till
nh
=
constant varies 





with depth



nh
=
10 to 15 MPa/m

[NOTE:  For the cohesive (silty clay) soils at this site, the value of nhz is equivalent to ks/5]

Group action for lateral loading should be considered when the pile spacing in the direction of the loading is less than six to eight pile diameters.  Group action can be evaluated by reducing the coefficient of horizontal subgrade reaction in the direction of loading by a reduction factor R as follows:

Pile Spacing in Direction of  Loading, d = Pile Diameter
Subgrade Reaction Reduction

Factor R

8d
1.00

6d
0.70

4d
0.40

3d
0.25


Frost Protection

The pile caps should be provided with a minimum of 1.2 metres of soil cover for frost protection.

2.6 
Detour Bridge Foundations

The subsoils encountered at the location of the proposed detour bridge are considered suitable to support shallow spread footings for the temporary bridge.  The detour bridge may be erected as shown on the preliminary General Arrangement drawings with the abutments placed on a 0.6 metre thick Granular A pad.  The base of the Granular A pad will be at about elevations 297.6 and 297.8 metres based on the preliminary drawings, which places the base of the pad within the loose to compact silt deposit.  The granular pad should be compacted in lifts of loose thickness not greater than 200 millimetres to at least 95  per cent of the material's standard Proctor maximum dry density.  For the detour bridge footing constructed as outlined above, a factored geotechnical resistance at ULS of 150 kilopascals and a geotechnical resistance at SLS of 100 kilopascals may be used for design.

It should be noted that there will be settlement of the abutments supported on the Granular A pad due to consolidation of the silt founding stratum.  It is understood that settlement of this temporary structure can be tolerated and will be accommodated by jacking the abutments as needed.  Settlement of the abutments is not expected to exceed 50 millimetres.  

Excavations for Granular A placement will extend below the creek water level and control/diversion of the creek water will be required.  The excavation will also be extended through generally loose silt deposits up to about 1.5 metres below the groundwater level and some form of groundwater control will be required in order to permit placement and compaction of the Granular A.  Dewatering of the silt deposit with the well points would be difficult due to the fine grained and layered nature of the deposit.  Consideration could be given to the use of closed steel sheet piling driven into the silty clay below about elevation 296 metres and below the base of the excavation to form a cutoff to groundwater and creek water flow through the silt deposit.  Placement of a mudcoat on the prepared subgrade will likely be required in order to provide a trafficable working surface.  The use of clear stone is not recommended at this site.  Vibratory compaction equipment should not be used for compaction of the Granular A pad due to the presence of the saturated silts forming the subgrade.

2.7 
Lateral Earth Pressures

The lateral pressures acting on the replacement bridge abutments will depend on the type and method of placement of the backfill materials, on the nature of the soils behind the backfill and on the subsequent lateral movement of the structure.  The following recommendations are made concerning the design of the abutments and the retaining walls in accordance with OHBDC:

· Select, free‑draining granular fill meeting the specifications of Ontario Provincial Standard Specifications (OPSS) Granular A or Granular B but with less than 5 per cent passing the 200 sieve should be used as backfill behind the walls.  All granular fill should be compacted in lifts of loose thickness not greater than 200 millimetres to 95 per cent of the material's standard Proctor maximum dry density.

· Longitudinal drains and weep holes should be installed to provide positive drainage of the granular backfill.

· The granular fill may be placed either in a zone with width equal to at least 1.2 metres behind the back of the stem (Case I) or within the wedge shaped zone defined by a 60 degree line extending up and back from the bottom of the rear face of the footing (Case II).

· If the wall support allows lateral yielding of the stem (unrestrained structure), active earth pressures may be used in the geotechnical design of the structure.  If the abutment support does not allow lateral yielding (restrained structure), at rest pressures should be assumed for geotechnical design.

· A compaction surcharge equal to 16 kilopascals (kPa) should be included in the lateral earth pressures for the structural design of the abutment wall in accordance with OHBDC Figure 6‑7.4.3. Compaction equipment should be used in accordance with OPSS 501.06.
· For Case I, the pressures are based on the existing and proposed embankment fill materials and the following parameters (unfactored) may be assumed:


Soil unit weight
20 kN/m3



(assuming clean earth fill)


Coefficients of lateral earth pressure:



'active'
0.43



'at rest'
0.50

· For Case II, the pressures are based on the granular fill as placed and the following parameters (unfactored) may be assumed:


Granular A
Granular B

Type II





Soil Unit Weight
22 kN/m³
21 kN/m³

Coefficients of Lateral Earth Pressure


'active'


'at rest'
0.27

0.43
0.31

0.47

It should be noted that the above design parameters assume level backfill and ground surface behind the wall.  Other aspects of the abutment granular backfill requirements with respect to sub‑drains and frost taper should be in accordance with Ontario Provincial Standard Drawing (OPSD)‑3501.00.

2.8 
Embankments

It is understood that there will be essentially no change in alignment or grade for the proposed replacement bridge and the existing embankments will generally remain unchanged.  Temporary approach embankments will be required for the detour bridge.  Embankment side slopes formed no steeper than 2 horizontal to 1 vertical are considered suitable for this site.  A Factor of Safety against deep seated failure of greater than 1.3 is obtained for the embankments which will generally be less than 2 metres in height.

The topsoil and organic materials should be removed from within the area of the embankment and the exposed subgrade soils should be proofrolled prior to fill placement.  

Construction of the embankment above the prepared subgrade may be carried out using clean earth fill (in accordance with OPSS 212) or select subgrade material (in accordance with OPSS 1010) depending on material availability.  All embankment fill should be placed in regular lifts with loose thickness not exceeding 300 millimetres and be compacted to at least 95 per cent of the material's standard Proctor maximum dry density.  The final lift prior to placement of the granular subbase or base course should be compacted to 100 per cent of the standard Proctor maximum dry density.  

2.9 
Excavations and Temporary Cut Slopes

Excavations for footing construction will extend through fill materials and silt deposits.  At the proposed replacement bridge location the excavations for spread footing and/or pile cap construction will be up to about 4.3 metres in depth below Highway 23.  Cobbles and boulders were noted in the fill materials and should be expected during excavation.  The base of the spread footing excavations will be about 2.7 metres below the groundwater level as measured in the piezometers.  The groundwater level is expected to fluctuate and the depth of excavation below the groundwater will depend on the time of year of construction.  Temporary open cut slopes within the fill and silt deposits above the groundwater level should be maintained no steeper than 1 horizontal to 1 vertical (1H:1V).  Temporary open cut slopes through the silt deposit below the groundwater level should be maintained no steeper than 1.5H:1V).

Water seepage into the excavations through the silt deposit is expected, and will be heavier during periods of sustained precipitation.  In addition, the excavation will be adjacent, or in close proximity, to the creek and control/diversion of the creek water will be required.  Consideration could be given to the use of closed steel sheet piling driven into the silty clay below about elevation 296 metres and below the base of the excavation to form a cutoff to groundwater and creek water flow.  Since the road embankment fill is known to contain 


boulders, installation of the sheet piling should take place after general excavation of the fill has been carried out except where the fill extends to below the creek water level.  In this event, the excavation should be taken only down to the groundwater level and the sheet piling installed prior to excavating below the groundwater level.  Pumping from well filtered sumps located at the base of the excavations may also be required to provide groundwater control during foundation excavations.  

The consideration with respect to protection of the founding soils, however, as given in Section 5.2.1 under the heading Construction Considerations must be recognized.  Sumps should be maintained outside of the actual footing limits.  Surface water runoff should be directed away from the excavations at all times.  The appropriate Non Standard Special Provision (NSSP) should be included in the contract documents.

Where space is restricted and will not permit open cuts for footing / pile cap construction, a temporary support system should be installed to support the sides of the excavation and permit the use of vertical cuts.  The temporary support system could consist of soldier piles and lagging where the H-piles would be driven into the till and horizontal lagging installed as the excavation proceeds.  It is anticipated that pre-augering would be required for the soldier pile installation.  Cobbles and boulders should be expected during augering.  Support to the soldier pile and lagging wall system could be in the form of struts and walers in the case of footing excavations or rakers and anchors in the case of roadway protection excavations.

The design of braced soldier pile and lagging walls should be based on a rectangular earth pressure distribution using the design parameters given below.  Where the support to the wall is provided by anchors or rakers, the wall design should be based on a triangular earth pressure distribution using the design parameters given below.  The raker/anchor support must be designed to accommodate the loads applied from pressures and surcharge pressures from area, line or point loads as well as the impact of sloping ground behind the system.

Unfactored triangular earth pressure distribution (p in kN/m2; increasing with depth), can be calculated as follows:


p
=
Ka ( H

where



H
=
the height of the excavation at any point in metres


Ka
=
0.3 for level ground behind excavation


(
=
soil unit weight = 20 kN/m3 

Unfactored rectangular earth pressure distribution (p in kN/m2; constant with depth), can be calculated as follows:


p
=
K ( H

where



H
=
the height of the excavation


K
=
0.3 for level ground behind excavation


(
=
soil unit weight = 20 kN/m3 

Passive toe restraint to the soldier piles may be determined using a triangular pressure distribution acting over an equivalent width equal to three times the pile socket diameter.  The coefficient of passive lateral earth pressure, Kp, for the socket within the very dense till may be taken as 8.7.  The soil unit weight should be taken as 22 kN/m3 and the unit weight of water should be taken as 9.8 kN/m3.  A groundwater level at elevation 298.7 metres can be assumed at the bridge footing locations.

All excavations should be carried out in accordance with the guidelines outlined in the latest edition of the Ontario Occupational Health and Safety Act and Regulations For Construction Projects.  The fill and silt at this site would be classified as Type 3 soils and the silty clay deposit as Type 2.

GOLDER ASSOCIATES LTD.

Azmi M. Hammoud, P. Eng.

Anne S. Poschmann, P.Eng.

Principal

Fintan J. Heffernan, P.Eng.

Designated MTO Contact

AMH/ASP/FJH/cb
\\ldn_main\data\active\1000\001-1117  totten sims - hwy 23 - fish creek\reports\001-1117a\0921-fish creek (south) bridge (001-1117a).doc
PART B – FOUNDATION DESIGN REPORT

FISH CREEK (SOUTH) BRIDGE REPLACEMENT

HIGHWAY 23, SITE 25-226, GWP 313-94-00

AGREEMENT NUMBER 3005-A-000078

A P P E N D I X   A

RECORD OF PREVIOUS BOREHOLES

A P P E N D I X    B

LABORATORY TEST DATA

A P P E N D I X    C

SITE PHOTOGRAPHS

September 2001

001-1117A


