
REPORT ON


FOUNDATION INVESTIGATION


FISH CREEK (SOUTH) BRIDGE REPLACEMENT


HIGHWAY 23, SITE 25-226, GWP 313-94-00


AGREEMENT NUMBER 3005-A-000078


Submitted to:


TSH Engineers Architects Planners


300 Water Street


Whitby, Ontario


L1N 9J2

ADVANCE \Y 575.65DISTRIBUTION:

GEOCRES NO. 40P6-20

5
Copies -
TSH Engineers Architects Planners

2
Copies -
Golder Associates Ltd.

TABLE OF CONTENTS
Table of Contents
i

SECTION
PAGE
PART A – FOUNDATION INVESTIGATION REPORT

11.0 
introduction

2.0 
site description
2
3.0 
investigation procedures
3
4.0 
general site geology and stratigraphy
4
4.1
Site Geology
4
4.2
Site Stratigraphy
4

4.2.1
Topsoil and Fill
4

4.2.2
Silt
5

4.2.3
Silty Clay
5

4.2.4
Sand and Gravel
5

4.2.5
Sandy Silt Till
5
4.3
Groundwater Conditions
6



In Order


Following


Page 7

LIST OF ABBREVIATIONS 

LIST OF SYMBOLS

RECORDS OF BOREHOLES

FIGURE 1 – Site Location Map

Drawing 1 - Fish Creek (South) Bridge, Site 25-226, Borehole Locations and Soil Strata

Drawing 2 - Fish Creek (South) Bridge, Site 25-226, Soil Strata

Drawing 3 - Fish Creek (South) Bridge, Site 25-226, Cross Sections

Appendix A - Records of Previous Boreholes

Appendix B - Laboratory Test Data (Figure B-1)

Appendix C - Site Photographs

PART A –FOUNDATION INVESTIGATION REPORT

FISH CREEK (SOUTH) BRIDGE REPLACEMENT

HIGHWAY 23, SITE 25-226, GWP 313-94-00

AGREEMENT NUMBER 3005-A-000078

1. 0
introduction

Golder Associates Ltd. (Golder) has been retained by TSH Engineers Architects Planners (TSH) on behalf of the Ministry of Transportation, Ontario (MTO) to carry out a foundation investigation at the sites of three proposed Highway 23 bridge replacements over Fish Creek near Kirkton, Ontario.  This report addresses the south bridge (Site 25-226).  MTO has assigned Geocres No. 40P6-20 to this site.

The purpose of the foundation investigation is to determine the subsurface conditions at the site of the proposed replacement bridge, approaches and detour bridge by drilling boreholes, and carrying out in‑situ tests and laboratory tests on selected samples.  The terms of reference for the scope of work are outlined in our Total Project Management proposal P01-1047, dated February 2000.  The work was carried out in accordance with our Quality Control Plan for Foundation Design Services, Agreement No. 3005-A-000078, dated March 2000. 

TSH provided Golder with preliminary drawings for the three Highway 23 crossings of Fish Creek.  The centreline and stations of the proposed alignments were surveyed by others prior to commencing the foundation field investigation program.  The General Arrangement plans showing the proposed abutment layout of the replacement structures and detours had been provided to us in digital format on December 12, 2000.  Golder Report No. 931-3077 entitled "Geotechnical Investigation, Proposed Highway 23 and Fish Creek Crossings, Duct Bank Installation, Blanshard Municipal Telephone System, Woodham to Kirkton, Ontario", dated June 7, 1993 has been referenced during the preparation of this report.  The relevant borehole records from that report are provided in Appendix A.

0
site description

The project area covered by this report extends along Highway 23 at the crossing with Fish Creek approximately 1 kilometre south of Kirkton, Ontario (see Figure 1).  The highway runs approximately northeast-southwest and the creek flows in a southerly direction towards the North Branch of the Thames River.

The existing bridge deck is at elevation 300.4 metres, the water level in the creek is currently at about elevation 298.3 metres and the creek bed is at about elevation 297.6 metres.

0
investigation procedures

The field work for this investigation was carried out between November 8 and 25, 2000.  At that time seven boreholes were put down at the site of the proposed replacement bridge and detour.  The boreholes were drilled and sampled to depths ranging from about 3.5 to 9.5 metres.  The borehole locations are shown in plan on Drawing 1.

The investigation was carried out using truck and all terrain vehicle mounted CME‑75 and 750 drill rigs supplied and operated by Lantech Drilling Services Inc.  The boreholes were advanced using 208 millimetre outside diameter continuous flight hollow stem augers.  In the boreholes, samples of the overburden were obtained at regular intervals of depth using 50 millimetre outside diameter split‑spoon samplers in accordance with the Standard Penetration Test (SPT) procedures.  Groundwater conditions in the open boreholes were observed throughout the drilling operations. Piezometers were installed in four boreholes to permit monitoring of the groundwater levels at the site.  All of the boreholes were backfilled using MTO recommended procedures.  Water levels in the installations were obtained on November 29 and December 13, 2000 to determine stabilized levels.

The field work was supervised on a full‑time basis by a member of our engineering staff who located the boreholes in the field, directed the drilling, sampling and in‑situ testing operations, and logged the boreholes.  The soil samples were identified in the field, placed in labeled containers and transported back to our laboratory in London, Ontario for further examination. Index and classification tests consisting of grain size analyses, Atterberg limits tests and water content determinations were carried out on selected samples.  The results of the field and laboratory testing are given on the Record of Borehole sheets and in Appendix B.  Site photographs taken during the drilling operations are provided in Appendix C.

The as drilled borehole locations and elevations were surveyed by Golder staff using the co-ordinate system and benchmarks on the drawings provided by TSH.  The elevations at the borehole locations were referenced to a cut cross on the north end of the bridge at Station 17+093.6, 6.2 metres right.  The benchmark is numbered 303 and is understood to have an elevation of 300.494 metres, referred to geodetic datum.

2. 0
general site geology and stratigraphy

2.1 
Site Geology

The site lies within the physiographic region of Southwestern Ontario known as the Stratford Till Plain, specifically an area known as the Lucan Moraine.  The soil conditions in the area generally consist of stoney and bouldery clayey silt till.  The region is underlain by limestone of the Dundee formation.  The rock surface is typically found at depths of about 12 to 27 metres below the ground surface.

2.2 
Site Stratigraphy

The detailed subsurface soil and groundwater conditions encountered in the boreholes, together with the results of the laboratory tests carried out on selected soil samples, are given on the attached Record of Borehole sheets following the text of this report and Appendix B.  The stratigraphic boundaries shown on the borehole sheets are inferred from non‑continuous sampling and, therefore, represent transitions between soil types rather than exact planes of geological change.  Subsoil conditions will vary between and beyond the borehole locations.

In summary, the subsoils at the site generally consist of variable thicknesses of topsoil and fill materials to about elevations 298 to 300 metres underlain by 3.8 to 5.5 metres of silt, silty clay and sand and gravel. These layers were underlain by sandy silt till materials from between elevation 292.6 and 295.1 metres.

Locations and elevations of the borings, together with the interpreted stratigraphical profile and sections, are shown on the attached Drawings 1, 2 and 3.  A detailed description of the subsurface conditions encountered in the boreholes for this investigation is provided on the Record of Borehole sheets and is summarized in the following sections.

2.2.1 
Topsoil and Fill

Topsoil and/or fill layers were encountered in all of the boreholes.  Topsoil layers 0.1 to 0.3 metres thick were encountered at ground surface in boreholes 6 and 7 and beneath a layer of fill in borehole 1.  A single standard penetration test in the topsoil indicated an N value of 8 blows per 0.3 metres penetration.

Layers of sand and gravel fill underlain by clayey silt fill were encountered at ground surface in boreholes 1 to 5.  Cobbles and boulders were noted in the fill layers in boreholes 2 and 4.  The fill layers were 0.9 to 2.0 metres thick and had N values between 4 and 12 blows per 0.3 metres of penetration and water contents between 9 and 17 per cent.

2.2.2 
Silt

Beneath the topsoil in boreholes 1, 6 and 7 and the fill in boreholes 2 to 5, layers of silt 1.7 to 3.5 metres thick were encountered.  Borehole 1 was terminated in the silt deposit at elevation 296.9 metres after exploring it for 2.3 metres.  The silt deposit contains frequent interlayers of clayey silt.  The silt deposits had standard penetration test N values of 7 to 16 blows per 0.3 metres penetration indicating a loose to compact density.  Water contents were between about 17 and 25 per cent.

2.2.3 
Silty Clay

Beneath the silt, some 0.3 to 3.4 metres of silty clay  was encountered between about elevations 293.1 and 296.7 metres.  The silty clay had standard penetration test N values of 8 to 38 blows per 0.3 metres penetration indicating a stiff to very stiff consistency.  Water contents were between about 20 and 24 per cent.

2.2.4 
Sand and Gravel

In boreholes 3 to 7, a 0.3 to 1.2 metre thick layer of wet sand and gravel was encountered between the silty clay and the underlying till deposits at about elevation 292.6 to 295.9 metres.  The sand and gravel layers had standard penetration test N values of 12 blows per 0.3 metres penetration to 100 blows per 275 millimetres penetration indicating generally a very dense condition.  Water contents ranged between about 8 and 24 per cent.

2.2.5 
Sandy Silt Till

Boreholes 2 to 7 encountered brown and grey sandy silt till below elevation 292.6 to 295.1 metres and were terminated in the till stratum at elevations between 290.8 and 294.5 metres after penetrating it for some 0.5 to 4.5 metres.  Boreholes 3, 4 and 7 were terminated after refusal to drilling the till at elevations between 292.1 and 294.5 metres.  The till deposit contained cobbles and boulders and had standard penetration test N values of 86 blows per 0.3 metres penetration to over 100 blows per 50 millimetres penetration indicating a very dense density.  Figure B-1 in Appendix B shows gradation curves for three samples recovered from the till deposit.

The water contents of selected till samples were between about 6 and 9 per cent.  The average plastic and liquid limits for the till, based on three samples tested, are 12 and 16 per cent, respectively, with an average plasticity index of 4 per cent.

2.3 
Groundwater Conditions

Water levels were noted in the open boreholes during and upon completion of the drilling operations.  These levels are shown on the attached Record of Borehole sheets.  Piezometers were sealed in boreholes 2, 3, 4 and  6 to permit the monitoring of the groundwater levels at the site.  Details of the piezometer installations and water level measurements are shown on the attached Record of Borehole sheets.

Water was noted during drilling in all of the open boreholes, except borehole 1, at elevations between 295.6 and 297.9 metres. The encountered water levels and those measured in the piezometers on November 29, 2000 and December 13, 2000 are summarized in the following table.  On this latter date, the water levels were between elevation 298.6 and elevation 299.3.  It should be noted that the groundwater level is subject to seasonal fluctuations.

Borehole

Number
Ground Surface Elevation

(m)
Groundwater Level Encountered

 During Drilling
Water Levels in Piezometers




November 29, 2000
December 13, 2000



Depth

(m)
Elevation

(m)
Depth

(m)
Elevation

(m)
Depth

(m)
Elevation

(m)

1
300.38
Dry






2
300.32
2.42
297.90
1.22
299.10
Destroyed


3
300.06
2.14
297.92
0.46
299.60
1.40
298.66

4
300.31
3.05
297.26
1.43
298.88
0.98
299.33

5
300.20
2.59
297.61





6
299.81
2.13
297.68
0.15
299.66
1.22
298.59

7
299.66
4.11
295.55





The measured water level in the creek was at elevation 298.26 metres on December 13, 2000.

GOLDER ASSOCIATES LTD.

Azmi M. Hammoud, P. Eng.

Anne S. Poschmann, P.Eng.

Principal

Fintan J. Heffernan, P.Eng.

Designated MTO Contact

AMH/ASP/FJH/cb
n:\active\1000\001-1117  totten sims - hwy 23 - fish creek\reports\001-1117a\0925-section a fish crk (south) bridge (1117a).doc
A P P E N D I X   A

RECORD OF PREVIOUS BOREHOLES

A P P E N D I X    B

LABORATORY TEST DATA

A P P E N D I X    C

SITE PHOTOGRAPHS

September 2001

001-1117A


